## Table1_Responsibility
RPG Project ID | Project Name | Transmission Owner | Cost ($M) | Year | Driver Categories | Houston | North | South | West
18RPG001 | LRGV Import Project | AEPSC | 73.4 | 2020 | Large Load Growth | 0 | 0 | 100 | 0
19RPG009 | Lower Rio Grande Valley Transmission Expansion Project | STEC | 511 | 2020 | Large Load Growth | 0 | 0 | 100 | 0
| Corpus North Shore Project | AEPSC | 259.57 | 2020 | Large Load Growth | 0 | 0 | 100 | 0
| Farmersville Area Reliability Project | GP&L | 24.37 | 2020 | Load Growth | 0 | 100 | 0 | 0
| Anna Switch - Royse Switch 138-kV Line Upgrade Project | Oncor | 91.2 | 2020 | Load Growth | 0 | 76.96 | 16.34 | 6.7
| Texas City Transmission Improvement Project | TNMP | 29.3 | 2020 | Large Load Growth | 10.78 | 87.19 | 0.58 | 1.46
| Big Spring – Buzzard Draw 69-kV Line Conversion to 138-kV Project | Oncor | 32 | 2020 | Load Growth | 0 | 76.96 | 16.34 | 6.7
| Carrollton Northwest 345/138-kV Autotransformer Upgrade Project | Oncor | 8.5 | 2020 | Load Growth | 0 | 76.96 | 16.34 | 6.7
| Eagle Mountain to Saginaw 138-kV Double-Circuit Line Upgrade Project | Oncor | 32 | 2020 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
| Mont Belvieu Reliability Upgrades Project | CNP | 27.28 | 2020 | Load Growth | 98.56 | 0 | 1.44 | 0
20RPG019 | Nacogdoches Southeast Switch – Redland Switch – Lufkin Switch 345 kV Loop | Oncor | 71.26 | 2020 | Load Growth | 0 | 76.96 | 16.34 | 6.7
| Lake Pauline Area Improvement Project | AEPSC | 47.5 | 2020 | Large Load Growth | 0 | 0 | 0 | 100
20RPG023 | Royse - Commerce 69-kV Line Conversion to 138-kV | Oncor | 72.1 | 2020 | Load Growth | 0 | 76.96 | 16.34 | 6.7
21RPG002 | Port Lavaca Area Improvement Project | AEPSC | 101.5 | 2021 | Load Growth | 0 | 0 | 100 | 0
21RPG003 | Midland East Area Projects | Oncor | 88.5 | 2021 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
21RPG004 | Venus Switch-Cedar Hill Switch 345-kV Line Project | Oncor | 10.3 | 2021 | Load Growth | 0 | 76.96 | 16.34 | 6.7
21RPG008 | Burnett – Bowie 69 kV Line Upgrade Project | Oncor | 79.7 | 2021 | Load Growth | 0 | 76.96 | 16.34 | 6.7
21RPG010 | Flat Iron – Barr Ranch – Pegasus South 138-kV Line Project | Oncor | 63.1 | 2021 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
21RPG001 | Bakersfield to Big Hill 345‐kV Second Circuit Addition Project | STEC & LCRA TSC | 83.2 | 2021 | Large Load Growth | 0 | 0 | 50 | 50
21RPG016 | TH Wharton - White Oak 138-kV Conversion Project | CNP | 79.9 | 2021 | Load Growth | 98.56 | 0 | 1.44 | 0
21RPG017 | Lower Rio Grande Valley System Enhancement Project | ERCOT | 1280 | 2021 | Large Load Growth | 0 | 0 | 100 | 0
21RPG019 | Howard Road 345/138-kV Switching Station Project | CPS | 56.3 | 2021 | Load Growth | 0 | 0 | 100 | 0
21RPG020 | Galena Park Area 138-kV Conversion Project | CNP | 52.05 | 2021 | Load Growth | 98.56 | 0 | 1.44 | 0
22RPG001 | Greens Bayou to Clinton 138 kV Conversion Project | CNP | 88.5 | 2022 | Load Growth | 98.56 | 0 | 1.44 | 0
22RPG003 | Roanoke Area Upgrades project | Oncor | 285.9 | 2022 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
22RPG008 | Bowman Switch 345/138 kV Autotransformers Project | Oncor | 13 | 2022 | Load Growth | 0 | 76.96 | 16.34 | 6.7
22RPG014 | Red Oak Area Upgrades project | Oncor | 63 | 2022 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
22RPG015 | Tyler Switch – Forest Grove Switch 138 kV Line Project | Oncor | 62.7 | 2022 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
22RPG017 | McGregor Phillips – Waco West 69 kV Line Conversion Project | Oncor | 38.8 | 2022 | Load Growth | 0 | 76.96 | 16.34 | 6.7
22RPG025 | Yucca Drive - Courtney Creek 69 kV Line Conversion to 138 kV Project | Oncor | 65 | 2022 | Load Growth | 0 | 76.96 | 16.34 | 6.7
22RPG021 | Tawakoni Area Transmission Project | REC | 42.4 | 2022 | Large Load Growth | 0 | 100 | 0 | 0
22RPG010 | Bearkat – North McCamey – Sand Lake 345-kV Transmission Line Addition Project | LCRA TSC, Oncor, WETT | 477.6 | 2022 | Large Load Growth | 0 | 25.65 | 5.45 | 68.9
22RPG048 | San Antonio South Reliability Project | CPS | 329.1 | 2022 | Load Growth | 0 | 0 | 100 | 0
22RPG047 | Peck to Driver 138 kV Line Project | Oncor | 36.2 | 2022 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
22RPG046 | Peppervine to Temple 69 kV Line Conversion Project | Oncor | 36 | 2022 | Load Growth | 0 | 76.96 | 16.34 | 6.7
22RPG045 | Yucca to Moss 138 kV Line Project | Oncor | 60.7 | 2022 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
23RPG003 | Eagle Ford Large Load Interconnection Project | GVEC | 47 | 2023 | Large Load Growth | 0 | 0 | 100 | 0
23RPG007 | Asherton to Uvalde 138-kV Conversion Project | AEPSC | 56 | 2023 | Load Growth | 0 | 0 | 100 | 0
23RPG008 | Fort Stockton Plant to Lynx 138-kV Line Rebuild Project | AEPSC | 44.9 | 2023 | Data Center Load | 0 | 0 | 0 | 100
23RPG013 | Silverleaf and Cowpen 345/138-kV Stations Project | TNMP | 273.1 | 2023 | Large Load Growth | 10.78 | 87.19 | 0.58 | 1.46
23RPG012 | Stone Lake Area Upgrades Project | CNP | 74.38 | 2023 | Large Load Growth | 98.56 | 0 | 1.44 | 0
23RPG011 | Morgan Creek to McDonald Road 138-kV Line Project | Oncor | 40.2 | 2023 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
23RPG015 | Cuero Substation Upgrade Project | LCRA TSC | 25.9 | 2023 | Load Growth | 0 | 0 | 100 | 0
23RPG017 | Watermill 345/138-kV Switch Project | Oncor | 74.9 | 2023 | Load Growth | 0 | 76.96 | 16.34 | 6.7
23RPG023 | Pecos County Transmission Improvement Project | TNMP | 114.8 | 2023 | Large Load Growth | 10.78 | 87.19 | 0.58 | 1.46
23RPG020 | Hackberry Switch to DFW D East 2 138-kV Double-Circuit Line Section Project | Oncor | 80 | 2023 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
23RPG018 | Arlington Reliability Enhancement Project | Oncor | 73 | 2023 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
23RPG028 | Rio Medina Project | STEC | 71.7 | 2023 | Data Center Load | 0 | 0 | 100 | 0
23RPG030 | Walleye Creek 345/138-kV Switch Project | Oncor | 74 | 2023 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
24RPG004 | Omicron Reliability Project | CPS Energy | 42.5 | 2024 | Large Load Growth | 0 | 0 | 100 | 0
24RPG003 | Eastside 345/138-kV Switching Station Project | CPS Energy | 158 | 2024 | Large Load Growth | 0 | 0 | 100 | 0
24RPG002 | Rockhound 345/138-kV Switch and Grey Well Draw to Buffalo 2nd 138-kV Circuit Project | Oncor | 97 | 2024 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
24RPG006 | Prairieland 345/138-kV Switch and Prairieland Switch to Quartz Sand Switch/Hog Mountain Pod 138-kV Line Project | Oncor | 56 | 2024 | Load Growth | 0 | 76.96 | 16.34 | 6.7
24RPG010 | Delaware Basin Stages 3 and 4 Project | Oncor | 202.2 | 2024 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
24RPG008 | Brownsville Area Improvements Transmission Project | AEPSC | 423.8 | 2024 | Large Load Growth | 0 | 0 | 100 | 0
24RPG007 | Canton Area Loop Project | REC | 26.03 | 2024 | Large Load Growth | 0 | 100 | 0 | 0
24RPG016 | Rand Area Loop Project | REC | 32.2 | 2024 | Large Load Growth | 0 | 100 | 0 | 0
24RPG015 | Delaware Basin State 5 Project | Oncor | 855.3 | 2024 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
24RPG014 | Sim Gideon to Cedar Hill Transmission Line Upgrade Project | LCRA TSC | 77.9 | 2024 | Load Growth | 0 | 0 | 100 | 0
24RPG020 | Connell 345/138-kV Switch and Connell to Rockhound 345-kV Double-Circuit Line Project | Oncor | 110.62 | 2024 | Load Growth | 0 | 76.96 | 16.34 | 6.7
24RPG017 | Venus Switch to Sam Switch 345-kV Line Project | Oncor | 118.9 | 2024 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
24RPG022 | Wilmer 345/138-kV Switch Project | Oncor | 158.2 | 2024 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
24RPG027 | Long Draw Second 345/138-kV Autotransformer Project | WETT | 28 | 2024 | Large Load Growth | 0 | 0 | 0 | 100
24RPG024 | Hartring to Upland 138-kV Line and Benedum Autotransformer Addition Project | Oncor and LCRA TSC | 97.7 | 2024 | Data Center Load | 0 | 38.48 | 8.17 | 53.35
24RPG023 | WETT Delaware Basin Stage 5 Project Alternative | WETT | 305.5 | 2024 | Data Center Load | 0 | 0 | 0 | 100
24RPG029 | Tredway 138-kV Switch and Expanse to Tredway 138-kV 2nd Circuit Project | Oncor | 119.03 | 2024 | Load Growth | 0 | 76.96 | 16.34 | 6.7
24RPG028 | Baytown Area Load Addition Project | CNP | 545.3 | 2024 | Large Load Growth | 98.56 | 0 | 1.44 | 0
24RPG033 | MINING 69-kV Substation Conversion Project | CNP | 34.12 | 2024 | Load Growth | 98.56 | 0 | 1.44 | 0
24RPG039 | Galveston Region Project | TNMP | 95.9 | 2024 | Large Load Growth | 10.78 | 87.19 | 0.58 | 1.46
24RPG038 | Bergheim Substation Upgrade Project | LCRA TSC and PEC | 66.35 | 2024 | Load Growth | 0 | 0.05 | 99.87 | 0.08
24RPG040 | Roscoe Area Upgrades Project | Oncor | 84.3 | 2024 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
25RPG001 | Texas A&M University System RELLIS Campus Reliability Project | BTU | 281.2 | 2025 | Large Load Growth | 0 | 0 | 100 | 0
25RPG004 | Southern DFW Load Interconnection and General Grid Strengthening Project | Oncor | 1219 | 2025 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
25RPG007 | Salt Flat Road to Barr Ranch to Reiter 138-kV Second Circuit Project | Oncor | 63.88 | 2025 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
25RPG014 | Cedar Bayou Autotransformer Upgrades Project | CNP | 26.3 | 2025 | Large Load Growth | 98.56 | 0 | 1.44 | 0
25RPG012 | Ammonia Plant Load Project | STEC | 65.47 | 2025 | Large Load Growth | 0 | 0 | 100 | 0
25RPG016 | Nueces Green Ammonia Load Interconnection Project | STEC | 74 | 2025 | Large Load Growth | 0 | 0 | 100 | 0
25RPG018 | Childress Area Transmission Improvement Project | AEPSC | 77.3 | 2025 | Load Growth | 0 | 0 | 0 | 100
25RPG020 | Large Load Additions Project | CPS Energy | 333.7 | 2025 | Large Load Growth | 0 | 0 | 100 | 0
25RPG017 | Helotes 345/138-kV Switching Station and Autotransformer Addition at Eastside Switching Station Project | CPS Energy | 110 | 2025 | Large Load Growth | 0 | 0 | 100 | 0
25RPG025 | Texas 765-kV-STEP Eastern Backbone Project | AEP Texas, CPS Energy, Oncor and CNP | 9384 | 2025 | Large Load Growth | 24.64 | 19.24 | 54.45 | 1.68
25RPG027 | Royse Switch to Edgewood 69-kV Line Conversion to 138-kV Project | Oncor | 44.72 | 2025 | Load Growth | 0 | 76.96 | 16.34 | 6.7
25RPG022 | Drill Hole to Sand Lake to Solstice 765-kV Line Project | Oncor and AEPSC | 742.2 | 2025 | Load Growth | 0 | 38.48 | 8.17 | 53.35
25RPG033 | Oncor Skyview 345/138-kV Switch Project | Oncor | 56.82 | 2025 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
25RPG035 | McDonald Road Switch to Polecat Creek Switch 138-kV Line Project | Oncor | 26.66 | 2025 | Large Load Growth | 0 | 76.96 | 16.34 | 6.7
25RPG043 | Set 2 North Central & South Central Texas Reliability Project | Oncor | 440.79 | 2025 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
25RPG042 | Set 2 North & Central Texas Reliability Project | Oncor | 1330 | 2025 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
25RPG039 | Southeast Brownsville Large Load Transmission System Improvements Project | STEC | 96.35 | 2025 | Large Load Growth | 0 | 0 | 100 | 0
25RPG040 | Set 1 North & Central Texas Reliability Project | Oncor | 1798 | 2025 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
25RPG041 | Set 1 North Central & South Central Texas Reliability Project | Oncor | 943.92 | 2025 | Data Center Load | 0 | 76.96 | 16.34 | 6.7
25RPG038 | Navarro and Ellis Area Reliability Project | Oncor and LST | 759.95 | 2025 | Data Center Load | 0 | 88.48 | 8.17 | 3.35
25RPG044 | Whitney Autotransformer Upgrade Project | BEC | 33.5 | 2025 | Load Growth | 0 | 100 | 0 | 0
25RPG046 | Medina County Large Load Additions Project | STEC | 492 | 2026 | Large Load Growth | 0 | 0 | 100 | 0
26RPG001 | Euclid 765-kV Substation and Transmission Line Addition Project | LCRA TSC and CEHE | 1830 | 2026 | Large Load Growth | 49.28 | 0 | 50.72 | 0

## Table2_ShareRatio
RPG Project ID | Project Name | Transmission Owner | Cost ($M) | Year | Driver Categories | Allocation Method | Houston | North | South | West
18RPG001 | LRGV Import Project | AEPSC | 73.4 | 2020 | Large Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
19RPG009 | Lower Rio Grande Valley Transmission Expansion Project | STEC | 511 | 2020 | Large Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Corpus North Shore Project | AEPSC | 259.57 | 2020 | Large Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Farmersville Area Reliability Project | GP&L | 24.37 | 2020 | Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Anna Switch - Royse Switch 138-kV Line Upgrade Project | Oncor | 91.2 | 2020 | Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Texas City Transmission Improvement Project | TNMP | 29.3 | 2020 | Large Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Big Spring – Buzzard Draw 69-kV Line Conversion to 138-kV Project | Oncor | 32 | 2020 | Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Carrollton Northwest 345/138-kV Autotransformer Upgrade Project | Oncor | 8.5 | 2020 | Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Eagle Mountain to Saginaw 138-kV Double-Circuit Line Upgrade Project | Oncor | 32 | 2020 | Data Center Load | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Mont Belvieu Reliability Upgrades Project | CNP | 27.28 | 2020 | Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
20RPG019 | Nacogdoches Southeast Switch – Redland Switch – Lufkin Switch 345 kV Loop | Oncor | 71.26 | 2020 | Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
| Lake Pauline Area Improvement Project | AEPSC | 47.5 | 2020 | Large Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
20RPG023 | Royse - Commerce 69-kV Line Conversion to 138-kV | Oncor | 72.1 | 2020 | Load Growth | 4CP Zone Share | 26.01 | 36.88 | 32.29 | 4.82
21RPG002 | Port Lavaca Area Improvement Project | AEPSC | 101.5 | 2021 | Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG003 | Midland East Area Projects | Oncor | 88.5 | 2021 | Large Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG004 | Venus Switch-Cedar Hill Switch 345-kV Line Project | Oncor | 10.3 | 2021 | Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG008 | Burnett – Bowie 69 kV Line Upgrade Project | Oncor | 79.7 | 2021 | Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG010 | Flat Iron – Barr Ranch – Pegasus South 138-kV Line Project | Oncor | 63.1 | 2021 | Large Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG001 | Bakersfield to Big Hill 345‐kV Second Circuit Addition Project | STEC & LCRA TSC | 83.2 | 2021 | Large Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG016 | TH Wharton - White Oak 138-kV Conversion Project | CNP | 79.9 | 2021 | Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG017 | Lower Rio Grande Valley System Enhancement Project | ERCOT | 1280 | 2021 | Large Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG019 | Howard Road 345/138-kV Switching Station Project | CPS | 56.3 | 2021 | Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
21RPG020 | Galena Park Area 138-kV Conversion Project | CNP | 52.05 | 2021 | Load Growth | 4CP Zone Share | 25.69 | 37.5 | 31.51 | 5.31
22RPG001 | Greens Bayou to Clinton 138 kV Conversion Project | CNP | 88.5 | 2022 | Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG003 | Roanoke Area Upgrades project | Oncor | 285.9 | 2022 | Data Center Load | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG008 | Bowman Switch 345/138 kV Autotransformers Project | Oncor | 13 | 2022 | Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG014 | Red Oak Area Upgrades project | Oncor | 63 | 2022 | Large Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG015 | Tyler Switch – Forest Grove Switch 138 kV Line Project | Oncor | 62.7 | 2022 | Large Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG017 | McGregor Phillips – Waco West 69 kV Line Conversion Project | Oncor | 38.8 | 2022 | Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG025 | Yucca Drive - Courtney Creek 69 kV Line Conversion to 138 kV Project | Oncor | 65 | 2022 | Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG021 | Tawakoni Area Transmission Project | REC | 42.4 | 2022 | Large Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG010 | Bearkat – North McCamey – Sand Lake 345-kV Transmission Line Addition Project | LCRA TSC, Oncor, WETT | 477.6 | 2022 | Large Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG048 | San Antonio South Reliability Project | CPS | 329.1 | 2022 | Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG047 | Peck to Driver 138 kV Line Project | Oncor | 36.2 | 2022 | Large Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG046 | Peppervine to Temple 69 kV Line Conversion Project | Oncor | 36 | 2022 | Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
22RPG045 | Yucca to Moss 138 kV Line Project | Oncor | 60.7 | 2022 | Large Load Growth | 4CP Zone Share | 24.82 | 37.99 | 31.77 | 5.43
23RPG003 | Eagle Ford Large Load Interconnection Project | GVEC | 47 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG007 | Asherton to Uvalde 138-kV Conversion Project | AEPSC | 56 | 2023 | Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG008 | Fort Stockton Plant to Lynx 138-kV Line Rebuild Project | AEPSC | 44.9 | 2023 | Data Center Load | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG013 | Silverleaf and Cowpen 345/138-kV Stations Project | TNMP | 273.1 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG012 | Stone Lake Area Upgrades Project | CNP | 74.38 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG011 | Morgan Creek to McDonald Road 138-kV Line Project | Oncor | 40.2 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG015 | Cuero Substation Upgrade Project | LCRA TSC | 25.9 | 2023 | Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG017 | Watermill 345/138-kV Switch Project | Oncor | 74.9 | 2023 | Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG023 | Pecos County Transmission Improvement Project | TNMP | 114.8 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG020 | Hackberry Switch to DFW D East 2 138-kV Double-Circuit Line Section Project | Oncor | 80 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG018 | Arlington Reliability Enhancement Project | Oncor | 73 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG028 | Rio Medina Project | STEC | 71.7 | 2023 | Data Center Load | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
23RPG030 | Walleye Creek 345/138-kV Switch Project | Oncor | 74 | 2023 | Large Load Growth | 4CP Zone Share | 25.42 | 37.61 | 31.6 | 5.37
24RPG004 | Omicron Reliability Project | CPS Energy | 42.5 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG003 | Eastside 345/138-kV Switching Station Project | CPS Energy | 158 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG002 | Rockhound 345/138-kV Switch and Grey Well Draw to Buffalo 2nd 138-kV Circuit Project | Oncor | 97 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG006 | Prairieland 345/138-kV Switch and Prairieland Switch to Quartz Sand Switch/Hog Mountain Pod 138-kV Line Project | Oncor | 56 | 2024 | Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG010 | Delaware Basin Stages 3 and 4 Project | Oncor | 202.2 | 2024 | Data Center Load | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG008 | Brownsville Area Improvements Transmission Project | AEPSC | 423.8 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG007 | Canton Area Loop Project | REC | 26.03 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG016 | Rand Area Loop Project | REC | 32.2 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG015 | Delaware Basin State 5 Project | Oncor | 855.3 | 2024 | Data Center Load | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG014 | Sim Gideon to Cedar Hill Transmission Line Upgrade Project | LCRA TSC | 77.9 | 2024 | Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG020 | Connell 345/138-kV Switch and Connell to Rockhound 345-kV Double-Circuit Line Project | Oncor | 110.62 | 2024 | Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG017 | Venus Switch to Sam Switch 345-kV Line Project | Oncor | 118.9 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG022 | Wilmer 345/138-kV Switch Project | Oncor | 158.2 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG027 | Long Draw Second 345/138-kV Autotransformer Project | WETT | 28 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG024 | Hartring to Upland 138-kV Line and Benedum Autotransformer Addition Project | Oncor and LCRA TSC | 97.7 | 2024 | Data Center Load | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG023 | WETT Delaware Basin Stage 5 Project Alternative | WETT | 305.5 | 2024 | Data Center Load | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG029 | Tredway 138-kV Switch and Expanse to Tredway 138-kV 2nd Circuit Project | Oncor | 119.03 | 2024 | Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG028 | Baytown Area Load Addition Project | CNP | 545.3 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG033 | MINING 69-kV Substation Conversion Project | CNP | 34.12 | 2024 | Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG039 | Galveston Region Project | TNMP | 95.9 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG038 | Bergheim Substation Upgrade Project | LCRA TSC and PEC | 66.35 | 2024 | Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
24RPG040 | Roscoe Area Upgrades Project | Oncor | 84.3 | 2024 | Large Load Growth | 4CP Zone Share | 25.13 | 37.89 | 31.19 | 5.79
25RPG001 | Texas A&M University System RELLIS Campus Reliability Project | BTU | 281.2 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG004 | Southern DFW Load Interconnection and General Grid Strengthening Project | Oncor | 1219 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG007 | Salt Flat Road to Barr Ranch to Reiter 138-kV Second Circuit Project | Oncor | 63.88 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG014 | Cedar Bayou Autotransformer Upgrades Project | CNP | 26.3 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG012 | Ammonia Plant Load Project | STEC | 65.47 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG016 | Nueces Green Ammonia Load Interconnection Project | STEC | 74 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG018 | Childress Area Transmission Improvement Project | AEPSC | 77.3 | 2025 | Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG020 | Large Load Additions Project | CPS Energy | 333.7 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG017 | Helotes 345/138-kV Switching Station and Autotransformer Addition at Eastside Switching Station Project | CPS Energy | 110 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG025 | Texas 765-kV-STEP Eastern Backbone Project | AEP Texas, CPS Energy, Oncor and CNP | 9384 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG027 | Royse Switch to Edgewood 69-kV Line Conversion to 138-kV Project | Oncor | 44.72 | 2025 | Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG022 | Drill Hole to Sand Lake to Solstice 765-kV Line Project | Oncor and AEPSC | 742.2 | 2025 | Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG033 | Oncor Skyview 345/138-kV Switch Project | Oncor | 56.82 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG035 | McDonald Road Switch to Polecat Creek Switch 138-kV Line Project | Oncor | 26.66 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG043 | Set 2 North Central & South Central Texas Reliability Project | Oncor | 440.79 | 2025 | Data Center Load | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG042 | Set 2 North & Central Texas Reliability Project | Oncor | 1330 | 2025 | Data Center Load | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG039 | Southeast Brownsville Large Load Transmission System Improvements Project | STEC | 96.35 | 2025 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG040 | Set 1 North & Central Texas Reliability Project | Oncor | 1798 | 2025 | Data Center Load | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG041 | Set 1 North Central & South Central Texas Reliability Project | Oncor | 943.92 | 2025 | Data Center Load | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG038 | Navarro and Ellis Area Reliability Project | Oncor and LST | 759.95 | 2025 | Data Center Load | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG044 | Whitney Autotransformer Upgrade Project | BEC | 33.5 | 2025 | Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
25RPG046 | Medina County Large Load Additions Project | STEC | 492 | 2026 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53
26RPG001 | Euclid 765-kV Substation and Transmission Line Addition Project | LCRA TSC and CEHE | 1830 | 2026 | Large Load Growth | 4CP Zone Share | 25.38 | 37.65 | 31.44 | 5.53