## Zone Classification
Project ID | Project Name | Entity | Cost ($M) | Year | Primary Driver | Entities Parsed | Houston (%) | North (%) | South (%) | West (%) | Classification Basis | Flag
18RPG001 | LRGV Import Project | AEPSC | 73.4 | 2020 | Large Load Growth | AEPSC | 0 | 0 | 100 | 0 | AEPSC → gpkg (lrgv → 26.20,-97.70) [South]
19RPG009 | Lower Rio Grande Valley Transmission Expansion Project | STEC | 511 | 2020 | Large Load Growth | STEC | 0 | 0 | 100 | 0 | STEC → utility mapping (SOUTH TEXAS ELECTRIC CO OP INC)
| Corpus North Shore Project | AEPSC | 259.57 | 2020 | Large Load Growth | AEPSC | 0 | 0 | 100 | 0 | AEPSC → gpkg (corpus → 27.80,-97.40) [South]
| Farmersville Area Reliability Project | GP&L | 24.37 | 2020 | Load Growth | GP&L | 0 | 100 | 0 | 0 | GP&L → utility mapping (CITY OF GARLAND)
| Anna Switch - Royse Switch 138-kV Line Upgrade Project | Oncor | 91.2 | 2020 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
| Texas City Transmission Improvement Project | TNMP | 29.3 | 2020 | Large Load Growth | TNMP | 10.78 | 87.19 | 0.58 | 1.46 | TNMP → utility mapping (TEXAS-NEW MEXICO POWER CO)
| Big Spring – Buzzard Draw 69-kV Line Conversion to 138-kV Project | Oncor | 32 | 2020 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
| Carrollton Northwest 345/138-kV Autotransformer Upgrade Project | Oncor | 8.5 | 2020 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
| Eagle Mountain to Saginaw 138-kV Double-Circuit Line Upgrade Project | Oncor | 32 | 2020 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
| Mont Belvieu Reliability Upgrades Project | CNP | 27.28 | 2020 | Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
20RPG019 | Nacogdoches Southeast Switch – Redland Switch – Lufkin Switch 345 kV Loop | Oncor | 71.26 | 2020 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
| Lake Pauline Area Improvement Project | AEPSC | 47.5 | 2020 | Large Load Growth | AEPSC | 0 | 0 | 0 | 100 | AEPSC → gpkg (lake pauline → 34.08,-99.43) [West]
20RPG023 | Royse - Commerce 69-kV Line Conversion to 138-kV | Oncor | 72.1 | 2020 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
21RPG002 | Port Lavaca Area Improvement Project | AEPSC | 101.5 | 2021 | Load Growth | AEPSC | 0 | 0 | 100 | 0 | AEPSC → gpkg (port lavaca → 28.62,-96.63) [South]
21RPG003 | Midland East Area Projects | Oncor | 88.5 | 2021 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
21RPG004 | Venus Switch-Cedar Hill Switch 345-kV Line Project | Oncor | 10.3 | 2021 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
21RPG008 | Burnett – Bowie 69 kV Line Upgrade Project | Oncor | 79.7 | 2021 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
21RPG010 | Flat Iron – Barr Ranch – Pegasus South 138-kV Line Project | Oncor | 63.1 | 2021 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
21RPG001 | Bakersfield to Big Hill 345‐kV Second Circuit Addition Project | STEC & LCRA TSC | 83.2 | 2021 | Large Load Growth | STEC, LCRA TSC | 0 | 0 | 50 | 50 | STEC → utility mapping (SOUTH TEXAS ELECTRIC CO OP INC) LCRA TSC → gpkg (bakersfield → 30.85,-102.58) [West]
21RPG016 | TH Wharton - White Oak 138-kV Conversion Project | CNP | 79.9 | 2021 | Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
21RPG017 | Lower Rio Grande Valley System Enhancement Project | ERCOT | 1280 | 2021 | Large Load Growth | ERCOT | 0 | 0 | 100 | 0 | ERCOT → gpkg (rio grande valley → 26.20,-97.70) [South]
21RPG019 | Howard Road 345/138-kV Switching Station Project | CPS | 56.3 | 2021 | Load Growth | CPS | 0 | 0 | 100 | 0 | CPS → utility mapping (CPS ENERGY)
21RPG020 | Galena Park Area 138-kV Conversion Project | CNP | 52.05 | 2021 | Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
22RPG001 | Greens Bayou to Clinton 138 kV Conversion Project | CNP | 88.5 | 2022 | Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
22RPG003 | Roanoke Area Upgrades project | Oncor | 285.9 | 2022 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG008 | Bowman Switch 345/138 kV Autotransformers Project | Oncor | 13 | 2022 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG014 | Red Oak Area Upgrades project | Oncor | 63 | 2022 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG015 | Tyler Switch – Forest Grove Switch 138 kV Line Project | Oncor | 62.7 | 2022 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG017 | McGregor Phillips – Waco West 69 kV Line Conversion Project | Oncor | 38.8 | 2022 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG025 | Yucca Drive - Courtney Creek 69 kV Line Conversion to 138 kV Project | Oncor | 65 | 2022 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG021 | Tawakoni Area Transmission Project | REC | 42.4 | 2022 | Large Load Growth | REC | 0 | 100 | 0 | 0 | REC → gpkg (tawakoni → 32.86,-95.92) [North]
22RPG010 | Bearkat – North McCamey – Sand Lake 345-kV Transmission Line Addition Project | LCRA TSC, Oncor, WETT | 477.6 | 2022 | Large Load Growth | LCRA TSC, Oncor, WETT | 0 | 25.65 | 5.45 | 68.9 | LCRA TSC → gpkg (sand lake → 31.60,-103.10) [West] Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC) WETT → gpkg (sand lake → 31.60,-103.10) [West]
22RPG048 | San Antonio South Reliability Project | CPS | 329.1 | 2022 | Load Growth | CPS | 0 | 0 | 100 | 0 | CPS → utility mapping (CPS ENERGY)
22RPG047 | Peck to Driver 138 kV Line Project | Oncor | 36.2 | 2022 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG046 | Peppervine to Temple 69 kV Line Conversion Project | Oncor | 36 | 2022 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
22RPG045 | Yucca to Moss 138 kV Line Project | Oncor | 60.7 | 2022 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
23RPG003 | Eagle Ford Large Load Interconnection Project | GVEC | 47 | 2023 | Large Load Growth | GVEC | 0 | 0 | 100 | 0 | GVEC → utility mapping (GUADALUPE VALLEY ELECTRIC CO OP INC)
23RPG007 | Asherton to Uvalde 138-kV Conversion Project | AEPSC | 56 | 2023 | Load Growth | AEPSC | 0 | 0 | 100 | 0 | AEPSC → gpkg (asherton → 28.45,-99.76) [South]
23RPG008 | Fort Stockton Plant to Lynx 138-kV Line Rebuild Project | AEPSC | 44.9 | 2023 | Data Center Load | AEPSC | 0 | 0 | 0 | 100 | AEPSC → gpkg (fort stockton → 30.89,-102.88) [West]
23RPG013 | Silverleaf and Cowpen 345/138-kV Stations Project | TNMP | 273.1 | 2023 | Large Load Growth | TNMP | 10.78 | 87.19 | 0.58 | 1.46 | TNMP → utility mapping (TEXAS-NEW MEXICO POWER CO)
23RPG012 | Stone Lake Area Upgrades Project | CNP | 74.38 | 2023 | Large Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
23RPG011 | Morgan Creek to McDonald Road 138-kV Line Project | Oncor | 40.2 | 2023 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
23RPG015 | Cuero Substation Upgrade Project | LCRA TSC | 25.9 | 2023 | Load Growth | LCRA TSC | 0 | 0 | 100 | 0 | LCRA TSC → gpkg (cuero → 29.09,-97.29) [South]
23RPG017 | Watermill 345/138-kV Switch Project | Oncor | 74.9 | 2023 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
23RPG023 | Pecos County Transmission Improvement Project | TNMP | 114.8 | 2023 | Large Load Growth | TNMP | 10.78 | 87.19 | 0.58 | 1.46 | TNMP → utility mapping (TEXAS-NEW MEXICO POWER CO)
23RPG020 | Hackberry Switch to DFW D East 2 138-kV Double-Circuit Line Section Project | Oncor | 80 | 2023 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
23RPG018 | Arlington Reliability Enhancement Project | Oncor | 73 | 2023 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
23RPG028 | Rio Medina Project | STEC | 71.7 | 2023 | Data Center Load | STEC | 0 | 0 | 100 | 0 | STEC → utility mapping (SOUTH TEXAS ELECTRIC CO OP INC)
23RPG030 | Walleye Creek 345/138-kV Switch Project | Oncor | 74 | 2023 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG004 | Omicron Reliability Project | CPS Energy | 42.5 | 2024 | Large Load Growth | CPS Energy | 0 | 0 | 100 | 0 | CPS Energy → utility mapping (CPS ENERGY)
24RPG003 | Eastside 345/138-kV Switching Station Project | CPS Energy | 158 | 2024 | Large Load Growth | CPS Energy | 0 | 0 | 100 | 0 | CPS Energy → utility mapping (CPS ENERGY)
24RPG002 | Rockhound 345/138-kV Switch and Grey Well Draw to Buffalo 2nd 138-kV Circuit Project | Oncor | 97 | 2024 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG006 | Prairieland 345/138-kV Switch and Prairieland Switch to Quartz Sand Switch/Hog Mountain Pod 138-kV Line Project | Oncor | 56 | 2024 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG010 | Delaware Basin Stages 3 and 4 Project | Oncor | 202.2 | 2024 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG008 | Brownsville Area Improvements Transmission Project | AEPSC | 423.8 | 2024 | Large Load Growth | AEPSC | 0 | 0 | 100 | 0 | AEPSC → gpkg (brownsville → 25.90,-97.50) [South]
24RPG007 | Canton Area Loop Project | REC | 26.03 | 2024 | Large Load Growth | REC | 0 | 100 | 0 | 0 | REC → gpkg (canton → 32.56,-95.86) [North]
24RPG016 | Rand Area Loop Project | REC | 32.2 | 2024 | Large Load Growth | REC | 0 | 100 | 0 | 0 | REC → gpkg (rand → 32.75,-96.10) [North]
24RPG015 | Delaware Basin State 5 Project | Oncor | 855.3 | 2024 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG014 | Sim Gideon to Cedar Hill Transmission Line Upgrade Project | LCRA TSC | 77.9 | 2024 | Load Growth | LCRA TSC | 0 | 0 | 100 | 0 | LCRA TSC → gpkg (sim gideon → 30.10,-97.30) [South]
24RPG020 | Connell 345/138-kV Switch and Connell to Rockhound 345-kV Double-Circuit Line Project | Oncor | 110.62 | 2024 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG017 | Venus Switch to Sam Switch 345-kV Line Project | Oncor | 118.9 | 2024 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG022 | Wilmer 345/138-kV Switch Project | Oncor | 158.2 | 2024 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG027 | Long Draw Second 345/138-kV Autotransformer Project | WETT | 28 | 2024 | Large Load Growth | WETT | 0 | 0 | 0 | 100 | WETT → gpkg (long draw → 31.50,-103.00) [West]
24RPG024 | Hartring to Upland 138-kV Line and Benedum Autotransformer Addition Project | Oncor and LCRA TSC | 97.7 | 2024 | Data Center Load | Oncor, LCRA TSC | 0 | 38.48 | 8.17 | 53.35 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC) LCRA TSC → gpkg (hartring → 31.45,-102.40) [West]
24RPG023 | WETT Delaware Basin Stage 5 Project Alternative | WETT | 305.5 | 2024 | Data Center Load | WETT | 0 | 0 | 0 | 100 | WETT → gpkg (delaware basin → 31.50,-103.20) [West]
24RPG029 | Tredway 138-kV Switch and Expanse to Tredway 138-kV 2nd Circuit Project | Oncor | 119.03 | 2024 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
24RPG028 | Baytown Area Load Addition Project | CNP | 545.3 | 2024 | Large Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
24RPG033 | MINING 69-kV Substation Conversion Project | CNP | 34.12 | 2024 | Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
24RPG039 | Galveston Region Project | TNMP | 95.9 | 2024 | Large Load Growth | TNMP | 10.78 | 87.19 | 0.58 | 1.46 | TNMP → utility mapping (TEXAS-NEW MEXICO POWER CO)
24RPG038 | Bergheim Substation Upgrade Project | LCRA TSC and PEC | 66.35 | 2024 | Load Growth | LCRA TSC, PEC | 0 | 0.05 | 99.87 | 0.08 | LCRA TSC → gpkg (bergheim → 29.83,-98.58) [South] PEC → utility mapping (PEDERNALES ELECTRIC CO OP INC)
24RPG040 | Roscoe Area Upgrades Project | Oncor | 84.3 | 2024 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG001 | Texas A&M University System RELLIS Campus Reliability Project | BTU | 281.2 | 2025 | Large Load Growth | BTU | 0 | 0 | 100 | 0 | BTU → utility mapping (BRYAN TEXAS UTILITIES)
25RPG004 | Southern DFW Load Interconnection and General Grid Strengthening Project | Oncor | 1219 | 2025 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG007 | Salt Flat Road to Barr Ranch to Reiter 138-kV Second Circuit Project | Oncor | 63.88 | 2025 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG014 | Cedar Bayou Autotransformer Upgrades Project | CNP | 26.3 | 2025 | Large Load Growth | CNP | 98.56 | 0 | 1.44 | 0 | CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
25RPG012 | Ammonia Plant Load Project | STEC | 65.47 | 2025 | Large Load Growth | STEC | 0 | 0 | 100 | 0 | STEC → utility mapping (SOUTH TEXAS ELECTRIC CO OP INC)
25RPG016 | Nueces Green Ammonia Load Interconnection Project | STEC | 74 | 2025 | Large Load Growth | STEC | 0 | 0 | 100 | 0 | STEC → utility mapping (SOUTH TEXAS ELECTRIC CO OP INC)
25RPG018 | Childress Area Transmission Improvement Project | AEPSC | 77.3 | 2025 | Load Growth | AEPSC | 0 | 0 | 0 | 100 | AEPSC → gpkg (childress → 34.43,-100.20) [West]
25RPG020 | Large Load Additions Project | CPS Energy | 333.7 | 2025 | Large Load Growth | CPS Energy | 0 | 0 | 100 | 0 | CPS Energy → utility mapping (CPS ENERGY)
25RPG017 | Helotes 345/138-kV Switching Station and Autotransformer Addition at Eastside Switching Station Project | CPS Energy | 110 | 2025 | Large Load Growth | CPS Energy | 0 | 0 | 100 | 0 | CPS Energy → utility mapping (CPS ENERGY)
25RPG025 | Texas 765-kV-STEP Eastern Backbone Project | AEP Texas, CPS Energy, Oncor and CNP | 9384 | 2025 | Large Load Growth | AEP Texas, CPS Energy, Oncor, CNP | 24.64 | 19.24 | 54.45 | 1.68 | AEP Texas → manual [South] (from project map image) CPS Energy → utility mapping (CPS ENERGY) Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC) CNP → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)
25RPG027 | Royse Switch to Edgewood 69-kV Line Conversion to 138-kV Project | Oncor | 44.72 | 2025 | Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG022 | Drill Hole to Sand Lake to Solstice 765-kV Line Project | Oncor and AEPSC | 742.2 | 2025 | Load Growth | Oncor, AEPSC | 0 | 38.48 | 8.17 | 53.35 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC) AEPSC → gpkg (drill hole → 31.80,-103.50) [West]
25RPG033 | Oncor Skyview 345/138-kV Switch Project | Oncor | 56.82 | 2025 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG035 | McDonald Road Switch to Polecat Creek Switch 138-kV Line Project | Oncor | 26.66 | 2025 | Large Load Growth | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG043 | Set 2 North Central & South Central Texas Reliability Project | Oncor | 440.79 | 2025 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG042 | Set 2 North & Central Texas Reliability Project | Oncor | 1330 | 2025 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG039 | Southeast Brownsville Large Load Transmission System Improvements Project | STEC | 96.35 | 2025 | Large Load Growth | STEC | 0 | 0 | 100 | 0 | STEC → utility mapping (SOUTH TEXAS ELECTRIC CO OP INC)
25RPG040 | Set 1 North & Central Texas Reliability Project | Oncor | 1798 | 2025 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG041 | Set 1 North Central & South Central Texas Reliability Project | Oncor | 943.92 | 2025 | Data Center Load | Oncor | 0 | 76.96 | 16.34 | 6.7 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC)
25RPG038 | Navarro and Ellis Area Reliability Project | Oncor and LST | 759.95 | 2025 | Data Center Load | Oncor, LST | 0 | 88.48 | 8.17 | 3.35 | Oncor → utility mapping (ONCOR ELECTRIC DELIVERY COMPANY LLC) LST → gpkg (navarro → 32.10,-96.47) [North]
25RPG044 | Whitney Autotransformer Upgrade Project | BEC | 33.5 | 2025 | Load Growth | BEC | 0 | 100 | 0 | 0 | BEC → gpkg (whitney → 31.95,-97.32) [North]
25RPG046 | Medina County Large Load Additions Project | STEC | 492 | 2026 | Large Load Growth | STEC | 0 | 0 | 100 | 0 | STEC → utility mapping (SOUTH TEXAS ELECTRIC CO OP INC)
26RPG001 | Euclid 765-kV Substation and Transmission Line Addition Project | LCRA TSC and CEHE | 1830 | 2026 | Large Load Growth | LCRA TSC, CEHE | 49.28 | 0 | 50.72 | 0 | LCRA TSC → gpkg (euclid → 30.25,-97.80) [South] CEHE → utility mapping (CENTERPOINT ENERGY HOUSTON ELECTRIC LLC)