## Mortality
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV - COMPARISON OF MORTALITY CHARACTERISTICS
DEPRECIATION STUDY AS OF DECEMBER 31, 2018
(1) |  | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | Existing Rates |  |  |  |  | Current Study Rates
|  | Average |  |  | Cost of | Net | Average |  |  | Cost of | Net
|  | Service | Iowa | Salvage | Removal | Salvage | Service | Iowa | Salvage | Removal | Salvage
|  | Life | Curve | Factor | Factor | Factor | Life | Curve | Factor | Factor | Factor
|  | (Years) |  |  |  |  | (Years)
TRANSMISSION PLANT
350.1 | Rights of Way | 75 | R5.0 | 0% | 0% | 0% | 75 | R5.0 | 0% | 0% | 0%
352.0 | Structures & Improvements | 55 | L1.0 | 2% | 3% | -1% | 65 | L1.0 | 3% | 6% | -3%
353.0 | Station Equipment | 62 | L0.5 | 9% | 8% | 1% | 51 | L1.0 | 13% | 13% | 0%
354.0 | Towers & Fixtures | 81 | S3.0 | 55% | 57% | -2% | 70 | R3.0 | 7% | 17% | -10%
355.0 | Poles & Fixtures | 70 | R1.0 | 17% | 85% | -68% | 60 | L0.5 | 17% | 63% | -46%
356.0 | Overhead Conductor & Devices | 75 | R3.0 | 12% | 41% | -29% | 65 | L0.0 | 8% | 38% | -30%
357.0 | Underground Conduit | 65 | R2.0 | 0% | 5% | -5% | 65 | R2.0 | 0% | 0% | 0%
358.0 | Underground Conductor & Devices | 50 | R3.0 | 0% | 0% | 0% | 50 | R3.0 | 0% | 0% | 0%
359.0 | Roads and Trails | 65 | R4.0 | 0% | 0% | 0% | 65 | R4.0 | 0% | 0% | 0%
DISTRIBUTION PLANT
360.1 | Rights of Way | 60 | R5.0 | 0% | 0% | 0% | 60 | R5.0 | 0% | 0% | 0%
361.0 | Structures & Improvements | 64 | R2.5 | 46% | 25% | 21% | 70 | S0.0 | 14% | 13% | 1%
362.0 | Station Equipment | 61 | L0.5 | 41% | 13% | 28% | 60 | L0.0 | 20% | 17% | 3%
364.0 | Poles, Towers, & Fixtures | 39 | S0.5 | 17% | 65% | -48% | 52 | L0.0 | 15% | 86% | -71%
365.0 | Overhead Conductor & Devices | 54 | R0.5 | 19% | 107% | -88% | 56 | R1.0 | 9% | 104% | -95%
366.0 | Underground Conduit | 60 | R3.0 | 18% | 74% | -56% | 70 | R3.5 | 0% | 0% | 0%
367.0 | Underground Conductor | 50 | R1.0 | 10% | 45% | -35% | 54 | R1.5 | 9% | 52% | -43%
368.0 | Line Transformers | 40 | S0.0 | 4% | 17% | -13% | 35 | L0.0 | 4% | 22% | -18%
369.0 | Services | 35 | SC | 10% | 51% | -41% | 50 | R1.5 | 29% | 68% | -39%
370.0 | Meters | 22 | R0.5 | 4% | 19% | -15% | 22 | R0.5 | 7% | 26% | -19%
370.16 | AMI - Meters | 7 | R0.5 | 0% | 0% | 0% | 7 | R0.5 | 0% | 0% | 0%
371.0 | Installations on Custs. Prem. | 35 | L0.0 | 24% | 36% | -12% | 33 | L0.0 | 15% | 29% | -14%
373.0 | Street Lighting & Signal Sys. | 35 | SC | 13% | 43% | -30% | 40 | L0.0 | 6% | 33% | -27%
GENERAL PLANT
390.0 | Structures & Improvements | 40 | R0.5 | 23% | 4% | 19% | 50 | R0.5 | 31% | 12% | 19%
391.0 | Office Furniture & Equipment | 15 | SQ | 3% | 1% | 2% | 15 | SQ | 1% | 1% | 0%
392.0 | Transportation Equipment | N/A | N/A | N/A | N/A | N/A | 15 | SQ | 0% | 0% | 0%
393.0 | Stores Equipment | 22 | SQ | 1% | 1% | 0% | 22 | SQ | 1% | 1% | 0%
394.0 | Tools Shop & Garage Equipment | 35 | SQ | 1% | 1% | 0% | 35 | SQ | 0% | 0% | 0%
395.0 | Laboratory Equipment | 33 | SQ | 0% | 0% | 0% | 33 | SQ | 0% | 0% | 0%
396.0 | Power Operated Equipment | 15 | SQ | 3% | 0% | 3% | 15 | SQ | 3% | 0% | 3%
397.0 | Communication Equipment | 20 | SQ | 0% | 0% | 0% | 20 | SQ | 1% | 0% | 1%
397.16 | AMI Communication Equipment | 7 | SQ | 0% | 0% | 0% | 7 | SQ | 0% | 0% | 0%
398.0 | Miscellaneous Equipment | 20 | SQ | 1% | 3% | -2% | 20 | SQ | 1% | 7% | -6%
Notes:
(1) A useful life of 7 years was approved for AMI meters in Docket No. 36928 and AEP Texas Central Division is using a rate of 14.29% (1 divided by 7) for AMI meters in account 370.16 and the related communication equipment in account 397.16.