## Mortality
AEP TEXAS NORTH DIVISION
SCHEDULE VII - COMPARISON OF MORTALITY CHARACTERISTICS
DEPRECIATION STUDY AS OF DECEMBER 31, 2018
(1) |  | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | Existing Rates |  |  |  |  | Current Study Rates
|  | Average |  |  | Cost of | Net | Average |  |  | Cost of | Net
|  | Service | Iowa | Salvage | Removal | Salvage | Service | Iowa | Salvage | Removal | Salvage
|  | Life | Curve | Factor | Factor | Factor | Life | Curve | Factor | Factor | Factor
|  | (Years) |  |  |  |  | (Years)
TRANSMISSION PLANT
350.1 | Rights of Way | 75 | R3.0 | 0% | 0% | 0% | 75 | R3.0 | 0% | 0% | 0%
352.0 | Structures & Improvements | 50 | L4.0 | 0% | 0% | 0% | 55 | L4.0 | 3% | 6% | -3%
353.0 | Station Equipment | 54 | R0.5 | 3% | 28% | -25% | 51 | L1.0 | 11% | 18% | -7%
354.0 | Towers & Fixtures | 65 | R3.0 | 50% | 60% | -10% | 70 | R3.0 | 7% | 17% | -10%
355.0 | Poles & Fixtures | 45 | R5.0 | 1% | 81% | -80% | 45 | R5.0 | 9% | 78% | -69%
356.0 | Overhead Conductor & Devices | 50 | S6.0 | 0% | 45% | -45% | 50 | S6.0 | 5% | 34% | -29%
357.0 | Underground Conduit | 65 | R2.0 | 0% | 0% | 0% | 65 | R2.0 | 0% | 0% | 0%
358.0 | Underground Conductor & Devices | N/A | N/A | N/A | N/A | N/A | 50 | R3.0 | 0% | 0% | 0%
DISTRIBUTION PLANT
360.1 | Rights of Way | 55 | R2.5 | 0% | 0% | 0% | 60 | R5.0 | 0% | 0% | 0%
361.0 | Structures & Improvements | 52 | R3.0 | 0% | 15% | -15% | 60 | R3.0 | 14% | 13% | 1%
362.0 | Station Equipment | 36 | SC | 31% | 60% | -29% | 42 | L0.0 | 15% | 25% | -10%
364.0 | Poles, Towers, & Fixtures | 35 | L5.0 | 8% | 23% | -15% | 45 | R1.5 | 15% | 86% | -71%
365.0 | Overhead Conductor & Devices | 50 | R0.5 | 8% | 48% | -40% | 50 | R0.5 | 9% | 47% | -38%
366.0 | Underground Conduit | 70 | R1.5 | 0% | 40% | -40% | 70 | L2.0 | 0% | 0% | 0%
367.0 | Underground Conductor | 36 | R1.5 | 2% | 22% | -20% | 49 | R1.0 | 3% | 30% | -27%
368.0 | Line Transformers | 39 | L2.0 | 2% | 7% | -5% | 38 | L0.0 | 13% | 22% | -9%
369.0 | Services | 30 | S6.0 | 20% | 70% | -50% | 50 | R2.0 | 29% | 68% | -39%
370.0 | Meters | 40 | R0.5 | 2% | 42% | -40% | 22 | R0.5 | 16% | 54% | -38%
370.16 | AMI - Meters | 7 | R0.5 | 0% | 0% | 0% | 7 | R0.5 | 0% | 0% | 0%
371.0 | Installations on Custs. Prem. | 28 | R0.5 | 7% | 63% | -56% | 32 | R0.5 | 6% | 62% | -56%
372.0 | Leased Property on Custs. Prem. | 50 | R3.0 | 0% | 0% | 0% | 50 | R3.0 | 0% | 0% | 0%
373.0 | Street Lighting & Signal Sys. | 30 | S6.0 | 13% | 23% | -10% | 38 | R0.5 | 6% | 33% | -27%
GENERAL PLANT
390.0 | Structures & Improvements | 36 | S3.0 | 14% | 0% | 14% | 43 | S0.5 | 13% | 2% | 11%
391.0 | Office Furniture & Equipment | 25 | SQ | 1% | 0% | 1% | 15 | SQ | 0% | 0% | 0%
392.0 | Transportation Equipment | 15 | SQ | 1% | 0% | 1% | 15 | SQ | 0% | 0% | 0%
393.0 | Stores Equipment | 20 | SQ | 3% | 0% | 3% | 22 | SQ | 0% | 0% | 0%
394.0 | Tools Shop & Garage Equipment | 25 | SQ | 0% | 0% | 0% | 35 | SQ | 0% | 5% | -5%
396.0 | Power Operated Equipment | 15 | SQ | 5% | 0% | 5% | 15 | SQ | 0% | 0% | 0%
397.0 | Communication Equipment | 15 | SQ | 0% | 1% | -1% | 20 | SQ | 0% | 0% | 0%
397.16 | AMI Communication Equipment | 7 | SQ | 0% | 0% | 0% | 7 | SQ | 0% | 0% | 0%
398.0 | Miscellaneous Equipment | 28 | SQ | 0% | 0% | 0% | 20 | SQ | 0% | 0% | 0%
Notes:
(1) A useful life of 7 years was approved for AMI meters in Docket No. 36928 and TNC is using a rate of 14.29% (1 divided by 7) for AMI meters in account 370.16 and the related communication equipment in account 397.16.