## IV-J-4(a) TCD
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(a)
TEST YEAR ENDING 12/31/2018
Sum of Customer Unadjusted Non-Coincident Maximum Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 162308.4297 | 154671.5994 | 150124.0974 | 159525.189 | 151541.4248 | 175645.9449 | 174342.8042 | 167498.1155 | 214760.7948 | 198575.3641 | 195434.8586 | 161033.7181 | 2065462.3403
7 | PRIMARY IDR | PRI | 463081.0332 | 430507.5851 | 426164.8651 | 428601.4198 | 448380.2751 | 489016.8214 | 471244.4472 | 467390.3759 | 525441.2857 | 476200.2046 | 522474.9202 | 441841.3685 | 5590344.6017
9 | TRANSMISSION IDR | TRA | 1114646.0823 | 909053.3345 | 1067267.7946 | 1135613.3041 | 1160910.4772 | 1185445.099 | 730780.8825 | 741337.5032 | 910936.1466 | 627070.0063 | 1228493.3724 | 715170.0762 | 11526724.079
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 1740035.5453 | 1494232.519 | 1643556.7571 | 1723739.9129 | 1760832.1771 | 1850107.8652 | 1376368.1338 | 1376225.9947 | 1651138.2271 | 1301845.575 | 1946403.1512 | 1318045.1627 | 19182531.0211
Sum of Customer Unadjusted Non-Coincident Maximum Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 150847.0694 | 143749.5115 | 139523.13 | 148260.3663 | 140840.3732 | 163242.76 | 162031.6401 | 155670.2871 | 199595.5267 | 184553.0252 | 181634.2856 | 149662.3711 | 1919610.3462
7 | PRIMARY IDR | PRI | 442453.8354 | 411331.319 | 407182.0385 | 409510.0608 | 428407.8988 | 467234.3557 | 450253.6232 | 446571.2254 | 502036.351 | 454988.6344 | 499202.1175 | 422160.2573 | 5341331.717
9 | TRANSMISSION IDR | TRA | 1096110.8479 | 893936.8622 | 1049520.4046 | 1116729.4098 | 1141605.9211 | 1165732.5614 | 718628.8683 | 729009.945 | 895788.3653 | 616642.5803 | 1208064.9934 | 703277.6511 | 11335048.4104
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 1689411.7527 | 1449017.6927 | 1596225.573 | 1674499.8369 | 1710854.1932 | 1796209.6771 | 1330914.1317 | 1331251.4575 | 1597420.243 | 1256184.2399 | 1888901.3965 | 1275100.2795 | 18595990.4737
Rate Unadjusted Class Peak Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 114705.6883 | 121475.513 | 122122.8055 | 132002.486 | 123849.0529 | 143795.7369 | 140770.2463 | 141833.5151 | 172892.467 | 162495.8991 | 163768.8903 | 121575.5885 | 1661287.8888
7 | PRIMARY IDR | PRI | 337541.6664 | 346775.9443 | 338640.2088 | 339742.0322 | 364440.097 | 399928.4836 | 383487.5315 | 383836.4852 | 415909.1379 | 373470.9387 | 401316.1036 | 327769.5845 | 4412858.2137
9 | TRANSMISSION IDR | TRA | 828633.8268 | 675298.3393 | 859838.4233 | 859961.9717 | 925814.5635 | 886095.1392 | 579449.3723 | 632366.5445 | 732305.2345 | 437383.8334 | 979347.8223 | 555583.8372 | 8952078.9081
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 1280881.1815 | 1143549.7966 | 1320601.4375 | 1331706.49 | 1414103.7134 | 1429819.3597 | 1103707.15 | 1158036.5448 | 1321106.8395 | 973350.6712 | 1544432.8162 | 1004929.0101 | 15026225.0107
Rate Unadjusted Class Peak Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 106605.7811 | 112897.5566 | 113499.1408 | 122681.1707 | 115103.4897 | 133641.6447 | 130829.7982 | 131817.9846 | 160683.7181 | 151021.3007 | 152204.3999 | 112990.5653 | 1543976.5505
7 | PRIMARY IDR | PRI | 322506.4172 | 331329.3691 | 323556.0268 | 324608.7713 | 348206.7006 | 382114.3143 | 366405.6978 | 366739.108 | 397383.1361 | 356835.278 | 383440.125 | 313169.6169 | 4216294.5613
9 | TRANSMISSION IDR | TRA | 814854.6349 | 664068.9337 | 845540.3362 | 845661.8302 | 910419.3719 | 871360.4342 | 569813.8206 | 621851.0433 | 720127.8722 | 430110.6621 | 963062.4365 | 546345.1409 | 8803216.5168
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 1243966.8332 | 1108295.8594 | 1282595.5038 | 1292951.7722 | 1373729.5623 | 1387116.3932 | 1067049.3166 | 1120408.1359 | 1278194.7265 | 937967.2408 | 1498706.9615 | 972505.3231 | 14563487.6286
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(a)
TEST YEAR ENDING 12/31/2018
Sum of Customer Adjusted Non-Coincident Maximum Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 150544.3098 | 143801.5849 | 137597.2803 | 148182.9713 | 146349.6417 | 163797.1303 | 169178.7974 | 159393.3812 | 214903.0469 | 199248.1832 | 199803.0225 | 163703.0261 | 1996502.3757
7 | PRIMARY IDR | PRI | 415689.326 | 429669.3826 | 448457.8207 | 448202.9596 | 483653.0094 | 485304.7442 | 485792.2679 | 494243.3497 | 499107.8337 | 492727.0284 | 475681.3075 | 448415.7895 | 5606944.8192
9 | TRANSMISSION IDR | TRA | 885548.3828 | 960677.6155 | 1093308.9901 | 1194810.179 | 1147973.2744 | 1033475.3393 | 895986.6909 | 828457.4382 | 785914.3949 | 1071112.9672 | 919218.3499 | 1011842.9167 | 11828326.5389
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 1451782.0186 | 1534148.5831 | 1679364.091 | 1791196.1099 | 1777975.9255 | 1682577.2139 | 1550957.7562 | 1482094.1691 | 1499925.2756 | 1763088.1787 | 1594702.68 | 1623961.7323 | 19431773.7338
Sum of Customer Adjusted Non-Coincident Maximum Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 139913.6692 | 133647.0798 | 127880.8902 | 137719.0759 | 136015.2063 | 152230.6459 | 157232.2882 | 148137.8661 | 199727.7337 | 185178.3334 | 185693.9929 | 152143.1867 | 1855519.9685
7 | PRIMARY IDR | PRI | 397173.1154 | 410530.4529 | 428481.9903 | 428238.4816 | 462109.4661 | 463687.627 | 464153.4348 | 472228.0767 | 476875.8802 | 470779.2975 | 454492.8508 | 428441.8313 | 5357192.5046
9 | TRANSMISSION IDR | TRA | 870822.7697 | 944702.693 | 1075128.566 | 1174941.9112 | 1128883.8485 | 1016289.8775 | 881087.5012 | 814681.1795 | 772845.5763 | 1053301.6365 | 903932.8455 | 995017.1763 | 11631635.5812
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 1407909.5543 | 1488880.2257 | 1631491.4465 | 1740899.4688 | 1727008.5209 | 1632208.1504 | 1502473.2242 | 1435047.1224 | 1449449.1902 | 1709259.2674 | 1544119.6893 | 1575602.1943 | 18844348.0544
Rate Adjusted Class Peak Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 106391.8165 | 112938.4539 | 111932.5024 | 122617.1286 | 119606.0057 | 134095.4901 | 136600.6535 | 134970.6143 | 173006.9867 | 163046.4727 | 167429.2882 | 123590.8353 | 1606226.2477
7 | PRIMARY IDR | PRI | 302997.6564 | 346100.7682 | 356354.6938 | 355279.7012 | 393109.5088 | 396892.667 | 395326.2022 | 405889.0382 | 395065.09 | 386432.4795 | 365373.6506 | 332646.6635 | 4431468.1194
9 | TRANSMISSION IDR | TRA | 658321.3783 | 713647.8948 | 880818.3691 | 904789.7851 | 915497.2728 | 772500.958 | 710444.0443 | 706680.5135 | 631799.7452 | 747105.5718 | 732795.5604 | 786055.7775 | 9160456.8707
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 1067710.8513 | 1172687.1168 | 1349105.5653 | 1382686.6148 | 1428212.7873 | 1303489.1151 | 1242370.9 | 1247540.166 | 1199871.8219 | 1296584.524 | 1265598.4991 | 1242293.2762 | 15198151.2378
Rate Adjusted Class Peak Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 98878.9908 | 104963.3394 | 104028.4229 | 113958.5574 | 111160.0641 | 124626.3779 | 126954.6399 | 125439.7055 | 160790.151 | 151532.9957 | 155606.32 | 114863.5061 | 1492803.0704
7 | PRIMARY IDR | PRI | 289501.1145 | 330684.2676 | 340481.4487 | 339454.3399 | 375599.0797 | 379213.7233 | 377717.0341 | 387809.3656 | 377467.5527 | 369219.4679 | 349098.6705 | 317829.4543 | 4234075.5187
9 | TRANSMISSION IDR | TRA | 647374.2793 | 701780.7818 | 866171.4105 | 889744.2105 | 900273.6455 | 759655.1888 | 698630.2075 | 694929.2598 | 621293.6693 | 734682.0975 | 720610.0445 | 772984.6078 | 9008129.4025
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 1035754.3845 | 1137428.3887 | 1310681.282 | 1343157.1077 | 1387032.7892 | 1263495.2899 | 1203301.8815 | 1208178.3308 | 1159551.373 | 1255434.5611 | 1225315.035 | 1205677.5682 | 14735007.9917

## IV-J-4(b1) TCD
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
January 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 170876130.9496 | 1383399.3412 | 592320.7404 | 556386.3885
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 197308102.1659 | 1296237.8192 | 659110.5839 | 590745.3195
| RNH | 3 | Annual KWH | > 19580 | 71 | 227162687.8206 | 1208412.1499 | 686504.3958 | 668895.0507
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 146544686.3174 | 1154460.333 | 564635.8925 | 469764.0879
| RHT | 2 | Annual KWH | > 17169 | 51 | 164033813.9673 | 981538.0399 | 568330.3374 | 512315.1642
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4425653.4092 | 55148.1732 | 11227.5712 | 6877.9686
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 6235978.0817 | 45016.389 | 20412.1138 | 13234.445
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 6404312.0471 | 32533.2814 | 18035.8963 | 13463.7928
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 5757663.2301 | 24232.2395 | 12876.7999 | 11761.9345
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 6873012.0364 | 18411.3711 | 11823.8558 | 10883.0084
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 82692.9679 | 660.4333 | 218.7065 | 108.3579
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 101235.2521 | 450.2817 | 224.4732 | 169.8825
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 71242752.3633 | 394848.972 | 204689.1066 | 162359.9743
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 87750631.4916 | 434393.3597 | 238071.0733 | 182209.1079
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 137675055.6645 | 499137.9852 | 284217.807 | 253912.2406
| GSNIDR | 4 | Mean KW | > 108 | 109 | 196541799.357 | 595518.4044 | 382598.665 | 278407.4651
| CGS | 1 | Mean KW | 0 - 220 | 7 | 65042.3795 | 350.4832 | 341.6459 | 332.0591
| AGR | 1 | Mean KW | 0 - 755 | 134 | 1717796.6266 | 12187.8835 | 7015.232 | 5559.9903
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 601594.1934 | 5925.8858 | 1638.5521 | 233.1507
| IRIG | 2 | Mean KW | > 67 | 70 | 1294577.6428 | 9044.3059 | 3628.9107 | 1242.9565
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 5399911.2488 | 15034.4716 | 9619.2919 | 8911.852
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 6914338.4415 | 17199.0833 | 12379.0993 | 10869.2616
| AGR | 1 | Mean KW | 0 - 394 | 4 | 133217.5927 | 836.4739 | 840.0419 | 188.6224
Febuary 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 121213198.6291 | 1195803.8187 | 413148.2668 | 380622.558
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 129909625.6113 | 1088362.1394 | 424877.8211 | 396020.0412
| RNH | 3 | Annual KWH | > 19580 | 71 | 147576600.1302 | 1020642.8057 | 514156.8689 | 444407.9916
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 87259274.1774 | 887943.857 | 340037.9407 | 289936.1165
| RHT | 2 | Annual KWH | > 17169 | 51 | 105759379.4517 | 792888.6967 | 379676.9061 | 362749.6433
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 3583387.5654 | 40797.531 | 12055.0427 | 3708.869
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 4297826.9284 | 37353.4559 | 12890.9835 | 8119.323
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 5048381.1503 | 32067.9195 | 16259.6553 | 10377.1823
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 5129589.571 | 23052.4952 | 12131.691 | 6658.8071
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 6377002.2047 | 18631.0001 | 12256.5929 | 10087.8134
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 71298.2639 | 698.2753 | 192.7416 | 134.9742
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 86629.2797 | 388.9813 | 198.6693 | 135.1825
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 54358762.9296 | 338622.1487 | 155707.4439 | 103229.0765
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 75571888.2462 | 363391.7956 | 200280.5702 | 157644.3747
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 125161880.5801 | 456072.1252 | 282001.8028 | 192797.8788
| GSNIDR | 4 | Mean KW | > 108 | 109 | 183227834.9945 | 590743.3944 | 441150.0929 | 326020.432
| CGS | 1 | Mean KW | 0 - 220 | 7 | 7466.6922 | 154.7932 | 140.2515 | 22.5424
| AGR | 1 | Mean KW | 0 - 755 | 134 | 1412544.6779 | 8377.7274 | 4388.3395 | 2070.3571
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 654497.4402 | 6725.5283 | 1944.9566 | 745.9046
| IRIG | 2 | Mean KW | > 67 | 70 | 1627424.7219 | 9747.8117 | 4043.3964 | 2130.1168
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 4859547.951 | 13405.5071 | 8987.5401 | 8873.4568
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 6356036.3808 | 16720.8268 | 12191.0718 | 11276.8304
| AGR | 1 | Mean KW | 0 - 394 | 4 | 291520.3624 | 1193.477 | 1100.1998 | 379.5549
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
March 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 125055344.003 | 1003907.4362 | 340488.448 | 258113.2353
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 134427678.2763 | 899899.1649 | 388309.2885 | 341477.8676
| RNH | 3 | Annual KWH | > 19580 | 71 | 155173997.0197 | 845571.7672 | 430012.2172 | 340765.751
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 92337379.7791 | 676502.0567 | 265164.2641 | 210862.2202
| RHT | 2 | Annual KWH | > 17169 | 51 | 111901528.3541 | 646348.5095 | 316785.6394 | 262539.2983
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4493401.429 | 53727.2832 | 11660.9246 | 6444.2647
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 4496184.5805 | 30738.8797 | 12029.5497 | 10214.5479
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 5159633.7167 | 27724.2973 | 13385.2538 | 13184.2517
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 5933792.2272 | 22301.6112 | 12881.1674 | 12457.9769
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 7515262.4715 | 19340.4773 | 12696.082 | 11858.2192
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 76278.8761 | 671.1095 | 180.2831 | 117.5271
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 97746.493 | 411.2165 | 196.2386 | 153.8206
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 60077890.0043 | 275822.3562 | 149978.5332 | 143586.6881
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 85587157.5818 | 343731.1948 | 200190.6604 | 182725.9952
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 144955342.5025 | 449081.1985 | 285208.5537 | 265725.8287
| GSNIDR | 4 | Mean KW | > 108 | 109 | 209241604.205 | 592651.2476 | 448067.1938 | 416065.5541
| CGS | 1 | Mean KW | 0 - 220 | 7 | 10483.0233 | 43.4286 | 35.952 | 12.6549
| AGR | 1 | Mean KW | 0 - 755 | 134 | 1579530.5462 | 7337.1795 | 3925.3348 | 2740.3765
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 1569260.8609 | 9399.1925 | 3447.2674 | 2953.6759
| IRIG | 2 | Mean KW | > 67 | 70 | 2631063.15 | 11691.2776 | 6265.9039 | 4469.0115
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 5386929.6303 | 13566.9033 | 9488.0679 | 9264.7472
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 7123810.2948 | 16466.628 | 12581.2408 | 12493.2016
| AGR | 1 | Mean KW | 0 - 394 | 4 | 407862.9434 | 1975.6859 | 1938.9467 | 1198.962
April 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 122511345.7442 | 940457.2306 | 367522.0127 | 323908.4529
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 136027567.4734 | 910338.253 | 396479.319 | 364827.5102
| RNH | 3 | Annual KWH | > 19580 | 71 | 158178943.0773 | 857462.9304 | 402225.9164 | 400100.3919
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 98027624.0226 | 684074.4171 | 270747.8452 | 247782.7185
| RHT | 2 | Annual KWH | > 17169 | 51 | 112869511.6777 | 652089.5858 | 320095.6067 | 300983.1019
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4113029.4032 | 53368.9216 | 11398.2812 | 6929.4785
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 4553322.9655 | 32201.7483 | 12930.3562 | 12630.6547
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 5077678.9904 | 27358.4744 | 16693.7438 | 15527.6186
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 5958474.0143 | 23544.6003 | 14155.738 | 14063.8491
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 7269787.2295 | 19204.3662 | 13070.9138 | 12590.8367
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 65813.0878 | 523.0722 | 164.3723 | 97.8687
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 99494.2728 | 386.3809 | 207.0912 | 143.2823
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 57813601.265 | 264932.3143 | 151345.0015 | 146867.7234
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 82769275.9069 | 334995.6039 | 218947.2502 | 206562.6389
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 140488137.2897 | 444960.0351 | 302271.9821 | 295566.4891
| GSNIDR | 4 | Mean KW | > 108 | 109 | 209133625.9696 | 606551.8384 | 464941.3106 | 417930.0775
| CGS | 1 | Mean KW | 0 - 220 | 7 | 7423.9503 | 23.6944 | 17.1364 | 13.7292
| AGR | 1 | Mean KW | 0 - 755 | 134 | 1637089.0071 | 8565.3647 | 3990.8929 | 3140.8263
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 1896345.3034 | 10721.9204 | 3934.3758 | 2465.3115
| IRIG | 2 | Mean KW | > 67 | 70 | 3188950.0283 | 12204.8944 | 6841.2696 | 3433.0108
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 5284055.7099 | 14010.8205 | 9789.9964 | 9744.7771
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 6932866.4892 | 16892.114 | 13090.9989 | 11963.5346
| AGR | 1 | Mean KW | 0 - 394 | 4 | 444271.8082 | 1254.7141 | 1194.947 | 469.6949
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
May 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 192297109.4778 | 987407.1864 | 492841.7621 | 399940.8497
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 221564107.4216 | 994558.1698 | 536290.5259 | 478106.0978
| RNH | 3 | Annual KWH | > 19580 | 71 | 241869701.1004 | 941185.3583 | 540402.5117 | 519560.7023
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 146814793.5455 | 718437.8446 | 368195.9118 | 309778.0029
| RHT | 2 | Annual KWH | > 17169 | 51 | 165714633.0998 | 659883.1319 | 402388.0459 | 373822.6156
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 5016050.6536 | 54314.935 | 13884.8453 | 8027.1774
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 6248358.6763 | 36264.5495 | 17599.5191 | 15545.4444
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 7138652.6559 | 29570.7956 | 20180.6713 | 18168.3914
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 7307267.4258 | 24573.1938 | 16092.5195 | 15447.4375
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 8406691.1914 | 20388.4114 | 14899.3002 | 14017.1117
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 65574.6905 | 669.8137 | 203.4966 | 104.5959
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 106087.85 | 409.4444 | 216.0469 | 163.5569
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 77499325.8756 | 302060.0287 | 186992.3109 | 181727.5557
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 114549349.9665 | 425020.5024 | 275558.4505 | 246105.1046
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 174620779.2537 | 485093.8657 | 338686.9081 | 321041.4978
| GSNIDR | 4 | Mean KW | > 108 | 109 | 250290278.6421 | 659210.6434 | 515960.8445 | 468573.9026
| CGS | 1 | Mean KW | 0 - 220 | 7 | 8552.6412 | 36.463 | 28.2534 | 17.0525
| AGR | 1 | Mean KW | 0 - 755 | 134 | 2333579.8221 | 9601.0092 | 5002.2921 | 4155.0256
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 2688978.5861 | 12458.3983 | 5840.1804 | 5092.1562
| IRIG | 2 | Mean KW | > 67 | 70 | 3941657.9159 | 13554.6522 | 9044.2544 | 7533.0299
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 6323284.0707 | 15810.5265 | 11155.2311 | 10299.8889
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 7997894.7636 | 17741.8122 | 13899.9072 | 12634.613
| AGR | 1 | Mean KW | 0 - 394 | 4 | 405001.7845 | 1192.6731 | 1176.4986 | 900.8272
June 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 215396663.1265 | 1030181.8284 | 492053.625 | 407006.2901
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 250504867.3528 | 1013508.2626 | 576330.8153 | 519173.6351
| RNH | 3 | Annual KWH | > 19580 | 71 | 272586138.6148 | 935396.3596 | 581691.8665 | 518627.9721
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 158400941.0629 | 742630.9009 | 356861.6321 | 333232.2798
| RHT | 2 | Annual KWH | > 17169 | 51 | 185909100.7543 | 665341.9665 | 407017.2519 | 385466.1789
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4881754.4474 | 56440.221 | 12548.4799 | 8191.4153
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 6517368.4738 | 36989.7263 | 18571.393 | 18571.393
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 7934143.1289 | 30295.8403 | 21093.8568 | 20915.359
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 8059956.7832 | 25250.1631 | 17625.0478 | 16413.0217
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 8915473.5335 | 20975.3886 | 15496.8457 | 15038.517
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 91717.3722 | 1335.6215 | 722.2001 | 92.3695
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 113160.1176 | 556.3401 | 359.1141 | 145.5894
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 80385000.8237 | 313235.5624 | 190200.2997 | 190141.9491
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 120226270.4256 | 399120.0862 | 262329.6179 | 261751.602
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 178827565.4276 | 480810.8447 | 348635.2375 | 337949.1764
| GSNIDR | 4 | Mean KW | > 108 | 109 | 243669134.3184 | 654993.3821 | 505368.079 | 466479.91
| CGS | 1 | Mean KW | 0 - 220 | 7 | 17418.519 | 126.4362 | 93.4552 | 16.7479
| AGR | 1 | Mean KW | 0 - 755 | 134 | 2647677.7883 | 11390.8391 | 5854.8652 | 4400.9667
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 2657436.3251 | 12046.3293 | 6189.911 | 5922.6588
| IRIG | 2 | Mean KW | > 67 | 70 | 3683815.1668 | 13441.2096 | 9141.6058 | 8085.9357
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 6281065.112 | 16217.6875 | 11287.1868 | 11052.3339
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 8156686.8717 | 17717.1282 | 14142.2538 | 13263.4517
| AGR | 1 | Mean KW | 0 - 394 | 4 | 387607.1686 | 1221.2174 | 1209.582 | 994.0712
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
July 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 237212376.2338 | 1067512.1854 | 522776.0814 | 506021.7168
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 271555011.0423 | 1018481.0801 | 581423.1871 | 550216.448
| RNH | 3 | Annual KWH | > 19580 | 71 | 284549567.5505 | 946169.4295 | 603978.1991 | 582124.4733
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 163848101.242 | 706880.9034 | 363585.5912 | 332342.5781
| RHT | 2 | Annual KWH | > 17169 | 51 | 199430365.6217 | 683730.9289 | 416979.5277 | 416979.5277
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4740743.0699 | 43239.198 | 11518.8283 | 5422.3619
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 6920901.9109 | 36178.467 | 19961.8808 | 15767.7243
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 7506308.9548 | 29790.7523 | 19519.7584 | 19128.1809
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 8862783.443 | 25826.0956 | 18174.1804 | 17739.3203
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 9261754.3844 | 21271.5099 | 15536.876 | 14467.9498
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 75562.9748 | 759.4935 | 194.737 | 92.944
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 109403.7033 | 471.1693 | 213.5391 | 151.6559
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 86276624.667 | 304469.3759 | 190180.9937 | 188498.3422
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 127099602.8109 | 405680.9399 | 279720.8616 | 276215.0903
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 188248462.6971 | 491740.3437 | 350905.9049 | 344932.8438
| GSNIDR | 4 | Mean KW | > 108 | 109 | 251739188.2272 | 633660.3909 | 494658.2216 | 467932.7214
| CGS | 1 | Mean KW | 0 - 220 | 7 | 46607.8715 | 298.1882 | 225.9521 | 22.9541
| AGR | 1 | Mean KW | 0 - 755 | 134 | 4201029.659 | 16517.7314 | 9372.0943 | 7426.2864
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 2189317.6065 | 10412.5543 | 4718.8014 | 3336.5945
| IRIG | 2 | Mean KW | > 67 | 70 | 2774795.0108 | 11075.5808 | 7322.5652 | 4463.9363
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 6630411.2916 | 16543.378 | 11899.8401 | 10751.1366
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 8302717.2715 | 19325.9757 | 14501.3002 | 13041.7511
| AGR | 1 | Mean KW | 0 - 394 | 4 | 252483.7842 | 1235.1358 | 1204.9293 | 1144.2026
August 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 236286531.5697 | 1015357.5037 | 509287.4232 | 414796.3401
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 271017969.4378 | 1022020.3308 | 591594.6105 | 517909.8219
| RNH | 3 | Annual KWH | > 19580 | 71 | 285863273.7435 | 957776.5006 | 592153.8048 | 491163.6953
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 164240306.3669 | 697884.6332 | 369340.7993 | 295357.0896
| RHT | 2 | Annual KWH | > 17169 | 51 | 197312061.8371 | 669512.6005 | 409258.3391 | 350697.3589
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4514478.225 | 47577.5826 | 14053.8184 | 5549.0253
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 7201405.3961 | 37105.8596 | 19089.8947 | 16789.5611
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 7908990.7058 | 28382.0915 | 19838.7087 | 18269.2238
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 8785292.5033 | 25478.705 | 17357.8943 | 16776.5511
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 9400572.4392 | 20730.4493 | 15860.0422 | 14913.0305
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 66241.9859 | 566.3865 | 159.7589 | 91.2173
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 104689.7211 | 409.0611 | 213.3598 | 138.7909
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 86947859.4846 | 315672.5574 | 196201.4955 | 190955.4515
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 130909593.5819 | 447756.6298 | 297976.4232 | 270571.1593
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 191846006.0013 | 500683.83 | 360282.2232 | 344322.1912
| GSNIDR | 4 | Mean KW | > 108 | 109 | 267353629.5134 | 678467.361 | 549033.4282 | 543442.4843
| CGS | 1 | Mean KW | 0 - 220 | 7 | 656451.7635 | 1505.6518 | 1469.8311 | 866.618
| AGR | 1 | Mean KW | 0 - 755 | 134 | 7373561.0591 | 18846.5933 | 12635.6772 | 10586.277
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 1859360.2093 | 10616.5038 | 4162.1707 | 2641.4854
| IRIG | 2 | Mean KW | > 67 | 70 | 4106439.0313 | 12135.8925 | 7051.3548 | 6254.5455
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 6771124.8524 | 16369.9386 | 11544.7069 | 11076.7404
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 8401338.4403 | 18634.5208 | 14640.2866 | 13501.2226
| AGR | 1 | Mean KW | 0 - 394 | 4 | 604737.0058 | 1251.7298 | 1221.9395 | 1006.1814
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
September 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 189994611.7028 | 984900.2187 | 486443.3597 | 472153.6604
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 215563304.674 | 968843.124 | 551926.2189 | 526851.354
| RNH | 3 | Annual KWH | > 19580 | 71 | 232989893.6077 | 906523.6352 | 576223.8506 | 537050.8513
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 131114857.1664 | 667631.4798 | 323790.9373 | 300671.4259
| RHT | 2 | Annual KWH | > 17169 | 51 | 156611832.7256 | 633415.1375 | 396695.895 | 373922.7051
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4355343.901 | 44037.4015 | 9537.9838 | 4341.8313
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 5859550.1543 | 33309.6743 | 16569.2858 | 10862.2874
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 6598169.7947 | 28840.4939 | 18252.9556 | 12493.2168
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 7597697.6419 | 24482.8612 | 16634.6743 | 13288.1674
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 8372672.8094 | 20577.4647 | 14907.3033 | 13717.3065
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 112876.8919 | 1242.4064 | 405.5738 | 85.187
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 123529.244 | 565.0449 | 301.0766 | 196.4449
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 75305446.7187 | 311423.203 | 182833.0819 | 143559.7841
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 105762075.7788 | 382727.9699 | 248595.6035 | 197682.1207
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 167496533.7946 | 481897.5281 | 337619.0255 | 303119.7832
| GSNIDR | 4 | Mean KW | > 108 | 109 | 239594966.5861 | 651669.8702 | 517062.4759 | 328680.5752
| CGS | 1 | Mean KW | 0 - 220 | 7 | 384952.5202 | 1557.289 | 1477.4535 | 824.0853
| AGR | 1 | Mean KW | 0 - 755 | 134 | 4120187.3503 | 15625.5355 | 8508.6692 | 7723.9281
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 500214.2095 | 5663.0015 | 1965.6063 | 1475.3631
| IRIG | 2 | Mean KW | > 67 | 70 | 1170966.2967 | 9846.7171 | 4784.442 | 3672.8784
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 6097014.0471 | 14889.6241 | 11075.1826 | 9991.346
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 8082294.9553 | 19474.9319 | 14939.4338 | 11672.8229
| AGR | 1 | Mean KW | 0 - 394 | 4 | 232483.2106 | 1264.4068 | 1220.3582 | 244.0782
October 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 149291634.494 | 998476.3319 | 407793.4346 | 340465.6179
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 168517633.8538 | 970166.2663 | 515893.1553 | 416207.6643
| RNH | 3 | Annual KWH | > 19580 | 71 | 187064440.0548 | 917162.9658 | 507094.2928 | 454626.3463
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 104824522.4227 | 703644.9598 | 288153.5299 | 258452.7725
| RHT | 2 | Annual KWH | > 17169 | 51 | 127454968.5229 | 630057.5703 | 335390.2778 | 291976.8021
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4683162.5627 | 42064.0852 | 10971.4301 | 8341.7193
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 5385884.038 | 35241.5647 | 15990.9497 | 13503.8889
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 5619028.5373 | 28658.8892 | 17955.7004 | 15141.2801
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 6775490.3288 | 24737.2604 | 16211.1937 | 14724.7975
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 7942092.6714 | 20177.7958 | 14583.7151 | 13312.03
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 93099.3776 | 951.2543 | 290.3301 | 119.2521
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 113181.0562 | 520.5921 | 234.7303 | 161.6831
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 65477485.6098 | 292804.1311 | 172969.5478 | 162451.9347
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 93822619.3396 | 362825.5341 | 237925.9924 | 224936.0524
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 152064932.5439 | 464905.5634 | 319191.3625 | 296988.6286
| GSNIDR | 4 | Mean KW | > 108 | 109 | 229917402.1819 | 658562.308 | 504254.4347 | 451525.6814
| CGS | 1 | Mean KW | 0 - 220 | 7 | 317694.5557 | 928.2278 | 912.6377 | 341.9934
| AGR | 1 | Mean KW | 0 - 755 | 134 | 3687034.9759 | 15356.3684 | 8226.0042 | 5962.1299
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 303073.1804 | 2939.0175 | 827.7866 | 404.3731
| IRIG | 2 | Mean KW | > 67 | 70 | 657023.7385 | 6695.9138 | 1952.3128 | 1001.8436
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 5740424.0837 | 14604.6644 | 10898.4476 | 10204.0339
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 8145942.8912 | 19806.2208 | 14881.6103 | 14459.3235
| AGR | 1 | Mean KW | 0 - 394 | 4 | 116701.2429 | 789.1424 | 745.8023 | 227.6601
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
November 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 126520192.1355 | 1202618.8957 | 472862.3882 | 395086.9577
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 143706730.9145 | 1138887.9214 | 470641.5009 | 402665.1841
| RNH | 3 | Annual KWH | > 19580 | 71 | 164241005.3034 | 1056786.7362 | 535392.1087 | 526532.4225
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 93626609.0135 | 847276.0457 | 330663.4452 | 330663.4452
| RHT | 2 | Annual KWH | > 17169 | 51 | 111259777.096 | 777406.2285 | 442511.2485 | 442511.2485
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 3940079.5669 | 42457.5959 | 10054.4158 | 3856.6984
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 4491679.9517 | 39778.8652 | 16268.0525 | 7231.6408
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 4861896.3374 | 30396.5293 | 14809.3496 | 9495.4485
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 5662210.1267 | 24396.5212 | 15468.8998 | 7858.3276
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 7025575.6673 | 19545.3723 | 13420.6815 | 8599.2021
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 77933.4852 | 711.0113 | 300.0386 | 146.0444
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 105472.0179 | 464.088 | 225.0244 | 161.1101
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 55610250.8998 | 339568.3988 | 165224.2133 | 109165.4457
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 77452086.0733 | 387169.0081 | 223693.9706 | 162495.5214
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 126888605.7386 | 463898.751 | 306490.4908 | 221402.821
| GSNIDR | 4 | Mean KW | > 108 | 109 | 190830514.7234 | 630767.7881 | 477769.6341 | 344863.7487
| CGS | 1 | Mean KW | 0 - 220 | 7 | 147217.2186 | 969.9878 | 819.0776 | 250.0778
| AGR | 1 | Mean KW | 0 - 755 | 134 | 3972272.3597 | 16783.7846 | 10353.4581 | 8654.3766
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 363663.7655 | 4327.0205 | 1040.5292 | 382.4583
| IRIG | 2 | Mean KW | > 67 | 70 | 767028.3277 | 7132.3379 | 2910.9692 | 1431.3225
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 4909235.7232 | 13341.6328 | 10195.5356 | 8239.0678
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 7102522.4587 | 19609.0214 | 13561.2544 | 11033.9963
| AGR | 1 | Mean KW | 0 - 394 | 4 | 113341.09 | 849.1639 | 855.2627 | 189.0063
December 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RNH | 1 | Annual KWH | 0 - 13134 | 72 | 130574167.6084 | 1164524.0585 | 338263.6648 | 298088.5267
| RNH | 2 | Annual KWH | 13134 - 19580 | 80 | 145867285.0532 | 1095635.2572 | 382175.6383 | 354243.8733
| RNH | 3 | Annual KWH | > 19580 | 71 | 169497332.1542 | 996723.6942 | 446347.6368 | 430221.1576
| RHT | 1 | Annual KWH | 0 - 17169 | 48 | 99217400.8283 | 889893.9429 | 273818.0323 | 273818.0323
| RHT | 2 | Annual KWH | > 17169 | 51 | 115192234.2012 | 787232.2389 | 342994.3806 | 321880.2211
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 4673 | 88 | 4875005.8129 | 43294.2689 | 12403.8865 | 5468.0501
<= 10 kW | GSLT10 | 2 | Annual KWH | 4673 - 8813 | 53 | 4424517.2738 | 33603.412 | 10682.7842 | 5326.8495
| GSLT10 | 3 | Annual KWH | 8813 - 14073 | 44 | 4788442.2794 | 29480.7698 | 11355.2295 | 7926.9276
| GSLT10 | 4 | Annual KWH | 14073 - 23990 | 52 | 5658050.5718 | 22206.7353 | 9852.7061 | 7540.9475
| GSLT10 | 5 | Annual KWH | > 458017 | 39 | 7293544.9415 | 18109.1801 | 11988.8903 | 9562.6268
| CGSLT10 | 1 | Annual KWH | 0 - 7379 | 89 | 74932.8482 | 827.3123 | 294.8187 | 100.6569
| CGSLT10 | 2 | Annual KWH | > 7379 | 45 | 110380.1208 | 477.5085 | 249.9232 | 154.5716
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 138 | 54366444.2334 | 291921.4762 | 117849.312 | 93981.0771
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 73 | 74775403.9589 | 342351.2525 | 158147.6685 | 122966.817
| GSNIDR | 3 | Mean KW | 41 - 108 | 91 | 119069931.9192 | 406628.6539 | 235603.5561 | 188815.3999
| GSNIDR | 4 | Mean KW | > 108 | 109 | 186817087.367 | 570600.8343 | 390986.1273 | 332533.8009
| CGS | 1 | Mean KW | 0 - 220 | 7 | 14179.5215 | 701.532 | 587.424 | 11.1514
| AGR | 1 | Mean KW | 0 - 755 | 134 | 2921935.2611 | 13187.4744 | 7178.033 | 5302.2024
| IRIG | 1 | Mean KW | 0 - 67 | 252 | 455179.9929 | 4489.9559 | 1231.9749 | 654.7912
| IRIG | 2 | Mean KW | > 67 | 70 | 849595.3541 | 7759.0756 | 2873.3855 | 1742.2865
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 331 | 118 | 4840585.2417 | 12310.3662 | 7713.7565 | 7320.7691
NON-IDR | GSPNIDR | 2 | Mean KW | > 331 | 34 | 7239843.9131 | 17595.9024 | 13024.972 | 11247.7599
| AGR | 1 | Mean KW | 0 - 394 | 4 | 147934.3053 | 1296.6623 | 1119.2468 | 187.7114

## IV-J-4(b2) TCD
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
RESIDENTIAL SERVICE Sector: RNH
Stratum 1 |  |  | Stratum 2 |  |  | Stratum 3
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 2455 | 2455 | 13500 | 9651 | 9651 | 20000 | 6442 | 6442
1000 | 15352 | 12897 | 14000 | 22969 | 13318 | 22000 | 32188 | 25746
2000 | 25714 | 10362 | 14500 | 35941 | 12972 | 24000 | 50880 | 18692
3000 | 37082 | 11368 | 15000 | 48398 | 12457 | 26000 | 64268 | 13388
4000 | 50353 | 13271 | 15500 | 60527 | 12129 | 28000 | 73873 | 9605
5000 | 66545 | 16192 | 16000 | 72474 | 11947 | 30000 | 80469 | 6596
6000 | 85324 | 18779 | 16500 | 83756 | 11282 | 32000 | 84999 | 4530
7000 | 106505 | 21181 | 17000 | 94619 | 10863 | 34000 | 88164 | 3165
8000 | 129401 | 22896 | 17500 | 105133 | 10514 | 36000 | 90439 | 2275
9000 | 154218 | 24817 | 18000 | 114839 | 9706 | 38000 | 92077 | 1638
10000 | 180188 | 25970 | 18500 | 124122 | 9283 | 40000 | 93247 | 1170
11000 | 206866 | 26678 | 19000 | 132830 | 8708 | 42000 | 94163 | 916
12000 | 234027 | 27161 | 19500 | 140947 | 8117 | 44000 | 94819 | 656
13000 | 260910 | 26883 | 19580 | 142221 | 1274 | 46000 | 95333 | 514
13134 | 264581 | 3671 |  |  |  | 48000 | 95719 | 386
[6 empty] | 50000 | 96053 | 334
[6 empty] | 100000 | 97380 | 1327
[6 empty] | 150000 | 97450 | 70
[6 empty] | 200000 | 97460 | 10
[6 empty] | 250000 | 97462 | 2
[6 empty] | 825011 | 97466 | 4
RESIDENTIAL Sector: RHT
Stratum 1 |  |  | Stratum 2
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 461 | 461 | 18000 | 7606 | 7606
1250 | 4075 | 3614 | 21000 | 29911 | 22305
2500 | 7918 | 3843 | 24000 | 45359 | 15448
3750 | 13496 | 5578 | 27000 | 55118 | 9759
5000 | 21614 | 8118 | 30000 | 61272 | 6154
6250 | 32033 | 10419 | 33000 | 64991 | 3719
7500 | 44018 | 11985 | 36000 | 67339 | 2348
8750 | 57178 | 13160 | 39000 | 68830 | 1491
10000 | 70949 | 13771 | 42000 | 69804 | 974
11250 | 84985 | 14036 | 45000 | 70469 | 665
12500 | 99187 | 14202 | 48000 | 70913 | 444
13750 | 113107 | 13920 | 51000 | 71220 | 307
15000 | 126673 | 13566 | 54000 | 71469 | 249
16250 | 139631 | 12958 | 57000 | 71632 | 163
17169 | 148499 | 8868 | 60000 | 71740 | 108
|  |  | 70000 | 71947 | 207
|  |  | 80000 | 72047 | 100
|  |  | 90000 | 72086 | 39
|  |  | 100000 | 72108 | 22
|  |  | 110000 | 72125 | 17
|  |  | 120000 | 72134 | 9
|  |  | 130000 | 72143 | 9
|  |  | 140000 | 72147 | 4
|  |  | 150000 | 72149 | 2
|  |  | 306406 | 72158 | 9
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
SECONDARY <= 10 kW Sector: GSLT10
Stratum 1 |  |  | Stratum 2 |  |  | Stratum 3
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 3225 | 3225 | 4750 | 260 | 260 | 9000 | 295 | 295
250 | 9343 | 6118 | 5000 | 1100 | 840 | 9500 | 1154 | 859
500 | 12822 | 3479 | 5250 | 1888 | 788 | 10000 | 2001 | 847
750 | 15552 | 2730 | 5500 | 2634 | 746 | 10500 | 2734 | 733
1000 | 17883 | 2331 | 5750 | 3399 | 765 | 11000 | 3380 | 646
1250 | 19895 | 2012 | 6000 | 4068 | 669 | 11500 | 4002 | 622
1500 | 21740 | 1845 | 6250 | 4709 | 641 | 12000 | 4632 | 630
1750 | 23370 | 1630 | 6500 | 5322 | 613 | 12500 | 5165 | 533
2000 | 24927 | 1557 | 6750 | 5917 | 595 | 13000 | 5695 | 530
2250 | 26353 | 1426 | 7000 | 6513 | 596 | 13500 | 6177 | 482
2500 | 27709 | 1356 | 7250 | 7072 | 559 | 14000 | 6602 | 425
2750 | 29023 | 1314 | 7500 | 7641 | 569 | 14073 | 6663 | 61
3000 | 30229 | 1206 | 7750 | 8166 | 525
3250 | 31373 | 1144 | 8000 | 8704 | 538
3500 | 32403 | 1030 | 8250 | 9203 | 499
3750 | 33411 | 1008 | 8500 | 9684 | 481
4000 | 34339 | 928 | 8750 | 10113 | 429
4250 | 35231 | 892 | 8813 | 10222 | 109
4500 | 36126 | 895
4673 | 36687 | 561
Stratum 4 |  |  | Stratum 5
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
15000 | 711 | 711 | 25000 | 257 | 257
16000 | 1425 | 714 | 30000 | 1178 | 921
17000 | 2063 | 638 | 35000 | 1709 | 531
18000 | 2581 | 518 | 40000 | 2033 | 324
19000 | 3060 | 479 | 45000 | 2250 | 217
20000 | 3443 | 383 | 50000 | 2405 | 155
21000 | 3760 | 317 | 55000 | 2478 | 73
22000 | 4059 | 299 | 60000 | 2536 | 58
23000 | 4340 | 281 | 80000 | 2621 | 85
23990 | 4551 | 211 | 458017 | 2645 | 24
SECONDARY <= 10 kW Sector: CGSLT10
Stratum 1 |  |  | Stratum 2
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 25 | 25 | 8000 | 12 | 12
500 | 77 | 52 | 10000 | 43 | 31
1000 | 132 | 55 | 12000 | 57 | 14
1500 | 172 | 40 | 14000 | 72 | 15
2000 | 206 | 34 | 16000 | 84 | 12
2500 | 243 | 37 | 18000 | 89 | 5
3000 | 277 | 34 | 20000 | 90 | 1
3500 | 297 | 20 | 22000 | 93 | 3
4000 | 316 | 19 | 24000 | 95 | 2
4500 | 337 | 21 | 41655 | 100 | 5
5000 | 352 | 15
5500 | 367 | 15
6000 | 375 | 8
6500 | 389 | 14
7000 | 398 | 9
7379 | 405 | 7
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
SECONDARY > 10 kW NON-IDR Sector: GSNIDR
Stratum 1 |  |  | Stratum 2 |  |  | Stratum 3
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 34 | 34 | 20 | 1399 | 1399 | 50 | 2278 | 2278
10 | 11468 | 11434 | 30 | 10202 | 8803 | 60 | 4026 | 1748
19 | 32264 | 20796 | 40 | 14639 | 4437 | 70 | 5227 | 1201
|  |  | 41 | 14956 | 317 | 80 | 6150 | 923
[6 empty] | 90 | 6867 | 717
[6 empty] | 100 | 7442 | 575
[6 empty] | 108 | 7819 | 377
Stratum 4
Annual KWH | Cum Count | Count
120 | 427 | 427
140 | 961 | 534
160 | 1348 | 387
180 | 1633 | 285
200 | 1883 | 250
220 | 2055 | 172
240 | 2180 | 125
260 | 2297 | 117
280 | 2400 | 103
300 | 2483 | 83
400 | 2821 | 338
500 | 2972 | 151
600 | 3025 | 53
700 | 3038 | 13
815 | 3045 | 7
SECONDARY > 10 kW NON-IDR Sector: CGS
Stratum 1
Annual KWH | Cum Count | Count
20 | 4 | 4
120 | 5 | 1
160 | 6 | 1
220 | 7 | 1
SECONDARY > 10 kW NON-IDR Sector: AGR
Stratum 1
Annual KWH | Cum Count | Count
50 | 87 | 87
100 | 130 | 43
150 | 149 | 19
200 | 158 | 9
250 | 162 | 4
300 | 164 | 2
350 | 165 | 1
400 | 166 | 1
500 | 169 | 3
600 | 171 | 2
755 | 172 | 1
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
SECONDARY > 10 kW NON-IDR Sector: IRIG
Stratum 1 |  |  | Stratum 2
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 4 | 4 | 100 | 48 | 48
10 | 87 | 83 | 150 | 68 | 20
20 | 177 | 90 | 200 | 74 | 6
30 | 219 | 42 | 250 | 78 | 4
40 | 262 | 43 | 300 | 81 | 3
50 | 295 | 33 | 400 | 82 | 1
60 | 317 | 22 | 500 | 83 | 1
67 | 329 | 12 | 543 | 84 | 1
PRIMARY NON-IDR Sector: GSPNIDR
Stratum 1 |  |  | Stratum 2
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 7 | 7 | 400 | 17 | 17
50 | 68 | 61 | 500 | 36 | 19
100 | 91 | 23 | 600 | 39 | 3
150 | 112 | 21 | 700 | 40 | 1
200 | 122 | 10 | 800 | 41 | 1
250 | 137 | 15 | 1018 | 42 | 1
300 | 149 | 12
331 | 154 | 5
PRIMARY NON-IDR Sector: AGR
Stratum 1
Annual KWH | Cum Count | Count
100 | 3 | 3
200 | 5 | 2
300 | 6 | 1
394 | 7 | 1
Method by Which Contributions Were Obtained
The contributions to rate class and system peak demand were obtained using the Kema Load Research Analysis System. The Kema Load Research System uses a ratio estimation approach consistent with Association of Edison Illuminating Companies (AEIC) standards to optimally stratify the population and sample, calculate the stratum average demands per customer for each hour, and combine the strata through a weighted average methodology to arrive at class hourly values.

## IV-J-4(c) TCD
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS CENTRAL DIVISION
SCHEDULE IV-J-4(c)
TEST YEAR ENDING 12/31/2018
Description of Methodology to Develop Demand Estimates
LINE | DESCRIPTION | RATE | VOLT | DEMAND ESTIMATE METHODOLOGY
10 | LIGHTING |  | SEC | Class load shapes were developed using AEP's Customer Load Aggregation System. This system employs the same aggregation method used by ERCOT for aggregation and market settlement of these customers. Each customer was assigned a load profile ID based on ERCOT protocols. The metered kWh for each monthly billing cycle for each premise were allocated to each 15-minute interval using backcast load profiles provided by ERCOT. The 15-minute load profiles for all customers in the class were then added together to obtain the total class load shape. Coincident peak and class peak demands were taken directly from the resulting class profile. For demand values at the source, losses were added to metered demands based on the 1998 system loss study performed by AEP-TCC.
Adjusted demands for lighting were based on billed kWh for the calendar month of June 2006. Since AEP-TCC lighting tariffs are billed every month using the average monthly kWh for the year, monthly kWh used to determine demands were adjusted to the percent of annual usage during each calendar month, based on ERCOT profiles.
Per the ERCOT aggregation method, lighting customers were assigned a profile based on the lights turning on at dusk and off at dawn. The ERCOT profiles are based on a calculated time of sunrise and sunset for each day of the year based on the latitude and longitude of weather stations included in each profile weather zone.
Customer peak demands were estimated using monthly coincidence factors for individual tariff codes within the class. The coincidence factor is the ratio of the class peak to the sum of the individual customer peaks. The coincidence factors for all lighting tariff codes were assumed to be 1.0 in all months since lighting loads always turn on at dusk and off at dawn.