## IV-J-4(a) TND
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(a)
TEST YEAR ENDING 12/31/2018
Sum of Customer Unadjusted Non-Coincident Maximum Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 114368.0832 | 109227.4948 | 88195.1215 | 81732.1468 | 80949.7914 | 72828.1829 | 99777.5673 | 82797.1357 | 91806.3281 | 86711.0191 | 94640.8197 | 94957.4562 | 1097991.1467
7 | PRIMARY IDR | PRI | 267260.3384 | 250132.9079 | 234551.4923 | 257060.4125 | 254247.1333 | 277846.1061 | 262507.3143 | 261445.8773 | 277302.3656 | 278323.4606 | 268137.4818 | 259653.9345 | 3148468.8246
9 | TRANSMISSION IDR | TRA | 31299.8545 | 33116.9404 | 29186.9726 | 43576.3199 | 47029.0868 | 63246.5972 | 37344.3132 | 32766.46 | 37067.3229 | 45934.6428 | 39075.5341 | 42283.2081 | 481927.2524
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 412928.2761 | 392477.3431 | 351933.5863 | 382368.8792 | 382226.0115 | 413920.8861 | 399629.1948 | 377009.473 | 406176.0167 | 410969.1225 | 401853.8356 | 396894.5988 | 4728387.2237
Sum of Customer Unadjusted Non-Coincident Maximum Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 103957.7537 | 99285.0863 | 80167.1801 | 74292.4962 | 73581.3546 | 66199.0137 | 90695.3363 | 75260.5447 | 83449.6774 | 78818.1678 | 86026.16 | 86313.9748 | 998046.7456
7 | PRIMARY IDR | PRI | 252804.9513 | 236603.8971 | 221865.238 | 243156.7117 | 240495.5951 | 262818.1635 | 248309.0054 | 247304.9786 | 262303.8325 | 263269.6992 | 253634.6524 | 245609.9572 | 2978176.6819
9 | TRANSMISSION IDR | TRA | 30268.8959 | 32026.1304 | 28225.6084 | 42140.9975 | 45480.0368 | 61163.3727 | 36114.2614 | 31687.1942 | 35846.3947 | 44421.6417 | 37788.4592 | 40890.4784 | 466053.4712
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 387031.6009 | 367915.1137 | 330258.0264 | 359590.2054 | 359556.9865 | 390180.5498 | 375118.6032 | 354252.7175 | 381599.9046 | 386509.5087 | 377449.2716 | 372814.4104 | 4442276.8987
Rate Unadjusted Class Peak Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 90792.2672 | 83485.1774 | 64560.4518 | 67061.1218 | 65323.5298 | 59994.2652 | 81389.581 | 69016.9517 | 75278.0606 | 67535.026 | 69931.9551 | 72202.0705 | 866570.4582
7 | PRIMARY IDR | PRI | 221695.3628 | 208026.529 | 195526.4806 | 222362.7859 | 210155.1111 | 235132.3614 | 222279.5032 | 223454.0179 | 238454.0111 | 226065.8263 | 224777.7097 | 222455.9198 | 2650385.6189
9 | TRANSMISSION IDR | TRA | 24636.9011 | 24898.4767 | 22082.3025 | 30478.2132 | 40713.7391 | 51038.4122 | 29759.6632 | 26702.1105 | 30505.5074 | 36433.3541 | 29839.1876 | 33260.0783 | 380347.946
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 337124.5311 | 316410.1832 | 282169.235 | 319902.1209 | 316192.38 | 346165.0389 | 333428.7473 | 319173.08 | 344237.5792 | 330034.2065 | 324548.8525 | 327918.0685 | 3897304.0232
Rate Unadjusted Class Peak Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 82527.9212 | 75885.9576 | 58683.851 | 60956.898 | 59377.47 | 54533.3005 | 73981.1124 | 62734.6989 | 68425.8918 | 61387.6652 | 63566.4144 | 65629.893 | 787691.0741
7 | PRIMARY IDR | PRI | 209704.4617 | 196774.9381 | 184950.9834 | 210335.7857 | 198788.3909 | 222414.6895 | 210257.0075 | 211367.9959 | 225556.6802 | 213838.5387 | 212620.0928 | 210423.8822 | 2507033.4464
9 | TRANSMISSION IDR | TRA | 23825.4077 | 24078.3675 | 21354.9528 | 29474.3179 | 39372.7048 | 49357.3025 | 28779.4356 | 25822.593 | 29500.7131 | 35233.3077 | 28856.3407 | 32164.5536 | 367819.9969
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 316057.7906 | 296739.2632 | 264989.7872 | 300767.0017 | 297538.5657 | 326305.2925 | 313017.5554 | 299925.2878 | 323483.2851 | 310459.5116 | 305042.8479 | 308218.3288 | 3662544.5175
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(a)
TEST YEAR ENDING 12/31/2018
Sum of Customer Adjusted Non-Coincident Maximum Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 108793.0891 | 105058.3355 | 85619.7809 | 80691.7464 | 78201.2487 | 68612.7488 | 95353.5732 | 83286.5598 | 92932.0403 | 88597.4635 | 94686.0171 | 94504.9609 | 1076337.5643
7 | PRIMARY IDR | PRI | 252301.0433 | 254170.9582 | 259842.9706 | 259362.2965 | 277619.4549 | 284195.597 | 285368.8749 | 284054.3498 | 273858.0943 | 283658.0842 | 267497.6279 | 262582.3507 | 3244511.7023
9 | TRANSMISSION IDR | TRA | 29814.7998 | 29208.8943 | 33382.9807 | 46549.3833 | 53726.7823 | 61272.2706 | 36334.0168 | 35145.6156 | 37045.8855 | 37347.7411 | 57248.566 | 35333.9342 | 492410.8701
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 390908.9322 | 388438.188 | 378845.7322 | 386603.4261 | 409547.4859 | 414080.6163 | 417056.465 | 402486.5252 | 403836.0201 | 409603.2888 | 419432.211 | 392421.2458 | 4813260.1367
Sum of Customer Adjusted Non-Coincident Maximum Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 98890.2222 | 95495.4237 | 77826.2593 | 73346.7981 | 71082.9974 | 62367.2885 | 86674.0353 | 75705.4192 | 84472.9219 | 80532.899 | 86067.2433 | 85902.6678 | 978364.1757
7 | PRIMARY IDR | PRI | 238654.7639 | 240423.5402 | 245788.7688 | 245334.093 | 262603.7713 | 268824.2276 | 269934.0462 | 268690.6201 | 259045.8524 | 268315.7875 | 253029.4064 | 248379.9833 | 3069024.8608
9 | TRANSMISSION IDR | TRA | 28832.7561 | 28246.8081 | 32283.4079 | 45016.1337 | 51957.1227 | 59254.0767 | 35137.2424 | 33987.9848 | 35825.6634 | 36117.5765 | 55362.9054 | 34170.1006 | 476191.7782
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 366377.7423 | 364165.772 | 355898.4359 | 363697.0248 | 385643.8913 | 390445.5929 | 391745.3239 | 378384.0241 | 379344.4377 | 384966.2629 | 394459.5552 | 368452.7516 | 4523580.8146
Rate Adjusted Class Peak Demands (At Source)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 86366.5014 | 80298.5896 | 62675.2551 | 66207.4746 | 63105.5561 | 56521.6827 | 77780.8838 | 69424.9195 | 76201.1063 | 69004.2865 | 69965.3523 | 71858.0101 | 849409.6181
7 | PRIMARY IDR | PRI | 209286.4645 | 211384.83 | 216609.9267 | 224353.9651 | 229474.1602 | 240505.7345 | 241637.6546 | 242777.153 | 235492.261 | 230398.8282 | 224241.3249 | 224964.8111 | 2731127.1139
9 | TRANSMISSION IDR | TRA | 23467.9773 | 21960.2707 | 25256.9216 | 32557.6375 | 46512.0279 | 49445.1803 | 28954.5585 | 28640.9368 | 30487.8649 | 29622.5985 | 43716.6309 | 27793.7619 | 388416.3669
12 | SFR | PRI | [12 empty] | 0
| Total at Source |  | 319120.9432 | 313643.6903 | 304542.1035 | 323119.0772 | 339091.7442 | 346472.5976 | 348373.0969 | 340843.0093 | 342181.2322 | 329025.7132 | 337923.3081 | 324616.5831 | 3968953.0988
Rate Adjusted Class Peak Demands (At Meter)
2018
LINE | DESCRIPTION | VOLT | January | February | March | April | May | June | July | August | September | October | November | December | TOTAL
4 | SECONDARY > 10 kW IDR | SEC | 78505.0097 | 72989.4282 | 56970.2539 | 60180.9539 | 57361.3868 | 51376.809 | 70700.8961 | 63105.5315 | 69264.9175 | 62723.1866 | 63596.7716 | 65317.1507 | 772092.2956
7 | PRIMARY IDR | PRI | 197966.7271 | 199951.5977 | 204894.0831 | 212219.2674 | 217062.525 | 227497.4314 | 228568.129 | 229645.9951 | 222755.123 | 217937.1803 | 212112.7196 | 212797.0744 | 2583407.8528
9 | TRANSMISSION IDR | TRA | 22694.986 | 21236.9405 | 24425.0059 | 31485.2499 | 44980.0088 | 47816.5487 | 28000.8496 | 27697.558 | 29483.6518 | 28646.8855 | 42276.6869 | 26878.2874 | 375622.6591
12 | SFR | PRI | [12 empty] | 0
| Total at Meter |  | 299166.7228 | 294177.9664 | 286289.3429 | 303885.4712 | 319403.9206 | 326690.7892 | 327269.8746 | 320449.0845 | 321503.6923 | 309307.2524 | 317986.1781 | 304992.5125 | 3731122.8075

## IV-J-4(b1) TND
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
January 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 34758181.3151 | 273484.3004 | 89137.3746 | 70637.9433
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 44775319.027 | 264765.7127 | 125351.1529 | 107838.0741
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 45073464.4876 | 243901.7023 | 126127.8247 | 104860.2979
| RES | 4 | Annual KWH | > 20767 | 100 | 56287466.1824 | 262001.9331 | 162022.5831 | 131770.8386
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 2351007.0454 | 21056.6494 | 5795.4786 | 3067.1353
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 3397556.2035 | 17064.8576 | 9439.8761 | 8583.8835
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 2955356.2642 | 11813.1189 | 7174.6903 | 6951.493
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3459350.9203 | 8807.0636 | 5616.8437 | 4771.1435
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 17517453.9786 | 76236.2853 | 40609.6523 | 38825.1563
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 22667774.59 | 88729.5343 | 54210.6625 | 49454.9201
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 31084348.0498 | 97142.4615 | 65793.9045 | 61905.6231
| GSNIDR | 4 | Mean KW | > 100 | 118 | 46199791.1209 | 125408.9077 | 94187.2911 | 93850.4112
| AGR | 1 | Mean KW | 0 - 305 | 125 | 582566.3327 | 3600.2347 | 1285.09 | 1039.773
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1881525.4049 | 5762.028 | 2977.4384 | 2318.4805
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3175340.5946 | 7998.4236 | 5142.6441 | 4593.704
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 2956297.3766 | 8116.3162 | 6356.9167 | 3811.9318
| AGR | 1 | Mean KW | 0 - 32 | 2 | 6656.2152 | 31.404 | 31.5776 | 13.8401
Febuary 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 26205457.2605 | 240710.0796 | 71942.8359 | 65006.8161
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 34195113.3992 | 257218.5342 | 118478.7347 | 108965.0973
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 34034802.6136 | 220178.3306 | 103795.8995 | 101337.1656
| RES | 4 | Annual KWH | > 20767 | 100 | 41561970.7858 | 233066.4239 | 126638.5947 | 126638.5947
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 1551530.4061 | 17539.2426 | 3609.336 | 2777.1169
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2499239.826 | 15570.629 | 7917.8935 | 4470.44
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 2377701.6139 | 11790.8617 | 6180.6236 | 3859.6105
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3154000.0321 | 8387.6214 | 5708.9498 | 5673.7636
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 14309531.2856 | 69407.2046 | 34979.9965 | 27199.4875
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 18816512.9321 | 82072.9426 | 43158.4175 | 36219.633
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 25682518.231 | 88717.72 | 55197.3591 | 45947.6388
| GSNIDR | 4 | Mean KW | > 100 | 118 | 41696077.9086 | 125434.8636 | 87906.9829 | 66057.1562
| AGR | 1 | Mean KW | 0 - 305 | 125 | 710265.5076 | 3525.4968 | 1907.3934 | 966.1614
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1779016.8584 | 5299.5622 | 2921.5142 | 2760.4543
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 2938009.0823 | 7704.7867 | 5225.5717 | 4129.8522
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 2810405.4482 | 6852.5622 | 4899.5049 | 4154.812
| AGR | 1 | Mean KW | 0 - 32 | 2 | 5470.7598 | 29.472 | 29.6349 | 8.6877
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
March 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 22028471.0977 | 226501.1352 | 54283.1691 | 51944.8595
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 25673145.0178 | 217954.2794 | 72408.383 | 61296.9718
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 27215245.3137 | 201823.5712 | 81153.5158 | 81040.7306
| RES | 4 | Annual KWH | > 20767 | 100 | 31364349.2301 | 194384.7969 | 81279.0094 | 81279.0094
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 1644806.0367 | 19077.9343 | 4306.5487 | 2155.7476
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2236171.9819 | 15212.5627 | 5508.5308 | 2599.2392
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 2286665.5352 | 12108.6817 | 5296.4903 | 2938.6693
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3458766.3764 | 8584.9269 | 5672.7381 | 4290.2727
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 12832864.1823 | 61764.4262 | 26054.9322 | 19911.9887
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 18848941.9418 | 80197.2531 | 38442.5404 | 31849.254
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 27420149.6624 | 88028.2202 | 56441.9304 | 44916.2759
| GSNIDR | 4 | Mean KW | > 100 | 118 | 45234362.6386 | 122215.52 | 92976.9628 | 64847.2455
| AGR | 1 | Mean KW | 0 - 305 | 125 | 1031591.648 | 3983.5306 | 2478.5549 | 1824.0077
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1902287.3626 | 5413.6062 | 2885.6567 | 2410.8035
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3317700.0797 | 7889.3938 | 5028.2984 | 4113.7868
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 3014918.2003 | 6102.2582 | 4919.8342 | 4599.3085
| AGR | 1 | Mean KW | 0 - 32 | 2 | 5883.5727 | 54.384 | 54.6846 | 7.1795
April 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 22056158.8308 | 233303.3048 | 70677.3978 | 59632.6857
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 24569576.4589 | 211880.728 | 72344.9475 | 72344.9475
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 27559834.6246 | 204310.1072 | 80130.484 | 79688.3953
| RES | 4 | Annual KWH | > 20767 | 100 | 30384794.6752 | 229872.3435 | 91583.3652 | 83207.8111
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 1493362.152 | 20213.5469 | 3602.1523 | 2681.1762
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2094220.5737 | 14802.2467 | 5956.4303 | 4145.0372
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 2228889.1856 | 12363.5357 | 7222.4121 | 4896.9514
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3317900.9607 | 8440.8196 | 5639.5293 | 4812.4679
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 12670326.3571 | 63427.1468 | 30430.2715 | 23575.3575
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 18891022.603 | 77335.0207 | 45277.5729 | 41611.3306
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 27254433.5467 | 89215.6645 | 62915.0579 | 53465.1947
| GSNIDR | 4 | Mean KW | > 100 | 118 | 44289884.0482 | 126551.4662 | 97941.2159 | 79556.3713
| AGR | 1 | Mean KW | 0 - 305 | 125 | 1083631.3627 | 5440.3091 | 3361.1114 | 1626.0954
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1797018.3674 | 5353.2625 | 2855.4472 | 2384.5617
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3197748.6889 | 7750.0651 | 5279.6444 | 5045.8445
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 2946717.414 | 8662.4594 | 6154.2142 | 4128.3958
| AGR | 1 | Mean KW | 0 - 32 | 2 | 2945.3037 | 29.748 | 29.7917 | 3.5958
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
May 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 38822105.625 | 261324.0154 | 128334.5859 | 112058.5999
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 41096984.3592 | 225751.6108 | 126592.5453 | 122654.3695
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 45974017.9289 | 219215.5907 | 131462.2 | 125425.3896
| RES | 4 | Annual KWH | > 20767 | 100 | 46169994.007 | 202848.3244 | 132278.1346 | 123512.9758
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 1875115.1344 | 24240.1739 | 5000.8291 | 4198.9299
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2669361.5905 | 16406.323 | 9441.9421 | 7507.3465
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 3399784.1305 | 14596.3333 | 10928.788 | 10799.8497
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3879774.9883 | 8981.8582 | 6761.3676 | 6167.1092
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 16684031.2284 | 71028.0917 | 44149.6819 | 43875.8231
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 24565353.0787 | 91457.8759 | 60521.5146 | 60521.5146
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 36894765.3639 | 105860.3129 | 81100.4168 | 81007.5645
| GSNIDR | 4 | Mean KW | > 100 | 118 | 53873346.5994 | 145248.1183 | 117381.0022 | 107909.1359
| AGR | 1 | Mean KW | 0 - 305 | 125 | 2007951.3074 | 6483.4655 | 3916.6756 | 3842.4455
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1844071.2018 | 5212.1603 | 2823.7042 | 2618.334
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3074947.0242 | 8120.5153 | 5084.9253 | 4362.7405
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 3099204.3694 | 8617.2387 | 6416.2737 | 5269.9937
| AGR | 1 | Mean KW | 0 - 32 | 2 | 3439.6788 | 26.232 | 26.377 | 5.454
June 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 52614883.5279 | 257206.8559 | 129029.0807 | 121681.8659
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 54077114.6657 | 233112.9811 | 129537.746 | 117705.2761
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 57168911.2942 | 221520.3482 | 137364.682 | 130352.4522
| RES | 4 | Annual KWH | > 20767 | 100 | 57235547.2169 | 206365.8439 | 129548.4625 | 111910.3866
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 3123134.7966 | 27253.5753 | 7444.6223 | 4857.6648
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 3220943.3654 | 16882.8357 | 9484.2834 | 8473.4246
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 4310667.279 | 15260.9224 | 11159.1101 | 9887.4968
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3962108.8767 | 9089.4001 | 6565.8844 | 5813.0786
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 19615080.3252 | 72726.9001 | 43887.3914 | 37580.3026
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 27659675.3834 | 89469.0611 | 58626.811 | 54862.2916
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 41008499.1037 | 107901.1859 | 80302.1564 | 74441.9536
| GSNIDR | 4 | Mean KW | > 100 | 118 | 54671419.6445 | 142257.8555 | 109053.9652 | 95196.4217
| AGR | 1 | Mean KW | 0 - 305 | 125 | 2036823.391 | 6663.4979 | 4071.0686 | 3697.8871
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1833666.9724 | 5267.8684 | 3017.9043 | 2577.4892
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 2992734.7021 | 7895.2642 | 5188.8507 | 4654.8007
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 3718972.5417 | 10023.0389 | 7322.9119 | 5179.3299
| AGR | 1 | Mean KW | 0 - 32 | 2 | 3698.7125 | 23.784 | 23.9154 | 5.8642
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
July 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 53244114.862 | 269850.8972 | 140865.2683 | 126404.5926
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 53300126.8447 | 241217.046 | 134559.497 | 134559.497
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 59241886.0999 | 226897.8144 | 144934.1391 | 137472.2171
| RES | 4 | Annual KWH | > 20767 | 100 | 58395599.1686 | 205840.658 | 144516.7951 | 129164.8878
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 3220145.7572 | 28744.5243 | 7140.8432 | 5732.5886
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 3351735.8609 | 16232.8455 | 9171.9255 | 6094.4501
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 4555952.0713 | 15598.172 | 11951.8734 | 9044.0445
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 4061359.7947 | 8903.6741 | 6504.5851 | 5787.1401
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 20335075.5949 | 74564.7866 | 45607.4783 | 37886.4616
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 28453922.2023 | 87435.0885 | 63190.3156 | 54436.7744
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 42103186.1149 | 107730.677 | 83892.8789 | 73284.3898
| GSNIDR | 4 | Mean KW | > 100 | 118 | 55861719.8666 | 138388.3151 | 109277.2523 | 96105.9429
| AGR | 1 | Mean KW | 0 - 305 | 125 | 2247074.2352 | 6416.595 | 4146.7373 | 3293.0411
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1846503.6575 | 5244.2246 | 2845.351 | 2537.2498
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3152745.63 | 7531.2578 | 5033.1569 | 4902.6624
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 3774570.3152 | 10785.2912 | 7773.5351 | 5545.2485
| AGR | 1 | Mean KW | 0 - 32 | 2 | 3160.784 | 21.372 | 21.4901 | 6.6003
August 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 47287784.1751 | 251100.1988 | 121553.7294 | 112705.0737
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 50456524.5007 | 231195.936 | 121517.6998 | 111862.2197
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 53921104.7449 | 217500.9813 | 127772.334 | 117356.4555
| RES | 4 | Annual KWH | > 20767 | 100 | 54885912.2743 | 202437.0615 | 126922.9778 | 111708.1786
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 2987275.114 | 24078.78 | 6859.0415 | 4936.7829
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 3300528.2313 | 16826.8628 | 8953.1397 | 7559.1513
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 4325937.607 | 14770.0622 | 10993.2516 | 10704.8643
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 4132364.4787 | 8904.6833 | 6671.522 | 6058.2426
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 20806590.0785 | 79204.4074 | 48417.2339 | 42260.9874
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 27697959.8128 | 86314.4891 | 57780.0497 | 53731.3096
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 41672597.3373 | 109333.3825 | 80343.2704 | 78201.0958
| GSNIDR | 4 | Mean KW | > 100 | 118 | 58287586.9269 | 150575.0149 | 124608.2854 | 109451.9953
| AGR | 1 | Mean KW | 0 - 305 | 125 | 2520141.0251 | 6820.9288 | 4461.1359 | 4003.2186
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1840558.6529 | 5076.8796 | 2818.3228 | 2391.2864
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3132654.5636 | 7521.6548 | 5129.2116 | 4387.4032
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 4201597.0839 | 9034.8241 | 7188.6897 | 5285.3172
| AGR | 1 | Mean KW | 0 - 32 | 2 | 4682.962 | 43.596 | 43.7163 | 6.0935
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
September 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 30701546.607 | 238013.8866 | 104320.0983 | 102506.6415
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 33939052.0613 | 207210.0013 | 111318.2327 | 111318.2327
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 36941009.6536 | 195650.5074 | 118371.5217 | 115050.4251
| RES | 4 | Annual KWH | > 20767 | 100 | 38711404.7293 | 184333.9212 | 111356.7635 | 111356.7635
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 1808035.8114 | 24398.5687 | 5520.5768 | 5262.548
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2238074.6686 | 14907.0074 | 7149.0982 | 4275.006
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 3085715.2242 | 13647.8454 | 8926.2654 | 7395.3283
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3594984.5172 | 8658.2273 | 6163.2793 | 5276.9199
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 15292877.5517 | 64588.9184 | 36840.3505 | 33587.1357
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 21950850.5277 | 75291.527 | 48622.4 | 45468.2984
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 33140417.4153 | 102916.5785 | 71457.6713 | 67462.886
| GSNIDR | 4 | Mean KW | > 100 | 118 | 50951604.4705 | 141608.5218 | 110297.7633 | 84918.3596
| AGR | 1 | Mean KW | 0 - 305 | 125 | 760820.4522 | 5502.065 | 3404.8871 | 2938.6443
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1715835.6963 | 4969.8261 | 2850.579 | 2418.1191
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 2978885.8321 | 7516.1819 | 4997.8842 | 4252.7489
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 4016026.2899 | 8958.5696 | 6867.4645 | 5229.8406
| AGR | 1 | Mean KW | 0 - 32 | 2 | 2713.8355 | 10.152 | 10.2081 | 4.3318
October 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 25462793.7902 | 236244.4423 | 73608.3083 | 67696.234
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 29186096.0588 | 216529.8911 | 89685.5463 | 81432.7486
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 30833143.5869 | 205714.103 | 87964.253 | 86583.133
| RES | 4 | Annual KWH | > 20767 | 100 | 34569759.3024 | 203719.3006 | 90895.0343 | 84703.3544
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 1538679.6742 | 16927.5965 | 3615.3827 | 3372.8707
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2151077.5663 | 15666.6282 | 6881.5369 | 5736.7604
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 2503533.1675 | 13582.7351 | 8772.9521 | 8405.4718
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3457514.0115 | 8651.0637 | 5666.8774 | 5220.5974
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 14406921.5818 | 78221.9159 | 37629.423 | 35822.3286
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 19353597.7868 | 78766.1153 | 50074.8441 | 49720.9334
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 29877359.9388 | 95910.7618 | 70597.3879 | 68345.5506
| GSNIDR | 4 | Mean KW | > 100 | 118 | 46992594.402 | 135087.0357 | 107982.0834 | 96745.6042
| AGR | 1 | Mean KW | 0 - 305 | 125 | 444563.3673 | 3430.709 | 1451 | 950.6569
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1746780.0055 | 5170.8648 | 2906.3439 | 2790.5621
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3123543.8427 | 7567.9576 | 4944.4223 | 4642.9922
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 4167978.6515 | 11348.3004 | 6973.7356 | 5721.6102
| AGR | 1 | Mean KW | 0 - 32 | 2 | 2541.028 | 10.068 | 10.0754 | 3.7888
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
November 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 27205605.5358 | 239351.1608 | 72816.9872 | 61015.7632
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 32208735.7641 | 235496.8145 | 104487.7963 | 94657.7527
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 33585354.7398 | 211527.0427 | 97378.824 | 97378.824
| RES | 4 | Annual KWH | > 20767 | 100 | 40286094.6524 | 221731.5914 | 129807.1842 | 123078.8979
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 1697220.0089 | 20397.6263 | 4083.2448 | 2818.3543
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2333301.4109 | 15308.6199 | 6464.9475 | 4934.3397
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 2203558.3679 | 11287.5758 | 5349.3811 | 4227.6781
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3351496.6371 | 8265.5794 | 5550.2461 | 4690.4758
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 14602161.4275 | 76271.7997 | 35249.5007 | 30316.1557
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 17863782.1951 | 78858.5832 | 40381.3028 | 36505.3226
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 26725203.5162 | 87203.6614 | 54738.8215 | 50869.3402
| GSNIDR | 4 | Mean KW | > 100 | 118 | 41723686.1678 | 122038.1343 | 86276.0969 | 79940.8704
| AGR | 1 | Mean KW | 0 - 305 | 125 | 497358.8945 | 3058.0769 | 1640.2834 | 733.9749
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1683186.4045 | 4744.3878 | 2615.2151 | 2423.1471
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 2999269.3718 | 7905.6662 | 5038.0015 | 4371.5862
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 3753725.764 | 9104.2097 | 6539.5708 | 5072.4913
| AGR | 1 | Mean KW | 0 - 32 | 2 | 2857.5212 | 21.384 | 21.5022 | 6.4917
December 2018
Rate Class | Sector | Strata | Stratum Variable | Stratum Range | Number of Sample Meters | Average kWh Consumption | Average Customer Non-Coincident Maximum Demand kW | Contribution to Rate Class Peak kW | Contribution to System Peak Demand kW
RESIDENTIAL | RES | 1 | Annual KWH | 0 - 10692 | 103 | 32128097.6991 | 252658.6084 | 67767.1797 | 59998.2728
| RES | 2 | Annual KWH | 10692 - 15168 | 92 | 40387502.2469 | 255959.0055 | 95564.4492 | 85924.9438
| RES | 3 | Annual KWH | 15168 - 20767 | 92 | 42711150.4314 | 221597.8661 | 93624.1474 | 84994.1843
| RES | 4 | Annual KWH | > 20767 | 100 | 51535660.1021 | 232510.6686 | 122333.4874 | 105195.37
SECONDARY | GSLT10 | 1 | Annual KWH | 0 - 5166 | 99 | 2179620.7336 | 20433.3115 | 4789.5729 | 4025.6901
<= 10 kW | GSLT10 | 2 | Annual KWH | 5166 - 10961 | 69 | 2722549.1302 | 13675.1247 | 6251.5647 | 4013.4085
| GSLT10 | 3 | Annual KWH | 10961 - 20543 | 85 | 2551545.5603 | 10665.2863 | 5828.5662 | 4212.1601
| GSLT10 | 4 | Annual KWH | > 20543 | 75 | 3517474.4982 | 8313.4997 | 5735.9137 | 5387.7309
SECONDARY | GSNIDR | 1 | Mean KW | 0 - 19 | 128 | 16624419.2776 | 68525.7175 | 34847.996 | 26542.5352
> 10 kW NON-IDR | GSNIDR | 2 | Mean KW | 19 - 41 | 85 | 20146797.0461 | 72656.9512 | 39184.9579 | 35386.2178
| GSNIDR | 3 | Mean KW | 41 - 100 | 104 | 27815277.7603 | 87925.8365 | 53014.4104 | 47155.3554
| GSNIDR | 4 | Mean KW | > 100 | 118 | 42763867.2402 | 114807.2197 | 82949.8295 | 65443.293
| AGR | 1 | Mean KW | 0 - 305 | 125 | 361206.7875 | 3096.4545 | 1127.4236 | 249.3017
PRIMARY | GSPNIDR | 1 | Mean KW | 0 - 81 | 245 | 1805638.4219 | 5006.4049 | 2718.8932 | 2557.7393
NON-IDR | GSPNIDR | 2 | Mean KW | 81 - 245 | 48 | 3011896.1553 | 7699.8825 | 4965.1981 | 4334.3623
| GSPNIDR | 3 | Mean KW | > 245 | 19 | 4063889.1193 | 8848.5711 | 6826.4601 | 5665.566
| AGR | 1 | Mean KW | 0 - 32 | 2 | 2847.6268 | 9.744 | 9.7978 | 3.9698

## IV-J-4(b2) TND
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
RESIDENTIAL SERVICE Sector: RES
Stratum 1 |  |  | Stratum 2 |  |  | Stratum 3 |  |  | Stratum 4
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 1216 | 1216 | 10800 | 1019 | 1019 | 15250 | 544 | 544 | 21000 | 780 | 780
500 | 4863 | 3647 | 11200 | 4591 | 3572 | 15500 | 2282 | 1738 | 22000 | 3766 | 2986
1000 | 6738 | 1875 | 11600 | 8128 | 3537 | 15750 | 3955 | 1673 | 23000 | 6308 | 2542
1500 | 8329 | 1591 | 12000 | 11565 | 3437 | 16000 | 5550 | 1595 | 24000 | 8451 | 2143
2000 | 9865 | 1536 | 12400 | 14966 | 3401 | 16250 | 7124 | 1574 | 25000 | 10236 | 1785
2500 | 11445 | 1580 | 12800 | 18272 | 3306 | 16500 | 8640 | 1516 | 26000 | 11775 | 1539
3000 | 13161 | 1716 | 13200 | 21416 | 3144 | 16750 | 10095 | 1455 | 27000 | 12941 | 1166
3500 | 15031 | 1870 | 13600 | 24559 | 3143 | 17000 | 11485 | 1390 | 28000 | 14022 | 1081
4000 | 17087 | 2056 | 14000 | 27683 | 3124 | 17250 | 12832 | 1347 | 29000 | 14866 | 844
4500 | 19473 | 2386 | 14400 | 30671 | 2988 | 17500 | 14185 | 1353 | 30000 | 15606 | 740
5000 | 22138 | 2665 | 14800 | 33580 | 2909 | 17750 | 15519 | 1334 | 31000 | 16261 | 655
5500 | 25156 | 3018 | 15168 | 36155 | 2575 | 18000 | 16728 | 1209 | 32000 | 16775 | 514
6000 | 28454 | 3298 |  |  |  | 18250 | 17919 | 1191 | 33000 | 17190 | 415
6500 | 31861 | 3407 |  |  |  | 18500 | 19069 | 1150 | 34000 | 17529 | 339
7000 | 35596 | 3735 |  |  |  | 18750 | 20201 | 1132 | 35000 | 17848 | 319
7500 | 39575 | 3979 |  |  |  | 19000 | 21320 | 1119 | 37500 | 18412 | 564
8000 | 43732 | 4157 |  |  |  | 19250 | 22390 | 1070 | 40000 | 18810 | 398
8500 | 47898 | 4166 |  |  |  | 19500 | 23430 | 1040 | 42500 | 19087 | 277
9000 | 52194 | 4296 |  |  |  | 19750 | 24368 | 938 | 45000 | 19320 | 233
9500 | 56552 | 4358 |  |  |  | 20000 | 25329 | 961 | 47500 | 19452 | 132
10000 | 61100 | 4548 |  |  |  | 20250 | 26236 | 907 | 50000 | 19550 | 98
10500 | 65448 | 4348 |  |  |  | 20500 | 27095 | 859 | 60000 | 19758 | 208
10692 | 67079 | 1631 |  |  |  | 20750 | 27966 | 871 | 70000 | 19835 | 77
[6 empty] | 20767 | 28038 | 72 | 80000 | 19872 | 37
[9 empty] | 90000 | 19888 | 16
[9 empty] | 199105 | 19918 | 30
SECONDARY <= 10 kW Sector: GSLT10
Stratum 1 |  |  | Stratum 2 |  |  | Stratum 3 |  |  | Stratum 4
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 2080 | 2080 | 5500 | 384 | 384 | 11000 | 19 | 19 | 25000 | 462 | 462
100 | 4249 | 2169 | 6000 | 920 | 536 | 12000 | 446 | 427 | 30000 | 789 | 327
200 | 5244 | 995 | 6500 | 1421 | 501 | 13000 | 807 | 361 | 35000 | 999 | 210
300 | 6046 | 802 | 7000 | 1825 | 404 | 14000 | 1152 | 345 | 40000 | 1122 | 123
400 | 6719 | 673 | 7500 | 2222 | 397 | 15000 | 1433 | 281 | 45000 | 1204 | 82
500 | 7281 | 562 | 8000 | 2613 | 391 | 16000 | 1689 | 256 | 50000 | 1257 | 53
600 | 7810 | 529 | 8500 | 2965 | 352 | 17000 | 1910 | 221 | 55000 | 1293 | 36
700 | 8286 | 476 | 9000 | 3265 | 300 | 18000 | 2108 | 198 | 60000 | 1316 | 23
800 | 8680 | 394 | 9500 | 3575 | 310 | 19000 | 2293 | 185 | 65000 | 1332 | 16
900 | 9089 | 409 | 10000 | 3819 | 244 | 20000 | 2435 | 142 | 70000 | 1349 | 17
1000 | 9487 | 398 | 10500 | 4033 | 214 | 20543 | 2493 | 58 | 75000 | 1353 | 4
1250 | 10376 | 889 | 10961 | 4254 | 221 |  |  |  | 657000 | 1358 | 5
1500 | 11175 | 799
1750 | 11902 | 727
2000 | 12501 | 599
2250 | 13105 | 604
2500 | 13645 | 540
2750 | 14162 | 517
3000 | 14651 | 489
3250 | 15078 | 427
3500 | 15505 | 427
3750 | 15923 | 418
4000 | 16321 | 398
4250 | 16687 | 366
4500 | 17046 | 359
4750 | 17398 | 352
5000 | 17755 | 357
5166 | 17938 | 183
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(b)
TEST YEAR ENDING 12/31/2018
SECONDARY > 10 kW NON-IDR Sector: GSNIDR
Stratum 1 |  |  | Stratum 2 |  |  | Stratum 3 |  |  | Stratum 4
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 5 | 5 | 20 | 327 | 327 | 50 | 615 | 615 | 150 | 399 | 399
10 | 2466 | 2461 | 30 | 2376 | 2049 | 60 | 1043 | 428 | 200 | 559 | 160
19 | 7470 | 5004 | 40 | 3485 | 1109 | 70 | 1343 | 300 | 250 | 674 | 115
|  |  | 41 | 3568 | 83 | 80 | 1546 | 203 | 300 | 718 | 44
[6 empty] | 90 | 1719 | 173 | 350 | 750 | 32
[6 empty] | 100 | 1861 | 142 | 400 | 773 | 23
[9 empty] | 450 | 784 | 11
[9 empty] | 500 | 788 | 4
[9 empty] | 550 | 792 | 4
[9 empty] | 600 | 796 | 4
[9 empty] | 650 | 798 | 2
[9 empty] | 985 | 801 | 3
SECONDARY > 10 kW NON-IDR Sector: AGR
Stratum 1
Annual KWH | Cum Count | Count
0 | 6 | 6
50 | 124 | 118
100 | 141 | 17
150 | 151 | 10
305 | 152 | 1
PRIMARY NON-IDR Sector: GSPNIDR
Stratum 1 |  |  | Stratum 2 |  |  | Stratum 3
Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count | Annual KWH | Cum Count | Count
0 | 18 | 18 | 100 | 11 | 11 | 300 | 5 | 5
10 | 118 | 100 | 150 | 28 | 17 | 400 | 14 | 9
20 | 176 | 58 | 200 | 43 | 15 | 500 | 17 | 3
30 | 218 | 42 | 245 | 54 | 11 | 600 | 20 | 3
40 | 241 | 23 |  |  |  | 1103 | 23 | 3
50 | 259 | 18
60 | 273 | 14
70 | 281 | 8
81 | 287 | 6
PRIMARY NON-IDR Sector: AGR
Stratum 1
Annual KWH | Cum Count | Count
0 | 1 | 1
10 | 2 | 1
32 | 3 | 1
Method by Which Contributions Were Obtained
The contributions to rate class and system peak demand were obtained using the Kema Load Research Analysis System. The Kema Load Research System uses a ratio estimation approach consistent with Association of Edison Illuminating Companies (AEIC) standards to optimally stratify the population and sample, calculate the stratum average demands per customer for each hour, and combine the strata through a weighted average methodology to arrive at class hourly values.

## IV-J-4(c) TND
PUBLIC UTILITY OF COMMISSION OF TEXAS
AEP TEXAS NORTH DIVISION
SCHEDULE IV-J-4(c)
TEST YEAR ENDING 12/31/2018
Description of Methodology to Develop Demand Estimates
LINE | DESCRIPTION | RATE | VOLT | DEMAND ESTIMATE METHODOLOGY
10 | LIGHTING |  | SEC | Class load shapes were developed using AEP's Customer Load Aggregation System. This system employs the same aggregation method used by ERCOT for aggregation and market settlement of these customers. Each customer was assigned a load profile ID based on ERCOT protocols. The metered kWh for each monthly billing cycle for each premise were allocated to each 15-minute interval using backcast load profiles provided by ERCOT. The 15-minute load profiles for all customers in the class were then added together to obtain the total class load shape. Coincident peak and class peak demands were taken directly from the resulting class profile. For demand values at the source, losses were added to metered demands based on the 1998 system loss study performed by AEP-TCC.
|  |  | SEC | Adjusted demands for lighting were based on billed kWh for the calendar month of June 2006. Since AEP-TCC lighting tariffs are billed every month using the average monthly kWh for the year, monthly kWh used to determine demands were adjusted to the percent of annual usage during each calendar month, based on ERCOT profiles.
Per the ERCOT aggregation method, lighting customers were assigned a profile based on the lights turning on at dusk and off at dawn. The ERCOT profiles are based on a calculated time of sunrise and sunset for each day of the year based on the latitude and longitude of weather stations included in each profile weather zone.
Customer peak demands were estimated using monthly coincidence factors for individual tariff codes within the class. The coincidence factor is the ratio of the class peak to the sum of the individual customer peaks. The coincidence factors for all lighting tariff codes were assumed to be 1.0 in all months since lighting loads always turn on at dusk and off at dawn.