## RESIDENTIAL
SCHEDULE II-H-1.4
PAGE 1 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Residential Service
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 36170188.6994 | 34817687.0804 | 10304122.0271 | 9918822.9113 | 10012083.7561 | 9637704.7446 | 10010104.1535 | 9635799.1647 | 4292155229.7961 | 4138304207.7529 | 0.97166 | 0.57006
2 | Feb | 37788014.9593 | 36375018.4213 | 15210692.8814 | 14641923.7517 | 15170088.5558 | 14602837.7321 | 15183296.3048 | 14615551.6075 | 3948472458.0682 | 3806940642.3113 | 0.99733 | 0.44911
3 | Mar | 23517463.3561 | 22638081.5113 | 4975046.46 | 4789015.9571 | 4975046.46 | 4789015.9571 | 3714931.2898 | 3576019.9165 | 3412009257.7532 | 3289706805.1573 | 1 | 0.54747
4 | Apr | 33195463.9447 | 31954195.3657 | 7161654.2582 | 6893860.5494 | 7071966.7199 | 6807526.6719 | 6591768.1693 | 6345284.0496 | 2847990120.2927 | 2745904765.1931 | 0.98748 | 0.55232
5 | May | 31194376.264 | 30027933.7898 | 9893940.8635 | 9523979.5357 | 9576336.0551 | 9218250.834 | 9576336.0551 | 9218250.834 | 2963206394.0009 | 2856991145.9881 | 0.9679 | 0.45958
6 | Jun | 34737079.5537 | 33438165.779 | 13703432.7196 | 13191024.1421 | 12658519.2046 | 12185182.7822 | 12258901.6162 | 11800507.9811 | 3955586071.0241 | 3813799269.9358 | 0.92375 | 0.5451
7 | Jul | 31608436.9081 | 30426511.5815 | 13094260.9237 | 12604630.9346 | 11971066.0513 | 11523435.3699 | 12839138.4653 | 12359048.198 | 5296062409.2495 | 5106226634.2497 | 0.91422 | 0.56409
8 | Aug | 32652296.5783 | 31431338.5028 | 13262385.917 | 12766469.2777 | 12621848.0763 | 12149882.8869 | 12787170.2866 | 12309023.2507 | 5638646159.2151 | 5436530572.0357 | 0.9517 | 0.5935
9 | Sep | 29541201.5634 | 28436575.7824 | 12256549.37 | 11798243.6917 | 11895806.9237 | 11450990.3855 | 12082289.5806 | 11630499.9493 | 5233699751.3773 | 5046099347.2197 | 0.97057 | 0.50562
10 | Oct | 28362802.8048 | 27302240.5547 | 9028955.6642 | 8691338.4829 | 8514652.7695 | 8196266.7707 | 8514652.7695 | 8196266.7707 | 3954715787.1849 | 3812960181.1609 | 0.94304 | 0.47223
11 | Nov | 31158323.7576 | 29993229.3846 | 5987311.1166 | 5763429.2883 | 5986246.1697 | 5762404.1625 | 4157645.9127 | 4002180.2369 | 2893056203.5741 | 2789355468.1816 | 0.99982 | 0.62774
12 | Dec | 37978000.7462 | 36557900.1235 | 8553740.4032 | 8233892.8116 | 8061743.3505 | 7760292.8653 | 5851395.7933 | 5632596.2081 | 3334024856.154 | 3214517731.1376 | 0.94248 | 0.556
13 | [9 empty] | 47769624697.6901 | 46057336770.3237
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## SEC < 10kW
SCHEDULE II-H-1.4
PAGE 2 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2020
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Less Than or Equal to 10 kW
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 881775.7011 | 848803.7121 | 302376.5756 | 291069.894 | 284621.2867 | 273978.5236 | 297857.9143 | 286720.1977 | 171454870.3614 | 165309121.7509 | 0.94128 | 0.77742
2 | Feb | 962802.1036 | 926800.3173 | 371448.4009 | 357558.9361 | 364920.5772 | 351275.2054 | 367084.5677 | 353358.2785 | 163600196.504 | 157735996.3316 | 0.98243 | 0.66508
3 | Mar | 747679.4886 | 719721.7213 | 230458.3899 | 221840.9246 | 202540.1156 | 194966.5904 | 159486.3173 | 153522.6906 | 157599766.5167 | 151950649.9647 | 0.87886 | 0.77649
4 | Apr | 803690.0998 | 773637.9436 | 238419.3019 | 229504.1565 | 211605.1054 | 203692.6156 | 229592.158 | 221007.0835 | 143969789.158 | 138809235.0728 | 0.88753 | 0.82212
5 | May | 775275.5731 | 746285.9133 | 289000.9252 | 278194.3954 | 278901.998 | 268473.0946 | 278901.998 | 268473.0946 | 144806412.3564 | 139615869.7626 | 0.96506 | 0.69401
6 | Jun | 844331.3725 | 812759.5287 | 355367.5419 | 342079.3841 | 346762.8561 | 333796.4509 | 334782.1512 | 322263.7371 | 158658568.4325 | 152971499.4421 | 0.97579 | 0.70316
7 | Jul | 818681.6492 | 788068.9182 | 360484.3426 | 347004.8537 | 360171.0059 | 346703.2335 | 342367.0317 | 329564.9983 | 185676312.7294 | 179020800.7655 | 0.99913 | 0.7026
8 | Aug | 836582.2713 | 805300.1874 | 359856.6579 | 346400.6398 | 353794.8569 | 340565.506 | 344100.6285 | 331233.7712 | 189449236.2353 | 182658484.9554 | 0.98315 | 0.73389
9 | Sep | 793452.3517 | 763783.0127 | 352972.738 | 339774.1284 | 346859.4292 | 333889.4128 | 339042.2713 | 326364.5597 | 182227459.5221 | 175695570.6712 | 0.98268 | 0.67495
10 | Oct | 758812.039 | 730437.9954 | 282551.7346 | 271986.3576 | 277994.6154 | 267599.6415 | 277994.6154 | 267599.6415 | 161350387.4935 | 155566831.053 | 0.98387 | 0.71464
11 | Nov | 789348.6146 | 759832.7254 | 231923.1583 | 223250.9213 | 200024.6471 | 192545.1821 | 214911.4286 | 206875.3065 | 140652170.9852 | 135610535.9324 | 0.86246 | 0.82148
12 | Dec | 853525.0214 | 821609.4021 | 257011.0599 | 247400.7182 | 229779.0565 | 221186.9934 | 245802.6024 | 236611.3753 | 149922171.555 | 144548256.1009 | 0.89404 | 0.79499
13 | [9 empty] | 1949367341.8493 | 1879492851.803
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## SEC > 10kW
SCHEDULE II-H-1.4
PAGE 3 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Greater Than 10 kW
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 11045481.5617 | 10632460.9989 | 6701402.1424 | 6450818.5106 | 6621083.6095 | 6373503.3058 | 6573669.2831 | 6327861.93 | 3598168584.2369 | 3469193306.1934 | 0.98801 | 0.73971
2 | Feb | 12446842.1053 | 11981420.8646 | 7317948.504 | 7044310.5288 | 6172618.6286 | 5941807.6489 | 6181427.2364 | 5950286.8789 | 3493771853.3312 | 3368538644.9213 | 0.84349 | 0.69984
3 | Mar | 10280803.9141 | 9896376.7259 | 5868274.0642 | 5648843.3546 | 5290102.3911 | 5092291.0911 | 4689476.0766 | 4514123.8262 | 3550730777.3845 | 3423455893.3569 | 0.90148 | 0.76357
4 | Apr | 11134769.5504 | 10718410.2671 | 7041668.6694 | 6778361.5477 | 6140945.0173 | 5911318.4001 | 6545420.1658 | 6300669.1238 | 3371383295.6468 | 3250537068.5267 | 0.87209 | 0.69362
5 | May | 11989309.3661 | 11540996.5176 | 8185384.2535 | 7879310.499 | 7765012.2714 | 7474657.3674 | 7765012.2714 | 7474657.3674 | 3730588491.6156 | 3596866661.5491 | 0.94864 | 0.64391
6 | Jun | 13446800.2812 | 12943987.8878 | 9206163.5732 | 8861920.1068 | 8786097.1394 | 8457561.0982 | 8630514.3865 | 8307796.0071 | 4117440075.5011 | 3969851665.972 | 0.95437 | 0.70064
7 | Jul | 12925522.1341 | 12442201.7468 | 9293781.1036 | 8946261.3798 | 9263257.3864 | 8916879.0272 | 8674224.4912 | 8349871.6722 | 4741611147.8992 | 4571649512.7347 | 0.99672 | 0.69589
8 | Aug | 13708959.2406 | 13196344.0115 | 9793744.3547 | 9427529.6466 | 9212856.4225 | 8868362.6923 | 8890472.0115 | 8558033.1102 | 4845699708.0555 | 4672007049.5459 | 0.94069 | 0.70193
9 | Sep | 13379187.6391 | 12878903.4661 | 9444954.3035 | 9091781.803 | 9013354.8693 | 8676321.0442 | 8784174.2645 | 8455710.1248 | 4739698483.6712 | 4569805407.3846 | 0.9543 | 0.6496
10 | Oct | 11856453.0102 | 11413108.0218 | 7748899.1906 | 7459146.7984 | 7405233.9899 | 7128332.1732 | 7405233.9899 | 7128332.1732 | 4102269898.0257 | 3955225258.9765 | 0.95565 | 0.67516
11 | Nov | 10934278.1552 | 10525415.7898 | 6759945.9001 | 6507173.1582 | 5245537.6776 | 5049392.7733 | 6586489.6226 | 6340202.8821 | 3619157489.815 | 3489429870.7209 | 0.77597 | 0.68357
12 | Dec | 11334735.6921 | 10910899.1315 | 6706951.2792 | 6456160.1501 | 5858063.176 | 5639014.2792 | 5913236.4527 | 5692124.4773 | 3529411851.0031 | 3402901137.5232 | 0.88166 | 0.71724
13 | [9 empty] | 47439931656.1859 | 45739461477.4052
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY < 10kW
SCHEDULE II-H-1.4
PAGE 4 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Primary Service Less Than or Equal to 10 kW
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 7903.028 | 7746.5666 | 3557.9195 | 3487.481 | 3015.4356 | 2955.737 | 3011.6422 | 2952.0188 | 2352639.7863 | 2317727.3726 | 0.84753 | 0.97707
2 | Feb | 8400.2097 | 8233.9052 | 3747.7437 | 3673.5471 | 1162.6477 | 1139.63 | 1194.0799 | 1170.4399 | 2170862.9008 | 2138647.9973 | 0.31023 | 0.65704
3 | Mar | 8004.7799 | 7846.304 | 3561.4775 | 3490.9686 | 3321.3951 | 3255.6393 | 3094.2453 | 3032.9865 | 1923994.1006 | 1895442.6502 | 0.93259 | 0.88422
4 | Apr | 7894.7959 | 7738.4975 | 5536.8074 | 5427.1915 | 4893.8705 | 4796.9833 | 3889.2234 | 3812.2259 | 2798351.4028 | 2756824.7729 | 0.88388 | 0.69251
5 | May | 7641.2305 | 7489.952 | 3423.6924 | 3355.9113 | 3128.5879 | 3066.6492 | 3128.5879 | 3066.6492 | 2412587.4973 | 2376785.479 | 0.91381 | 0.87753
6 | Jun | 7824.0374 | 7669.1398 | 3571.2123 | 3500.5107 | 3297.3359 | 3232.0564 | 3403.9037 | 3336.5143 | 2450280.2023 | 2413918.8364 | 0.92331 | 0.85677
7 | Jul | 7635.8445 | 7484.6726 | 3447.2032 | 3378.9567 | 3377.3631 | 3310.4992 | 3240.0115 | 3175.8669 | 2277557.4132 | 2243759.1977 | 0.97974 | 0.88403
8 | Aug | 8504.8834 | 8336.5066 | 4044.9205 | 3964.8405 | 3279.4994 | 3214.573 | 3256.5838 | 3192.111 | 2329492.3871 | 2294923.4733 | 0.81077 | 0.79125
9 | Sep | 7479.9063 | 7331.8217 | 4336.8415 | 4250.9822 | 3636.2441 | 3564.2549 | 3673.7172 | 3600.9862 | 2480656.5546 | 2443844.4134 | 0.83845 | 0.79027
10 | Oct | 7657.2924 | 7505.6959 | 3594.8709 | 3523.7009 | 3069.5066 | 3008.7375 | 3069.5066 | 3008.7375 | 2294607.4675 | 2260556.2347 | 0.85386 | 0.88471
11 | Nov | 7627.9941 | 7476.9777 | 3614.938 | 3543.3707 | 3197.4568 | 3134.1546 | 3295.2225 | 3229.9848 | 2298325.0859 | 2264218.6848 | 0.88451 | 0.90481
12 | Dec | 8672.087 | 8500.4 | 4234.4808 | 4150.648 | 3404.7746 | 3337.368 | 3078.7562 | 3017.804 | 2455051.1654 | 2418619 | 0.80406 | 0.77294
13 | [9 empty] | 28244405.9637 | 27825268.1124
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY > 10kW DLS
SCHEDULE II-H-1.4
PAGE 5 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10 kW - Distribution Line
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 2863334.0235 | 2806646.7097 | 2042661.2987 | 2002221.3847 | 1945595.457 | 1907077.2195 | 1943377.674 | 1904903.3433 | 1417751471.4815 | 1396712498.0925 | 0.95248 | 0.9319
2 | Feb | 2960583.1056 | 2901970.4877 | 2067073.968 | 2026150.7402 | 1160486.4005 | 1137511.4852 | 1154333.0088 | 1131479.9163 | 1360260148.9185 | 1340074328.1658 | 0.56142 | 0.77316
3 | Mar | 2917941.1865 | 2860172.7787 | 2076501.1666 | 2035391.3024 | 1930622.1335 | 1892400.3328 | 1966473.6992 | 1927542.1214 | 1207900592.0228 | 1189975737.827 | 0.92975 | 0.92803
4 | Apr | 2982836.5385 | 2923783.3546 | 2176403.1476 | 2133315.4579 | 2060093.0673 | 2019308.045 | 2126563.7724 | 2084462.7857 | 1411139967.7863 | 1390199106.9741 | 0.94656 | 0.91082
5 | May | 3169902.2101 | 3107145.5636 | 2246691.1081 | 2202211.8812 | 2226075.2525 | 2182004.1713 | 2226075.2525 | 2182004.1713 | 1504955606.4216 | 1482622551.8686 | 0.99082 | 0.90714
6 | Jun | 3358532.0773 | 3292041.0008 | 2282776.8751 | 2237583.2345 | 2197739.6012 | 2154229.4996 | 2174891.9761 | 2131834.2041 | 1529125929.0796 | 1506434194.7541 | 0.96275 | 0.90729
7 | Jul | 3276975.7606 | 3212099.3084 | 2290333.5936 | 2244990.3476 | 2228372.655 | 2184256.0906 | 2168649.4843 | 2125715.2989 | 1590275904.57 | 1566676724.3819 | 0.97295 | 0.9225
8 | Aug | 3337241.4242 | 3271171.8528 | 2343455.6321 | 2297060.6941 | 2273794.809 | 2228778.9922 | 2229119.6563 | 2184988.3031 | 1435600910.8881 | 1414297057.5901 | 0.97027 | 0.92547
9 | Sep | 3287883.1118 | 3222790.7195 | 2335945.1219 | 2289698.8743 | 2225245.0435 | 2181190.3985 | 2219263.443 | 2175327.2197 | 1537902476.4055 | 1515080500.9557 | 0.95261 | 0.91432
10 | Oct | 3331724.5975 | 3265764.2464 | 2229063.3343 | 2184933.0961 | 2162279.1423 | 2119471.0748 | 2162279.1423 | 2119471.0748 | 1531942791.261 | 1509209255.6116 | 0.97004 | 0.90913
11 | Nov | 3179864.6789 | 3116910.7988 | 2170687.8062 | 2127713.2668 | 1995406.5507 | 1955902.1701 | 2136976.0971 | 2094668.9707 | 1430920838.4021 | 1409686435.8664 | 0.91925 | 0.91926
12 | Dec | 3307553.3579 | 3242071.5408 | 2167904.0127 | 2124984.586 | 2052896.3649 | 2012253.8205 | 2095091.2644 | 2053613.3597 | 1526226673.3579 | 1503577963.0498 | 0.94695 | 0.924
13 | [9 empty] | 17484003310.5949 | 17224546355.1377
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY SUBSTATIONS
SCHEDULE II-H-1.4
PAGE 6 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10kW - Substation
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) |  | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN |  | LOAD+
1 | Jan | 903229.5981 | 897512.4439 | 711074.3531 | 706573.4801 | 653778.9486 | 649640.7371 | 657016.6873 | 652857.9819 | 492548007.1778 | 489736917.2727 | 0.91942 |  | 0.93546
2 | Feb | 940471.7209 | 934518.836 | 750572.3016 | 745821.4192 | 337978.315 | 335839.0205 | 339877.7483 | 337726.4309 | 476323524.6283 | 473605031.746 | 0.45029 |  | 0.74116
3 | Mar | 939516.7495 | 933569.9092 | 771721.4499 | 766836.7001 | 697052.3164 | 692640.1983 | 711819.7299 | 707314.1389 | 397962390.0737 | 395691123.0275 | 0.90324 |  | 0.92965
4 | Apr | 957261.4194 | 951202.261 | 763613.5297 | 758780.1005 | 738271.5488 | 733598.5262 | 737006.8939 | 732341.8762 | 510846500.8414 | 507930977.0332 | 0.96681 |  | 0.93526
5 | May | 992664.674 | 986381.4243 | 802187.5745 | 797109.9839 | 799762.3074 | 794700.068 | 799762.3074 | 794700.068 | 541404710.76 | 538314783.9004 | 0.99698 |  | 0.92418
6 | Jun | 999935.161 | 993605.8915 | 830093.3858 | 824839.1603 | 732948.1646 | 728308.8373 | 747159.6477 | 742430.3663 | 525716779.7049 | 522716387.6398 | 0.88297 | 0.92559 | 0.92559
7 | Jul | 1000364.2674 | 994032.2818 | 823224.6756 | 818013.9269 | 793699.7285 | 788675.8633 | 695184.9113 | 690784.6134 | 559709988.6183 | 556515589.1366 | 0.96414 |  | 0.93746
8 | Aug | 1020280.9541 | 1013822.9022 | 847474.9422 | 842110.697 | 734809.5865 | 730158.477 | 712841.1672 | 708329.1108 | 644869257.992 | 641188834.0843 | 0.86706 |  | 0.91884
9 | Sep | 990179.0246 | 983911.5083 | 828808.8338 | 823562.7391 | 741400.4767 | 736707.649 | 736260.916 | 731600.62 | 568623607.1124 | 565378335.4668 | 0.89454 |  | 0.92612
10 | Oct | 986138.1545 | 979896.2156 | 813329.359 | 808181.2444 | 751380.3667 | 746624.3695 | 751380.3667 | 746624.3695 | 548125346.886 | 544997063.7401 | 0.92383 |  | 0.92134
11 | Nov | 952080.6828 | 946054.3168 | 787656.79 | 782671.1746 | 735911.5174 | 731253.433 | 760463.7846 | 755650.2923 | 548656614.4717 | 545525299.2539 | 0.9343 |  | 0.94184
12 | Dec | 966228.837 | 960112.9177 | 804600.2009 | 799507.3392 | 736788.1049 | 732124.472 | 788962.252 | 783968.3735 | 552440597.3558 | 549287686.038 | 0.91572 |  | 0.92058
13 | [9 empty] | 6367227325.6222 | 6330888028.3396
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## TRANSMISSION
SCHEDULE II-H-1.4
PAGE 7 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Transmission Service
Voltage Level = Transmission
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 3224365.4314 | 3224365.4314 | 2541926.9082 | 2541926.9082 | 2321670.3208 | 2321670.3208 | 2321670.3208 | 2321670.3208 | 1724477528.5746 | 1724477528.5746 | 0.91335 | 0.92187
2 | Feb | 3416023.4914 | 3416023.4914 | 2555962.9782 | 2555962.9782 | 1400581.4446 | 1400581.4446 | 1407656.1921 | 1407656.1921 | 1615907083.3123 | 1615907083.3123 | 0.54797 | 0.78219
3 | Mar | 3366480.1023 | 3366480.1023 | 2588208.3218 | 2588208.3218 | 2296292.3649 | 2296292.3649 | 2528497.2399 | 2528497.2399 | 1490832002.8963 | 1490832002.8963 | 0.88721 | 0.91778
4 | Apr | 3290244.4025 | 3290244.4025 | 2652306.2038 | 2652306.2038 | 2495619.5594 | 2495619.5594 | 2405989.0549 | 2405989.0549 | 1698240669.3745 | 1698240669.3745 | 0.94092 | 0.90986
5 | May | 3348531.7664 | 3348531.7664 | 2651789.3728 | 2651789.3728 | 2539994.4831 | 2539994.4831 | 2539994.4831 | 2539994.4831 | 1777885673.1841 | 1777885673.1841 | 0.95784 | 0.91624
6 | Jun | 3507029.7463 | 3507029.7463 | 2700196.0235 | 2700196.0235 | 2286194.1834 | 2286194.1834 | 2190276.179 | 2190276.179 | 1770496395.036 | 1770496395.036 | 0.84668 | 0.91022
7 | Jul | 3408354.2546 | 3408354.2546 | 2650262.6256 | 2650262.6256 | 2533598.3544 | 2533598.3544 | 2076674.2315 | 2076674.2315 | 1783500558.1135 | 1783500558.1135 | 0.95598 | 0.9184
8 | Aug | 3463499.9557 | 3463499.9557 | 2727072.0771 | 2727072.0771 | 2304789.0309 | 2304789.0309 | 2130799.3262 | 2130799.3262 | 1800215255.6489 | 1800215255.6489 | 0.84515 | 0.90168
9 | Sep | 3498327.06 | 3498327.06 | 2754518.93 | 2754518.93 | 2146634.34 | 2146634.34 | 2144658.59 | 2144658.59 | 1815185444 | 1815185444 | 0.77931 | 0.92432
10 | Oct | 3523826.94 | 3523826.94 | 2790485.87 | 2790485.87 | 2707700.736 | 2707700.736 | 2707700.73 | 2707700.73 | 1846716296 | 1846716296 | 0.97033 | 0.93083
11 | Nov | 3436296.26 | 3436296.26 | 2757659.26 | 2757659.26 | 2684351.71 | 2684351.71 | 2644715.61 | 2644715.61 | 1877484630 | 1877484630 | 0.97342 | 0.9212
12 | Dec | 3441027.09 | 3441027.09 | 2789934.55 | 2789934.55 | 2583642.02 | 2583642.02 | 2522047.27 | 2522047.27 | 1875813062 | 1875813062 | 0.92606 | 0.92396
13 | [9 empty] | 21076754598.1402 | 21076754598.1402
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## STREET LIGHTING
SCHEDULE II-H-1.4
PAGE 8 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Lighting Service
Voltage Level = Secondary and Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | KWH | COIN | LOAD+
1 | Jan | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 98783.9611 | 95090.1604 | 33067992.9283 | 31882680.6 | 0 | 0.45616
2 | Feb | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 32975144.5927 | 31793160.3852 | 1 | 0.45616
3 | Mar | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32919910.6591 | 31739906.2955 | 0 | 0.45616
4 | Apr | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32829596.9956 | 31652829.8983 | 0 | 0.45616
5 | May | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32802177.2363 | 31626392.9921 | 0 | 0.45616
6 | Jun | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32745401.8787 | 31571652.7302 | 0 | 0.45616
7 | Jul | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32711572.3951 | 31539035.8543 | 0 | 0.45616
8 | Aug | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32711902.6983 | 31539354.3179 | 0 | 0.45616
9 | Sep | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32753804.8223 | 31579754.4728 | 0 | 0.45616
10 | Oct | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 0 | 0 | 32804240.5001 | 31628382.2988 | 0 | 0.45616
11 | Nov | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 32845010.4568 | 31667690.8685 | 1 | 0.45616
12 | Dec | 98783.9611 | 95090.1604 | 98783.9611 | 95090.1604 | 0 | 0 | 98783.9611 | 95090.1604 | 32940185.0947 | 31759454 | 0 | 0.45616
13 | [9 empty] | 394106940.258 | 379980294.7135
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## WHOLESALE SUB
SCHEDULE II-H-1.4
PAGE 9 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Wholesale Service - Substation
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 72897.0206 | 72435.6058 | 69840.4392 | 69398.3716 | 69382.1503 | 68942.9835 | 69840.4392 | 69398.3716 | 30801103.201 | 30625313.8992 | 0.99344 | 0.59314
2 | Feb | 112808.2588 | 112094.2187 | 101575.1761 | 100932.2377 | 101575.1761 | 100932.2377 | 101260.0665 | 100619.1227 | 32891542.4041 | 32703822.4632 | 1 | 0.48217
3 | Mar | 53116.8894 | 52780.6765 | 49737.5284 | 49422.7058 | 49737.5284 | 49422.7058 | 32009.1926 | 31806.5846 | 21163367.1766 | 21042582.7516 | 1 | 0.57304
4 | Apr | 49911.0181 | 49595.0974 | 44554.586 | 44272.5697 | 39886.0888 | 39633.6226 | 35661.7041 | 35435.9769 | 19685594.3895 | 19573243.9691 | 0.89522 | 0.61404
5 | May | 56747.3961 | 56388.2033 | 54740.3853 | 54393.8962 | 53551.5693 | 53212.6051 | 53551.5693 | 53212.6051 | 21520332.6921 | 21397510.9791 | 0.97828 | 0.52874
6 | Jun | 76419.7642 | 75936.0516 | 71375.8816 | 70924.0951 | 69683.4102 | 69242.3366 | 67577.9773 | 67150.2304 | 30042445.2621 | 29870985.8036 | 0.97629 | 0.58496
7 | Jul | 78287.6961 | 77792.16 | 76121.7382 | 75639.912 | 71436.2184 | 70984.05 | 75139.6197 | 74664.01 | 33597268.3845 | 33405520.6957 | 0.93845 | 0.5936
8 | Aug | 95626.0926 | 95020.81 | 82588.5692 | 82065.81 | 74715.1933 | 74242.27 | 73315.8861 | 72851.82 | 35581342.7996 | 35378271.5211 | 0.90467 | 0.57943
9 | Sep | 87682.2003 | 87127.2 | 79395.3169 | 78892.77 | 75928.1106 | 75447.51 | 76401.0643 | 75917.47 | 29444621.1942 | 29276573.6614 | 0.95633 | 0.51541
10 | Oct | 67667.7754 | 67239.46 | 56011.8672 | 55657.33 | 55605.3943 | 55253.43 | 55605.3943 | 55253.43 | 22928738.1254 | 22797878.3039 | 0.99274 | 0.55055
11 | Nov | 59101.0105 | 58726.92 | 46784.7726 | 46488.64 | 46423.5261 | 46129.68 | 32355.9226 | 32151.12 | 21705358.333 | 21581480.6342 | 0.99228 | 0.64387
12 | Dec | 69396.5781 | 68957.32 | 57640.194 | 57275.35 | 54485.4354 | 54140.56 | 36685.2257 | 36453.02 | 23306432.0315 | 23173416.6201 | 0.94527 | 0.54381
13 | [9 empty] | 322668145.9937 | 320826601.3022
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## WHOLESALE DLS
SCHEDULE II-H-1.4
PAGE 10 OF 10
PUC DOCKET NO.
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
Rate Class = Wholesale Service - Distribution Line
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 106943.2655 | 104826.039 | 84908.047 | 83227.0663 | 81353.8116 | 79743.1965 | 81738.1969 | 80119.9719 | 38825084.411 | 38248932.7129 | 0.95814 | 0.61771
2 | Feb | 182670.9015 | 179054.4451 | 127209.2719 | 124690.826 | 121426.5389 | 119022.5775 | 121886.0582 | 119472.9995 | 42248809.7129 | 41621851.0384 | 0.95454 | 0.49673
3 | Mar | 81794.159 | 80174.8261 | 65877.2708 | 64573.055 | 65614.2774 | 64315.2682 | 40307.015 | 39509.0304 | 27090294.8138 | 26688283.5987 | 0.99601 | 0.55626
4 | Apr | 77785.1692 | 76245.2049 | 55369.7597 | 54273.568 | 46950.888 | 46021.3703 | 41445.0565 | 40624.5414 | 24769626.6507 | 24402053.4008 | 0.84795 | 0.62446
5 | May | 80408.3315 | 78816.4347 | 68309.0959 | 66956.7357 | 62873.2055 | 61628.4631 | 62873.2055 | 61628.4631 | 27451810.7128 | 27044434.7188 | 0.92042 | 0.54289
6 | Jun | 97500.0518 | 95569.779 | 84144.7193 | 82478.8508 | 77777.3721 | 76237.5622 | 75438.3224 | 73944.8201 | 36447206.5184 | 35906341.7593 | 0.92433 | 0.60464
7 | Jul | 119753.5399 | 117382.7 | 92044.7609 | 90222.49 | 83756.5538 | 82098.37 | 87837.9764 | 86098.99 | 40977245.1644 | 40369156.0966 | 0.90995 | 0.6014
8 | Aug | 128360.5281 | 125819.29 | 93752.0921 | 91896.02 | 87714.7773 | 85978.23 | 86326.7884 | 84617.72 | 43473102.3901 | 42827975.6082 | 0.9356 | 0.62641
9 | Sep | 122036.8133 | 119620.77 | 96152.525 | 94248.93 | 91072.8697 | 89269.84 | 93379.6996 | 91531 | 37179855.1639 | 36628118.1358 | 0.94717 | 0.53977
10 | Oct | 103290.8165 | 101245.9 | 79809.1749 | 78229.14 | 74371.4405 | 72899.06 | 74371.4405 | 72899.06 | 31570926.2572 | 31102423.9204 | 0.93187 | 0.53438
11 | Nov | 99986.4579 | 98006.96 | 67759.0507 | 66417.58 | 67361.4287 | 66027.83 | 44230.0311 | 43354.38 | 30991569.9293 | 30531665.0531 | 0.99413 | 0.63758
12 | Dec | 76314.5699 | 74803.72 | 76314.5699 | 74803.72 | 72808.0286 | 71366.6 | 46706.326 | 45781.65 | 30634958.405 | 30180345.5284 | 0.95405 | 0.54229
13 | [9 empty] | 411660490.1294 | 405551581.5715
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW