## RESIDENTIAL
SCHEDULE IV-J-4A
PAGE 1 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Residential Service
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 32742492 | 9327643.708 | 9063280.676 | 9061488.672
| 2 | Feb | 36644119 | 14750243.976 | 14710868.8 | 14723676.732
| 3 | Mar | 29575654 | 6256637.908 | 6256637.908 | 4671912.136
| 4 | Apr | 28670138 | 6185351.596 | 6107890.588 | 5693154.444
| 5 | May | 27576587 | 8746484.26 | 8465713.888 | 8465713.888
| 6 | Jun | 28925026 | 11410635.344 | 10540552.108 | 10207796.756
| 7 | Jul | 29013515 | 12019276.272 | 10988291.052 | 11785098.312
| 8 | Aug | 29033142 | 11792393.612 | 11222852.476 | 11369850.504
| 9 | Sep | 28361717 | 11767185.024 | 11420845.856 | 11599882.864
| 10 | Oct | 27748261 | 8833323.704 | 8330164.3 | 8330164.3
| 11 | Nov | 30080836 | 5780263.572 | 5779235.452 | 4013870.124
| 12 | Dec | 31461260 | 7085982.556 | 6678408.516 | 4847340.06
# AT METER

## SEC < 10kW
SCHEDULE IV-J-4A
PAGE 2 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Secondary Service Less Than or Equal to 10kW
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 816380.6 | 279951.432 | 263512.928 | 275767.888
| 2 | Feb | 910270.2 | 351181.628 | 345009.972 | 347055.892
| 3 | Mar | 768794 | 236966.548 | 208259.86 | 163990.22
| 4 | Apr | 739839.9 | 219477.772 | 194793.864 | 211351.912
| 5 | May | 717736.4 | 267551.94 | 258202.532 | 258202.532
| 6 | Jun | 759867.9 | 319818.02 | 312074.112 | 301291.908
| 7 | Jul | 761250.7 | 335196.176 | 334904.82 | 318349.804
| 8 | Aug | 763304.4 | 328336.112 | 322805.276 | 313960.184
| 9 | Sep | 756325.8 | 336456.736 | 330629.476 | 323178.092
| 10 | Oct | 732844.4 | 272882.408 | 268481.24 | 268481.24
| 11 | Nov | 759613.4 | 223186.48 | 192489.604 | 206815.592
| 12 | Dec | 784246.6 | 236150.136 | 211128.484 | 225851.44
# AT METER

## SEC > 10kW
SCHEDULE IV-J-4A
PAGE 3 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Secondary Service Less Greater Than 10kW
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 10269950.7 | 6230879.952 | 6156200.784 | 6112115.536
| 2 | Feb | 11751421.7 | 6909085.704 | 5827746.82 | 5836063.28
| 3 | Mar | 10235421.4 | 5842369.764 | 5266750.312 | 4668775.34
| 4 | Apr | 10378978.3 | 6563703.54 | 5724118.024 | 6101138.74
| 5 | May | 11023289.2 | 7525859.504 | 7139358.348 | 7139358.348
| 6 | Jun | 12206381.7 | 8356928.356 | 7975611.528 | 7834380.72
| 7 | Jul | 12163579.5 | 8745924.856 | 8717200.472 | 8162890.296
| 8 | Aug | 12741621.1 | 9102673.48 | 8562774.44 | 8263138.272
| 9 | Sep | 12435119 | 9059620.272 | 8645629.176 | 8425798.652
| 10 | Oct | 11558236 | 7553996.588 | 7218975.356 | 7218975.356
| 11 | Nov | 10646577.7 | 6582079.608 | 5107518.18 | 6413187.276
| 12 | Dec | 10705843.6 | 6334825.388 | 5533036.664 | 5585148.728
# AT METER

## PRIMARY < 10kW
SCHEDULE IV-J-4A
PAGE 4 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Primary Service Less Than or Equal to 10kW
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 7441.8 | 3350.276 | 2839.452 | 2835.88
| 2 | Feb | 7902 | 3525.468 | 1093.692 | 1123.26
| 3 | Mar | 7603.4 | 3382.896 | 3154.852 | 2939.092
| 4 | Apr | 7571.3 | 5309.932 | 4693.34 | 3729.8592
| 5 | May | 7403 | 3316.952 | 3031.048 | 3031.048
| 6 | Jun | 7590 | 3464.388 | 3198.704 | 3302.084
| 7 | Jul | 7436.4 | 3357.164 | 3289.148 | 3155.384
| 8 | Aug | 8315 | 3954.612 | 3206.28 | 3183.876
| 9 | Sep | 7320 | 4244.128 | 3558.508 | 3595.18
| 10 | Oct | 7529.9 | 3535.064 | 3018.44 | 3018.44
| 11 | Nov | 7481.8 | 3545.656 | 3136.176 | 3232.068
| 12 | Dec | 8500.4 | 4150.648 | 3337.368 | 3017.804
# AT METER

## PRIMARY > 10kW DLS
SCHEDULE IV-J-4A
PAGE 5 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Primary Service Greater Than 10kW - Distribution Line
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 2689654.1 | 1918760.54 | 1827582.376 | 1825499.116
| 2 | Feb | 2786877.9 | 1945793.296 | 1092397.608 | 1086605.252
| 3 | Mar | 2739197 | 1949301.032 | 1812358.104 | 1846013.512
| 4 | Apr | 2792192.4 | 2037301.156 | 1928424.884 | 1990647.2
| 5 | May | 2965706 | 2101965.568 | 2082677.728 | 2082677.728
| 6 | Jun | 3191501.6 | 2169247.124 | 2088439.024 | 2066727.684
| 7 | Jul | 3126969.2 | 2185491.48 | 2126366.86 | 2069377.572
| 8 | Aug | 3159050.4 | 2218327.508 | 2152386.204 | 2110096.468
| 9 | Sep | 3143215.1 | 2233162.716 | 2127333.48 | 2121615.072
| 10 | Oct | 3281335.6 | 2195350.984 | 2129576.836 | 2129576.836
| 11 | Nov | 3127526.9 | 2134960.192 | 1962563.912 | 2101803.348
| 12 | Dec | 3245142.2 | 2126997.22 | 2014159.684 | 2055558.396
# AT METER

## GS PRI LRGE_SUB
SCHEDULE IV-J-4A
PAGE 6 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Greater Than 10 kW - Substation Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 834550.51 | 657006.22 | 604067.4 | 607058.95
| 2 | Feb | 869166.02 | 693664.6 | 312353.11 | 314108.53
| 3 | Mar | 874607.26 | 718404.63 | 648894.25 | 662641.41
| 4 | Apr | 891404.38 | 711078.95 | 687480.43 | 686302.78
| 5 | May | 919294.55 | 742896.05 | 740650.04 | 740650.04
| 6 | Jun | 939707.27 | 780095.37 | 688801.38 | 702156.88
| 7 | Jul | 943794.64 | 776672.12 | 748816.78 | 655872.88
| 8 | Aug | 993213.5 | 824991.93 | 715315.52 | 693929.91
| 9 | Sep | 976789.13 | 817601.1 | 731374.74 | 726304.68
| 10 | Oct | 975265.59 | 804362.08 | 743096.1 | 743096.1
| 11 | Nov | 941362.63 | 778789.74 | 727626.99 | 751902.86
| 12 | Dec | 961614.62 | 800757.84 | 733269.58 | 785194.57
# AT METER

## TRANSMISSION
SCHEDULE IV-J-4A
PAGE 7 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Transmission Service
Voltage Level = Transmission
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 3053462.67 | 2407195.8 | 2198613.59 | 2198613.59
| 2 | Feb | 3247032.93 | 2429519.58 | 1331294.73 | 1338019.49
| 3 | Mar | 3211836.14 | 2469315.36 | 2190808.97 | 2412347.19
| 4 | Apr | 3197233.96 | 2577329.35 | 2425072.01 | 2337975.23
| 5 | May | 3277538.16 | 2595567.69 | 2486143.01 | 2486143.01
| 6 | Jun | 3445068.09 | 2652489.38 | 2245802.06 | 2151578.72
| 7 | Jul | 3396310.6 | 2640897.74 | 2524645.71 | 2069336.16
| 8 | Aug | 3451261.44 | 2717435.78 | 2296644.9 | 2123270
| 9 | Sep | 3498327.06 | 2754518.93 | 2146634.34 | 2144658.59
| 10 | Oct | 3523826.94 | 2790485.87 | 2707700.736 | 2707700.73
| 11 | Nov | 3436296.26 | 2757659.26 | 2684351.71 | 2644715.61
| 12 | Dec | 3441027.09 | 2789934.55 | 2583642.02 | 2522047.27
# AT METER

## WHOLESALE-SUBSTATION
SCHEDULE IV-J-4A
PAGE 8 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Wholesale Service - Substation Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 72246.62 | 69217.31 | 68763.11 | 69217.31
| 2 | Feb | 111820.35 | 100685.64 | 100685.64 | 100373.29
| 3 | Mar | 52580.26 | 49235.04 | 49235.04 | 31685.81
| 4 | Apr | 49392.64 | 44091.84 | 39471.83 | 35291.32
| 5 | May | 56177.64 | 54190.78 | 53013.9 | 53013.9
| 6 | Jun | 75732.93 | 70734.38 | 69057.12 | 66970.61
| 7 | Jul | 77792.16 | 75639.912 | 70984.05 | 74664.01
| 8 | Aug | 95020.81 | 82065.81 | 74242.27 | 72851.82
| 9 | Sep | 87127.2 | 78892.77 | 75447.51 | 75917.47
| 10 | Oct | 67239.46 | 55657.33 | 55253.43 | 55253.43
| 11 | Nov | 58726.92 | 46488.64 | 46129.68 | 32151.12
| 12 | Dec | 68957.32 | 57275.35 | 54140.56 | 36453.02
# AT METER

## WHOLESALE-DISTRIBUTION
SCHEDULE IV-J-4A
PAGE 9 OF 9
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Wholesale Service - Distribution Line Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 106065.41 | 84211.07 | 80686.01 | 81067.24
| 2 | Feb | 180568.24 | 125745.01 | 120028.84 | 120483.07
| 3 | Mar | 83348.15 | 67128.86 | 66860.87 | 41072.8
| 4 | Apr | 80313.88 | 57169.77 | 48477.21 | 42792.39
| 5 | May | 80417.2 | 68316.63 | 62880.14 | 62880.14
| 6 | Jun | 95915.25 | 82777 | 76513.15 | 74212.12
| 7 | Jul | 117382.7 | 90222.49 | 82098.37 | 86098.99
| 8 | Aug | 125819.29 | 91896.02 | 85978.23 | 84617.72
| 9 | Sep | 119620.77 | 94248.93 | 89269.84 | 91531
| 10 | Oct | 101245.9 | 78229.14 | 72899.06 | 72899.06
| 11 | Nov | 98006.96 | 66417.58 | 66027.83 | 43354.38
| 12 | Dec | 97727.2 | 74803.72 | 71366.6 | 45781.65
# AT METER