## Cost by Light Type - IV-J-7¦5
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
INSTALLED COST OF STREET LIGHTS BY TYPE, WATTAGE, & SCHEDULE
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR : Matthew A. Troxle
| Line # | [A] | [B] | [C] | [D]
SCHEDULE A
|  | Light Type | Wattage | Installed Cost | Basis1
| 1 | LED Cobra Head | 0 - 56 W | 2393.65 | Scenario 22.01 ; standard installation on a 35' wood pole.
| 2 | LED Cobra Head | 56- 100 W | 2429.43 | Scenario 22.02 ; standard installation on a 35' wood pole.
| 3 | LED Cobra Head | 101 - 140 W | 2635.87 | Scenario 22.03 ; standard installation on a 35' wood pole.
| 4 | LED Cobra Head | 141 - 180 W | 2812.62 | Scenario 22.04 ; standard installation on a 35' wood pole.
| 5 | LED Cobra Head | 181 - 265 W | 2980.99 | Scenario 22.05 ; standard installation on a 35' wood pole.
6
| 7 | MV | 175 W | 2393.65 | same as Scenario 22.01
| 8 | MV | 400 W | 2635.87 | same as Scenario 22.03
| 9 | MV | 1000 W | 2980.99 | same as Scenario 22.05
10
| 11 | HPS | 100 W | 2393.65 | same as Scenario 22.01
| 12 | HPS | 150 W | 2429.43 | same as Scenario 22.02
| 13 | HPS | 200 W | 2635.87 | same as Scenario 22.03
| 14 | HPS | 250 W | 2812.62 | same as Scenario 22.04
| 15 | HPS | 400 W | 2980.99 | same as Scenario 22.05
| 16 | HPS | 1000 W | 2980.99 | same as Scenario 22.05
17
| 18 | MH | 150 W | 2429.43 | same as Scenario 22.02
| 19 | MH | 175 W | 2429.43 | same as Scenario 22.02
| 20 | MH | 250 W | 2812.62 | same as Scenario 22.04
| 21 | MH | 400 W | 2980.99 | same as Scenario 22.05
| 22 | MH | 1000 W | 2980.99 | same as Scenario 22.05
1 - The installed costs for Non-LED lights are based on the equivalent LED lights as shown in the Mercury Vapor and Metal Halide Conversion Table in the Company's Lighting Service Tariff.
page break
| Line # | [A] | [B] | [C] | [D]
HISTORICAL, RECTANGULAR, POST-TOP, and INCANDESCENT
|  | Light Type | Wattage | Installed Cost | Basis
RECTANGULAR:
| 23 | LED Rectangular | 0 - 56 W | 5415.74 | Scenario 22.06 ; standard installation on a 30' steel pole.
| 24 | LED Rectangular | 56- 100 W | 5586.31 | Scenario 22.07 ; standard installation on a 30' steel pole.
| 25 | LED Rectangular | 101 - 140 W | 5661.8 | Scenario 22.08 ; standard installation on a 30' steel pole.
| 26 | MV | 175 W | 5415.74 | same as Scenario 22.06
| 27 | HPS | 100 W | 5415.74 | same as Scenario 22.06
| 28 | HPS | 250 W | 5661.8 | same as Scenario 22.08
| 29 | MH | 400 W | 5661.8 | same as Scenario 22.08
| 30 | MH | 1000 W | 5661.8 | same as Scenario 22.08
31
| 32 | POST TOP:
33
| 34 | LED Post Top | 0 - 56 W | 3368.63 | Scenario 22.09 ; standard installation on a 20' fiberglass pole.
| 35 | LED Post Top | 56- 100 W | 3386.9 | Scenario 22.10 ; standard installation on a 20' fiberglass pole.
| 36 | MV | 175 W | 3368.63 | same as Scenario 22.09
| 37 | HPS | 100 W | 3368.63 | same as Scenario 22.09
38
39
| 40 | HISTORICAL:
41
| 42 | LED Historical | 0 - 56 W | 7315.39 | Scenario 22.11 ; standard installation on a 11' aluminum pole.
| 43 | LED Historical | 56- 100 W | 7315.39 | Scenario 22.12 ; standard installation on a 11' aluminum pole.
| 44 | MV | 175 W | 7315.39 | same as Scenario 22.11
| 45 | HPS | 100 W | 7315.39 | same as Scenario 22.11
| 46 | HPS | 150 W | 7315.39 | same as Scenario 22.11
| 47 | MH | 175 W | 7315.39 | same as Scenario 22.12
48
| 49 | INCANDESCENT |  | 2393.65 | same as Scenario 22.01
| Line # | [A] | [B] | [C] | [D]
SCHEDULE B
|  | Light Type | Wattage | Installed Cost | Basis
| 50 | MV | 175 W | 4238 | based on 60% of standard installations on a 30' steel pole and 40% on a 20' fiberglass pole. Refer to Scenarios 22.13 & 22.14.
| 51 | MV | 400 W | 5257.77 | same as Scenario 22.16
| 52 | MV | 1000 W | 5602.9 | same as Scenario 22.18
53
| 54 | HPS | 100 W | 4238 | based on 60% of standard installations on a 30' steel pole and 40% on a 20' fiberglass pole. Refer to Scenarios 22.13 & 22.14.
| 55 | HPS | 150 W | 5051.33 | same as Scenario 22.15
| 56 | HPS | 200 W | 5257.77 | same as Scenario 22.16
| 57 | HPS | 250 W | 5434.52 | same as Scenario 22.17
| 58 | HPS | 400 W | 5602.9 | same as Scenario 22.18
| 59 | HPS | 1000 W | 5602.9 | same as Scenario 22.18
60
| 61 | MH | 150 W | 5051.33 | same as Scenario 22.15
| 62 | MH | 175 W | 5051.33 | same as Scenario 22.15
| 63 | MH | 250 W | 5434.52 | same as Scenario 22.17
| 64 | MH | 400 W | 5602.9 | same as Scenario 22.18
| 65 | MH | 1000 W | 5602.9 | same as Scenario 22.18
x

## Scenarios-IV-J-7¦6
2022 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
INSTALLED COST OF STREET LIGHTS BY TYPE, WATTAGE, & SCHEDULE - INSTALLATION COST SCENARIOS
FOR THE TEST YEAR ENDING DECEMBER 31, 2021
SPONSOR : Matthew A. Troxle
Line # | [A] | [B] | [C] | [D] | [E] | [F]
STREET LIGHT INSTALLED COST ESTIMATES
- - - - - Costs - - - - -
| DESCRIPTION | Scenario # | Material | Labor | 30% OH | Total
1 | LED Cobra Head
2 | 0 - 55W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.01 | 651.76 | 1189.51 | 552.38 | 2393.65
3 | 56 - 100W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.02 | 679.28 | 1189.51 | 560.64 | 2429.43
4 | 101 - 140W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.03 | 838.08 | 1189.51 | 608.28 | 2635.87
5 | 141 - 180W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.04 | 974.04 | 1189.51 | 649.07 | 2812.62
6 | 181 - 265W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.05 | 1103.56 | 1189.51 | 687.92 | 2980.99
7 | LED Rectangular
8 | 0 - 55W, LED, Rectangular with fuse, photocell, 25' square steel anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.06 | 2824.79 | 1341.16 | 1249.79 | 5415.74
9 | 56- 100W, LED, Rectangular with fuse, photocell, 25' square steel anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.07 | 2956 | 1341.16 | 1289.15 | 5586.31
10 | 101 - 140W, LED, Rectangular with fuse, photocell, 25' square steel anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.08 | 3014.07 | 1341.16 | 1306.57 | 5661.8
11 | LED Post Top
12 | 0 - 55W, LED, Post Top with fuse, photocell, 20' fiberglass pole, 120' span of 4 AL duplex w/ trench and conduit | 22.09 | 1412.53 | 1178.72 | 777.38 | 3368.63
13 | 56 - 100W, LED, Post Top with fuse, photocell, 20' fiberglass pole, 120' span of 4 AL duplex w/ trench and conduit | 22.10 | 1426.59 | 1178.72 | 781.59 | 3386.9
14 | LED Historical
15 | 0 - 55W, LED, Historical with fuse, photocell, 11' AL Historical anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.11 | 4286.06 | 1341.16 | 1688.17 | 7315.39
16 | 56 - 100W, LED, Historical with fuse, photocell, 11' AL Historical anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.12 | 4286.06 | 1341.16 | 1688.17 | 7315.39
17 | Schedule B Installations
18 | 100W HPS1 (using 0-55W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.13 | 2516.96 | 1341.16 | 1157.44 | 5015.56
19 | 100W HPS1 (using 0-55W LED Cobra Head costs) mounted on a 20' fiberglass base pole & 120' of 4 Al duplex w/ trench & conduit | 22.14 | 1183.19 | 1178.72 | 708.57 | 3070.48
20 | 150W HPS1 (using 56-100W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.15 | 2544.48 | 1341.16 | 1165.69 | 5051.33
21 | 200W HPS1 (using 101-140W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.16 | 2703.28 | 1341.16 | 1213.33 | 5257.77
22 | 250W HPS1 (using 141-180W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.17 | 2839.24 | 1341.16 | 1254.12 | 5434.52
23 | 400W HPS1 (using 181-265W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.18 | 2968.76 | 1341.16 | 1292.98 | 5602.9
1 - Also applicable to comparable non-LED lights as shown in the Mercury Vapor and Metal Halide Conversion Table in the Company's Lighting Service Tariff.