## RESIDENTIAL
SCHEDULE II-H-1.3
PAGE 1 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Residential Service
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 38571560.4651 | 37191877.664 | 14971612.5955 | 14436086.52 | 14747112.9301 | 14219617.08 | 14940174.451 | 14405772.9 | 4020679615.964 | 3884799069 | 0.985 | 0.46296
2 | Feb | 33885127.6917 | 32673075.928 | 8692064.8446 | 8381154.624 | 7941475.5687 | 7657413.5 | 7941475.5687 | 7657413.5 | 4522310068.631 | 4369476711 | 0.91365 | 0.48047
3 | Mar | 31797668.9755 | 30660284.424 | 6017253.6853 | 5802019.94 | 6017253.7475 | 5802020 | 4976761.947 | 4798746 | 2965102595.6738 | 2864895715 | 1 | 0.59495
4 | Apr | 30229246.2623 | 29147963.3 | 7530706.4839 | 7261337.392 | 6986566.8048 | 6736661.28 | 6986566.8048 | 6736661.28 | 2657531470.0171 | 2567719084 | 0.92774 | 0.51175
5 | May | 30432693.0254 | 29344132.888 | 11336948.7656 | 10931432.55 | 11268698.7514 | 10865623.8 | 11336948.7656 | 10931432.55 | 2947334645.3721 | 2847728240 | 0.99398 | 0.45782
6 | Jun | 31624579.0803 | 30493385.856 | 12880925.9108 | 12420182.51 | 11169460.7027 | 10769935.44 | 12880925.9108 | 12420182.51 | 4160780573.3352 | 4020165256 | 0.86713 | 0.56086
7 | Jul | 31414930.4479 | 30291236.236 | 12816158.072 | 12357731.38 | 12235684.7926 | 11798021.3 | 12441296.932 | 11996278.81 | 5516646654.8739 | 5330209277 | 0.95471 | 0.57698
8 | Aug | 32153152.7481 | 31003052.744 | 14267884.1903 | 13757530.08 | 12378740.919 | 11935960.39 | 13245419.9764 | 12771638.83 | 5414383535.0257 | 5231402182 | 0.86759 | 0.58882
9 | Sep | 30234546.4717 | 29153073.924 | 11801419.1576 | 11379289.1 | 10351816.4836 | 9981537.89 | 11305885.4525 | 10901480.354 | 5602006475.6705 | 5412684327 | 0.87717 | 0.49797
10 | Oct | 29854723.9728 | 28786837.46 | 9963975.0872 | 9607569.36 | 9365459.6294 | 9030462.46 | 9365459.6294 | 9030462.46 | 4179840166.2381 | 4038580722 | 0.93993 | 0.48607
11 | Nov | 32029230.649 | 30883563.268 | 6291220.7204 | 6066187.33 | 4866448.985 | 4692378.87 | 4801936.1682 | 4630173.64 | 3282229170.7342 | 3171304865 | 0.77353 | 0.59441
12 | Dec | 34024398.406 | 32807365.008 | 8114560.8198 | 7824307.59 | 8085745.2741 | 7796522.76 | 8085745.2741 | 7796522.76 | 2949430330.9412 | 2849753101 | 0.99645 | 0.55202
13 | [9 empty] | 48218275302.4766 | 46588718549
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## SEC < 10kW
SCHEDULE II-H-1.3
PAGE 2 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Less Than or Equal to 10 kW
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 638416.097 | 615580.316 | 288755.4628 | 278426.844 | 282070.3149 | 271980.82 | 270758.5806 | 261073.7 | 138953978.7496 | 134257971 | 0.97685 | 0.72075
2 | Feb | 572055.0771 | 551592.992 | 212074.8405 | 204489.044 | 198242.9123 | 191151.876 | 198242.9123 | 191151.876 | 144780737.4951 | 139887812 | 0.93478 | 0.80245
3 | Mar | 554780.2503 | 534936.076 | 195504.642 | 188511.552 | 173899.3157 | 167679.036 | 167408.3703 | 161420.268 | 122617826.6668 | 118473906 | 0.88949 | 0.82183
4 | Apr | 554496.7621 | 534662.728 | 203060.2373 | 195796.888 | 191762.9062 | 184903.656 | 191762.9062 | 184903.656 | 118892341.3339 | 114874325 | 0.94436 | 0.80308
5 | May | 582962.9121 | 562110.66 | 223530.4575 | 215534.9 | 207947.9811 | 200509.8 | 205581.7628 | 198228.22 | 117806635.4501 | 113825311 | 0.93029 | 0.79176
6 | Jun | 598699.4553 | 577284.316 | 265946.0179 | 256433.28 | 263339.9815 | 253920.46 | 222308.7061 | 214356.85 | 134086595.4997 | 129555083 | 0.9902 | 0.75697
7 | Jul | 596759.2679 | 575413.528 | 269588.8396 | 259945.8 | 252296.5233 | 243272.02 | 256254.5185 | 247088.44 | 149949031.1374 | 144881441 | 0.93586 | 0.7626
8 | Aug | 610853.1501 | 589003.28 | 278078.7592 | 268132.04 | 272403.3843 | 262659.67 | 270005.2338 | 260347.3 | 149161572.6489 | 144120595 | 0.97959 | 0.79647
9 | Sep | 589322.557 | 568242.824 | 259429.1534 | 250149.52 | 256252.2784 | 247086.28 | 256770.2354 | 247585.71 | 154260217.4806 | 149046929 | 0.98775 | 0.73377
10 | Oct | 586453.8158 | 565476.696 | 237444.1006 | 228950.86 | 232152.2853 | 223848.33 | 232152.2853 | 223848.33 | 137508658.5498 | 132861496 | 0.97771 | 0.76738
11 | Nov | 568583.2767 | 548245.376 | 198131.6775 | 191044.62 | 180265.1624 | 173817.18 | 181755.2314 | 175253.95 | 129961422.5571 | 125569322 | 0.90983 | 0.83151
12 | Dec | 568373.2315 | 548042.844 | 218588.4341 | 210769.65 | 196424.1814 | 189398.2 | 196424.1814 | 189398.2 | 123932499.5872 | 119744149 | 0.8986 | 0.79726
13 | [9 empty] | 1621911517.1562 | 1567098340
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## SEC > 10kW
SCHEDULE II-H-1.3
PAGE 3 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Greater Than 10 kW
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 12528145.6887 | 12080021.036 | 7720632.7775 | 7444470.13 | 6560063.6181 | 6325413.87 | 7538488.8217 | 7268841.36 | 3702372302.351 | 3577249084 | 0.84968 | 0.7095
2 | Feb | 11851916.4988 | 11427980.18 | 7011766.9185 | 6760960 | 6187522.5249 | 5966198.36 | 6187522.5249 | 5966198.36 | 3844232369.5744 | 3714314931 | 0.88245 | 0.7059
3 | Mar | 11416452.109 | 11008092.104 | 6864312.6221 | 6618780.06 | 5614850.751 | 5414010.73 | 6385485.7572 | 6157080.56 | 3617800123.234 | 3495535057 | 0.81798 | 0.70329
4 | Apr | 11656494.4678 | 11239548.284 | 7778053.7387 | 7499837.176 | 7183527.1027 | 6926576.42 | 7183527.1027 | 6926576.42 | 3633370547.2158 | 3510579272 | 0.92356 | 0.66447
5 | May | 12530383.1535 | 12082178.468 | 8658733.045 | 8349015.084 | 7273045.4844 | 7012892.78 | 7132505.9988 | 6877380.312 | 3763078725.2692 | 3635903908 | 0.83997 | 0.66506
6 | Jun | 13072864.2708 | 12605255.344 | 9444088.2194 | 9106278.55 | 9247733.8865 | 8916947.7 | 7567923.7213 | 7297223.39 | 4364523901.1991 | 4217022993 | 0.97921 | 0.6929
7 | Jul | 13148812.8027 | 12678487.24 | 9378827.1687 | 9043351.85 | 8888528.4937 | 8570590.88 | 8805116.4835 | 8490162.47 | 4882324593.8813 | 4717324395 | 0.94772 | 0.714
8 | Aug | 13769820.914 | 13277282.244 | 10019610.7638 | 9661214.98 | 9748746.3786 | 9400039.26 | 9414075.1904 | 9077339.07 | 4861033960.0173 | 4696753287 | 0.97297 | 0.72129
9 | Sep | 12825667.561 | 12366900.72 | 9358338.314 | 9023595.87 | 9181263.934 | 8852855.34 | 8931168.0048 | 8611705.2 | 5012681210.1759 | 4843275555 | 0.98108 | 0.6518
10 | Oct | 12157032.5423 | 11722182.396 | 8549361.5135 | 8243555.71 | 8086185.8637 | 7796947.59 | 8086185.8637 | 7796947.59 | 4387831879.0456 | 4239543268 | 0.94582 | 0.66507
11 | Nov | 11522820.979 | 11110656.22 | 7197078.2081 | 6939642.81 | 7193798.9613 | 6936480.86 | 6996472.3401 | 6746212.5 | 4020239932.6839 | 3884374245 | 0.99954 | 0.6727
12 | Dec | 11407164.9237 | 10999137.116 | 6437291.5718 | 6207033.31 | 6275065.5388 | 6050610.01 | 6275065.5388 | 6050610.01 | 3573157787.8641 | 3452401428 | 0.9748 | 0.74213
13 | [9 empty] | 49662647332.5115 | 47984277423
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY < 10kW
SCHEDULE II-H-1.3
PAGE 4 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Primary Service Less Than or Equal to 10 kW
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 7210.3918 | 7091.952 | 4809.2541 | 4730.256 | 1857.451 | 1826.94 | 1749.7865 | 1721.044 | 2618093.6731 | 2586812 | 0.38622 | 0.61277
2 | Feb | 6855.0265 | 6742.424 | 3388.7566 | 3333.092 | 3031.057 | 2981.268 | 3031.057 | 2981.268 | 2028477.7872 | 2004241 | 0.89445 | 0.84752
3 | Mar | 6925.8377 | 6812.072 | 3050.964 | 3000.848 | 2789.8508 | 2744.024 | 2711.935 | 2667.388 | 2068517.1885 | 2043802 | 0.91442 | 0.91584
4 | Apr | 6628.4649 | 6519.584 | 3187.58 | 3135.22 | 2779.1409 | 2733.49 | 2779.1409 | 2733.49 | 2084454.613 | 2059549 | 0.87187 | 0.87491
5 | May | 6705.5024 | 6595.356 | 3934.5866 | 3869.956 | 2696.9325 | 2652.632 | 2678.7865 | 2634.784 | 2317769.3186 | 2290076 | 0.68544 | 0.80336
6 | Jun | 6408.7071 | 6303.436 | 2895.3356 | 2847.776 | 2741.2119 | 2696.184 | 2720.459 | 2675.772 | 1979777.9082 | 1956123 | 0.94677 | 0.94079
7 | Jul | 6905.6094 | 6792.176 | 3128.7334 | 3077.34 | 2740.2114 | 2695.2 | 2782.5875 | 2736.88 | 1987596.3247 | 1963848 | 0.87582 | 0.85466
8 | Aug | 6506.7496 | 6399.868 | 3098.4235 | 3047.528 | 2772.3961 | 2726.856 | 2655.6586 | 2612.036 | 1957130.3087 | 1933746 | 0.89478 | 0.87549
9 | Sep | 6660.5235 | 6551.116 | 2978.7701 | 2929.84 | 2779.9644 | 2734.3 | 2824.5468 | 2778.15 | 1973056.6002 | 1949482 | 0.93326 | 0.90551
10 | Oct | 7201.1317 | 7082.844 | 2997.0097 | 2947.78 | 2695.8426 | 2651.56 | 2695.8426 | 2651.56 | 1976941.0122 | 1953320 | 0.89951 | 0.90862
11 | Nov | 9556.278 | 9399.304 | 4121.1349 | 4053.44 | 2688.6851 | 2644.52 | 2741.7263 | 2696.69 | 2024375.7752 | 2000188 | 0.65241 | 0.70275
12 | Dec | 6184.6711 | 6083.08 | 4228.0816 | 4158.63 | 3162.2845 | 3110.34 | 3162.2845 | 3110.34 | 2285907.6267 | 2258595 | 0.74792 | 0.70052
13 | [9 empty] | 25302098.1363 | 24999782
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY > 10kW DLS
SCHEDULE II-H-1.3
PAGE 5 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10 kW - Distribution Line
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 3430639.9856 | 3374287.372 | 2550219.7239 | 2508329.13 | 2144675.4041 | 2109446.39 | 2005906.3259 | 1972956.77 | 1853731759.5689 | 1831582884 | 0.84098 | 0.93238
2 | Feb | 3426529.7579 | 3370244.66 | 2645769.6629 | 2602309.54 | 2521576.6349 | 2480156.54 | 2521576.6349 | 2480156.54 | 1799984059.8893 | 1778477376 | 0.95306 | 0.92661
3 | Mar | 3468715.3538 | 3411737.304 | 2579863.5311 | 2537486 | 2426038.9472 | 2386188.18 | 2554555.098 | 2512593.29 | 1446732716.7507 | 1429446773 | 0.94037 | 0.92896
4 | Apr | 3564960.051 | 3506401.06 | 2634630.2946 | 2591353.15 | 2619454.1675 | 2576426.31 | 2619454.1675 | 2576426.31 | 1835758281.7191 | 1813824158 | 0.99424 | 0.91644
5 | May | 3681007.7822 | 3620542.56 | 2747025.5493 | 2701902.17 | 2542034.0438 | 2500277.91 | 2543984.5534 | 2502196.38 | 1592817678.3692 | 1573786273 | 0.92538 | 0.91381
6 | Jun | 3723678.3891 | 3662512.248 | 2835043.15 | 2788473.97 | 2782151.772 | 2736451.4 | 2626687.2297 | 2583540.56 | 1846816408.1275 | 1824750159 | 0.98134 | 0.92812
7 | Jul | 3719523.8413 | 3658425.944 | 2885645.3758 | 2838244.99 | 2778319.5631 | 2732682.14 | 2697183.2767 | 2652878.62 | 1940174282.6141 | 1916992569 | 0.96281 | 0.91651
8 | Aug | 3742011.6644 | 3680544.376 | 2897676.6243 | 2850078.61 | 2829243.6661 | 2782769.75 | 2754141.3452 | 2708901.08 | 1917088814.3557 | 1894182932 | 0.97638 | 0.93611
9 | Sep | 3686440.8025 | 3625886.336 | 2827962.3794 | 2781509.51 | 2790450.123 | 2744613.44 | 2717256.7083 | 2672622.32 | 1957776985.3451 | 1934384950 | 0.98674 | 0.92305
10 | Oct | 3704169.1734 | 3643323.496 | 2845007.8834 | 2798275.02 | 2760978.6466 | 2715626.07 | 2760978.6466 | 2715626.07 | 1919504741.4898 | 1896569993 | 0.97046 | 0.91584
11 | Nov | 3659381.5886 | 3599271.604 | 2714305.5315 | 2669719.62 | 2701675.7717 | 2657297.32 | 2699916.7678 | 2655567.21 | 1837550917.6051 | 1815595375 | 0.99535 | 0.93223
12 | Dec | 3631967.5827 | 3572307.908 | 2736551.3066 | 2691599.98 | 2609210.1668 | 2566350.58 | 2609210.1668 | 2566350.58 | 1875484546.6008 | 1853075763 | 0.95347 | 0.92813
13 | [9 empty] | 21823421192.4352 | 21562669205
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY SUBSTATIONS
SCHEDULE II-H-1.3
PAGE 6 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10kW - Substation
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) |  | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN |  | LOAD+
1 | Jan | 1353225.819 | 1350390 | 1148217.2031 | 1145811 | 942526.1571 | 940551 | 674554.5961 | 673141 | 763956832.5788 | 760814668 | 0.82086 |  | 0.9233
2 | Feb | 1376653.9149 | 1373769 | 1203494.0412 | 1200972 | 1116803.3723 | 1114463 | 1116803.3723 | 1114463 | 694750714.8995 | 691893196 | 0.92797 |  | 0.933
3 | Mar | 1407298.1329 | 1404349 | 1175111.5629 | 1172649 | 1128766.4421 | 1126401 | 1111316.8748 | 1108988 | 1192103461.3381 | 1187200324 | 0.96056 |  | 0.9389
4 | Apr | 1400131.1137 | 1397197 | 1172176.412 | 1169720 | 1118303.516 | 1115960 | 1118303.516 | 1115960 | 810595083.3224 | 807261095 | 0.95404 |  | 0.9486
5 | May | 1376259.0875 | 1373375 | 1152321.8047 | 1149907 | 1085083.901 | 1082810 | 1037049.2396 | 1034876 | 917419798.7931 | 913646439 | 0.94165 |  | 0.9259
6 | Jun | 1420414.6198 | 1417438 | 1218266.9994 | 1215714 | 1005476.0749 | 1003369 | 1164898.1597 | 1162457 | 805501988.3552 | 802188948 | 0.82533 | 0.92559 | 0.9134
7 | Jul | 1423646.3923 | 1420663 | 1225972.1463 | 1223403 | 1166706.9502 | 1164262 | 886158.0321 | 884301 | 789959488.8487 | 786710375 | 0.95166 |  | 0.925
8 | Aug | 1417685.9015 | 1414715 | 1218301.0708 | 1215748 | 1006686.6117 | 1004577 | 927911.5307 | 925967 | 797307541.4866 | 794028205 | 0.8263 |  | 0.9121
9 | Sep | 1397982.6113 | 1395053 | 1194332.843 | 1191830 | 1026369.8599 | 1024219 | 940768.4737 | 938797 | 780001883.0842 | 776793725 | 0.85937 |  | 0.9202
10 | Oct | 1438071.6218 | 1435058 | 1227478.3026 | 1224906 | 1130683.4594 | 1128314 | 1130683.4594 | 1128314 | 776720716.603 | 773526054 | 0.92114 |  | 0.9342
11 | Nov | 1436021.3252 | 1433012 | 1212085.0445 | 1209545 | 1169770.3699 | 1167319 | 1156971.5487 | 1154547 | 848174239.8914 | 844685688 | 0.96509 |  | 0.9416
12 | Dec | 1374274.9295 | 1371395 | 1198631.852 | 1196120 | 1140341.6992 | 1137952 | 1140341.6992 | 1137952 | 848564999.0892 | 845074840 | 0.95137 |  | 0.9469
13 | [9 empty] | 10025056748.2904 | 9983823557
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## TRANSMISSION
SCHEDULE II-H-1.3
PAGE 7 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Transmission Service
Voltage Level = Transmission
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 5132823 | 5132823 | 3949748 | 3949748 | 3055758 | 3055758 | 2359228 | 2359228 | 2705572549 | 2705572549 | 0.77366 | 0.8972
2 | Feb | 5032565 | 5032565 | 3962751 | 3962751 | 3644057 | 3644057 | 3644057 | 3644057 | 2569752323 | 2569752323 | 0.91958 | 0.9169
3 | Mar | 5291020 | 5291020 | 4182122 | 4182122 | 3674073 | 3674073 | 3555109 | 3555109 | 2664130914 | 2664130914 | 0.87852 | 0.9034
4 | Apr | 5517073 | 5517073 | 4220544 | 4220544 | 4046684 | 4046684 | 4046684 | 4046684 | 2783303939 | 2783303939 | 0.95881 | 0.9077
5 | May | 5608028 | 5608028 | 4172263 | 4172263 | 3781628 | 3781628 | 3773334 | 3773334 | 2744259450 | 2744259450 | 0.90637 | 0.9181
6 | Jun | 5430190 | 5430190 | 4288240 | 4288240 | 4151050 | 4151050 | 3912552 | 3912552 | 2918352748 | 2918352748 | 0.96801 | 0.8977
7 | Jul | 5405262 | 5405262 | 4416581 | 4416581 | 4105310 | 4105310 | 3133176 | 3133176 | 2701328790 | 2701328790 | 0.92952 | 0.9181
8 | Aug | 5562195 | 5562195 | 4403615 | 4403615 | 4076159 | 4076159 | 3109502 | 3109502 | 2943692508 | 2943692508 | 0.92564 | 0.9001
9 | Sep | 5492593 | 5492593 | 4440866 | 4440866 | 4032956 | 4032956 | 3233646 | 3233646 | 2796351486 | 2796351486 | 0.90815 | 0.9325
10 | Oct | 5686146 | 5686146 | 4515358 | 4515358 | 3990864 | 3990864 | 3990864 | 3990864 | 3072970312 | 3072970312 | 0.88384 | 0.9188
11 | Nov | 5925698 | 5925698 | 4644735 | 4644735 | 4385401 | 4385401 | 4491710 | 4491710 | 3049431235 | 3049431235 | 0.94417 | 0.9148
12 | Dec | 5915090 | 5915090 | 4667054 | 4667054 | 4262765 | 4262765 | 4262765 | 4262765 | 3190347604 | 3190347604 | 0.91337 | 0.9311
13 | [9 empty] | 34139493858 | 34139493858
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## STREET LIGHTING
SCHEDULE II-H-1.3
PAGE 8 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Lighting Service
Voltage Level = Secondary and Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 31397985.0179 | 30336877 | 1 | 0.45537
2 | Feb | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 31182477.8636 | 30128653 | 1 | 0.45537
3 | Mar | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 31086820.0684 | 30036228 | 0 | 0.45537
4 | Apr | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30955832.2815 | 29909667 | 0 | 0.45537
5 | May | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30793808.6243 | 29753119 | 0 | 0.45537
6 | Jun | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30445187.8393 | 29416280 | 0 | 0.45537
7 | Jul | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30553748.6989 | 29521172 | 0 | 0.45537
8 | Aug | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30475328.4539 | 29445402 | 0 | 0.45537
9 | Sep | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30460770.4605 | 29431336 | 0 | 0.45537
10 | Oct | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30414483.1619 | 29386613 | 0 | 0.45537
11 | Nov | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30340208.0018 | 29314848 | 0 | 0.45537
12 | Dec | 92300.3553 | 88998.824 | 92300.3553 | 88998.824 | 0 | 0 | 0 | 0 | 30340140.7283 | 29314783 | 0 | 0.45537
13 | [9 empty] | 368446791.2001 | 355994978
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## WHOLESALE SUB
SCHEDULE II-H-1.3
PAGE 9 OF 19
POPULATION DATA 53601
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Wholesale Service - Substation
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 117035.5596 | 116790.3 | 98950.2601 | 98742.9 | 93478.8943 | 93283 | 97154.5971 | 96951 | 36489647.4034 | 36339565 | 0.94471 | 0.4947
2 | Feb | 93632.1154 | 93435.9 | 70446.5277 | 70298.9 | 56582.5744 | 56464 | 56582.5744 | 56464 | 22451370.2836 | 22359027.5 | 0.8032 | 0.457
3 | Mar | 77446.3966 | 77284.1 | 50522.5751 | 50416.7 | 41006.9341 | 40921 | 33804.8414 | 33734 | 20637825.3994 | 20552941.75 | 0.81166 | 0.5487
4 | Apr | 75948.8584 | 75789.7 | 47178.2667 | 47079.4 | 44956.2102 | 44862 | 44956.2102 | 44862 | 20172638.3288 | 20089668 | 0.9529 | 0.5927
5 | May | 95572.181 | 95371.9 | 66212.4548 | 66073.7 | 65016.248 | 64880 | 65886.0708 | 65748 | 26103256.5402 | 25995893.5 | 0.98193 | 0.5288
6 | Jun | 109849.4003 | 109619.2 | 75515.9512 | 75357.7 | 69526.7001 | 69381 | 75450.1132 | 75292 | 32838107.0697 | 32703043.5 | 0.92069 | 0.6027
7 | Jul | 107223.7981 | 106999.1 | 77852.2471 | 77689.1 | 73798.6524 | 73644 | 76958.2737 | 76797 | 35528816.4932 | 35382686 | 0.94793 | 0.6122
8 | Aug | 112955.6097 | 112718.9 | 83265.7917 | 83091.3 | 74294.6919 | 74139 | 78320.1276 | 78156 | 39580242.0602 | 39417448 | 0.89226 | 0.6376
9 | Sep | 91844.1686 | 91651.7 | 70778.9243 | 70630.6 | 65331.9095 | 65195 | 69945.5779 | 69799 | 27660623.5111 | 27546855 | 0.92304 | 0.5417
10 | Oct | 78338.9671 | 78174.8 | 61314.3904 | 61185.9 | 61314.4906 | 61186 | 61314.4906 | 61186 | 24779403.7661 | 24677485.75 | 1 | 0.5421
11 | Nov | 68653.3699 | 68509.5 | 45110.5336 | 45016 | 39585.9563 | 39503 | 38914.5493 | 38833 | 20384809.7427 | 20300966.75 | 0.87753 | 0.6042
12 | Dec | 73038.9604 | 72885.9 | 53983.7283 | 53870.6 | 52652.3382 | 52542 | 52652.3382 | 52542 | 23847916.2958 | 23749829.5 | 0.97534 | 0.5926
13 | [9 empty] | 330474656.8943 | 329115410.25
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## WHOLESALE DLS
SCHEDULE II-H-1.3
PAGE 10 OF 19
POPULATION DATA 53601
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Wholesale Service - Distribution Line
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 168768.639 | 165996.4 | 127868.1973 | 125767.8 | 115000.0212 | 113111 | 127456.6369 | 125363 | 46397962.078 | 45843587 | 0.89936 | 0.4899
2 | Feb | 133551.0453 | 131357.3 | 86639.2597 | 85216.1 | 75084.3558 | 73851 | 75084.3558 | 73851 | 28903858.4173 | 28558507.5 | 0.86663 | 0.4815
3 | Mar | 106399.3442 | 104651.6 | 66268.0366 | 65179.5 | 55156.0074 | 54250 | 41265.8438 | 40588 | 27114055.6319 | 26790089.75 | 0.83232 | 0.5532
4 | Apr | 98138.6518 | 96526.6 | 60408.486 | 59416.2 | 55916.4994 | 54998 | 55916.4994 | 54998 | 26230316.7367 | 25916910 | 0.92564 | 0.6058
5 | May | 118103.1948 | 116163.2 | 79962.9936 | 78649.5 | 77782.6792 | 76505 | 78412.0168 | 77124 | 32189794.9023 | 31805182.75 | 0.97273 | 0.5435
6 | Jun | 129041.4698 | 126921.8 | 92084.8098 | 90572.2 | 78983.4026 | 77686 | 89696.3768 | 88223 | 38820692.1096 | 38356852.25 | 0.85772 | 0.5882
7 | Jul | 128400.6434 | 126291.5 | 94316.7726 | 92767.5 | 89116.8574 | 87653 | 88543.4383 | 87089 | 42411522.5479 | 41904778.5 | 0.94487 | 0.6071
8 | Aug | 137636.1483 | 135375.3 | 99353.4057 | 97721.4 | 86572.0558 | 85150 | 93256.8623 | 91725 | 47502965.9555 | 46935388 | 0.87135 | 0.6456
9 | Sep | 126458.0336 | 124380.8 | 88417.5708 | 86965.2 | 88417.3674 | 86965 | 81674.6091 | 80333 | 34556456.1445 | 34143566.5 | 1 | 0.5453
10 | Oct | 119198.588 | 117240.6 | 74670.152 | 73443.6 | 71446.6011 | 70273 | 71446.6011 | 70273 | 30704394.1932 | 30337530 | 0.95683 | 0.5552
11 | Nov | 123002.37 | 120981.9 | 63395.959 | 62354.6 | 47590.7382 | 46809 | 52123.1895 | 51267 | 26207870.0377 | 25894731.5 | 0.75069 | 0.5691
12 | Dec | 130124.9677 | 127987.5 | 73761.3233 | 72549.7 | 66119.0899 | 65033 | 66119.0899 | 65033 | 30580068.7197 | 30214690 | 0.89639 | 0.5598
13 | [9 empty] | 411619957.4743 | 406701813.75
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## 36-MO LF-RES
SCHEDULE II - H - 1.3
PAGE 11 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Residential Service
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.97166 | 0.57006 | 1 | 0.55187 | 0.98567 |  | 0.41536
| 2 | Feb | 0.99733 | 0.44911 | 0.91394 | 0.48325 | 1 |  | 0.46141
| 3 | Mar | 1 | 0.54747 | 0.86797 | 0.44264 | 0.9074 |  | 0.52538
| 4 | Apr | 0.98748 | 0.55232 | 0.86677 | 0.51482 | 0.99018 |  | 0.46328
| 5 | May | 0.9679 | 0.45958 | 0.91839 | 0.50821 | 0.9997 |  | 0.51515
| 6 | Jun | 0.92375 | 0.5451 | 0.97033 | 0.58637 | 0.91898 |  | 0.53943
| 7 | Jul | 0.91422 | 0.56409 | 0.97995 | 0.6451 | 0.91819 |  | 0.48674
| 8 | Aug | 0.9517 | 0.5935 | 0.96152 | 0.5738 | 0.93505 |  | 0.6266
| 9 | Sep | 0.97057 | 0.50562 | 0.96965 | 0.53363 | 0.98211 |  | 0.47827
| 10 | Oct | 0.94304 | 0.47223 | 0.96319 | 0.44306 | 0.97008 |  | 0.43659
| 11 | Nov | 0.99982 | 0.62774 | 0.90469 | 0.53528 | 0.9988 |  | 0.50428
| 12 | Dec | 0.94248 | 0.556 | 0.99986 | 0.36241 | 1 |  | 0.58439
+ BASED ON CLASS KW

## 36 MO LF-SGS
SCHEDULE II - H - 1.3
PAGE 12 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Less Than or Equal to 10 kW
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.94128 | 0.77742 | 0.9873 | 0.72931 | 0.99895 |  | 0.66726
| 2 | Feb | 0.98243 | 0.66508 | 0.95991 | 0.72057 | 0.99732 |  | 0.71172
| 3 | Mar | 0.87886 | 0.77649 | 0.95523 | 0.70304 | 0.92498 |  | 0.77597
| 4 | Apr | 0.88753 | 0.82212 | 0.96308 | 0.77382 | 0.91287 |  | 0.76814
| 5 | May | 0.96506 | 0.69401 | 0.96558 | 0.70109 | 0.90357 |  | 0.73522
| 6 | Jun | 0.97579 | 0.70316 | 0.95174 | 0.71472 | 0.97144 |  | 0.6995
| 7 | Jul | 0.99913 | 0.7026 | 0.96683 | 0.73942 | 0.94406 |  | 0.74586
| 8 | Aug | 0.98315 | 0.73389 | 0.97349 | 0.70794 | 0.91017 |  | 0.78129
| 9 | Sep | 0.98268 | 0.67495 | 0.95474 | 0.70794 | 0.96779 |  | 0.66348
| 10 | Oct | 0.98387 | 0.71464 | 0.9888 | 0.68812 | 0.97751 |  | 0.69615
| 11 | Nov | 0.86246 | 0.82148 | 0.89924 | 0.78404 | 0.84707 |  | 0.78835
| 12 | Dec | 0.89404 | 0.79499 | 0.99123 | 0.59568 | 0.8628 |  | 0.81479
+ BASED ON CLASS KW

## 36 MO LF - LGS
SCHEDULE II - H - 1.3
PAGE 13 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Greater Than 10 kW
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.98801 | 0.73971 | 0.94782 | 0.70142 | 0.85609 |  | 0.67845
| 2 | Feb | 0.84349 | 0.69984 | 0.84992 | 0.72084 | 0.84557 |  | 0.75812
| 3 | Mar | 0.90148 | 0.76357 | 0.98849 | 0.73649 | 0.89238 |  | 0.6995
| 4 | Apr | 0.87209 | 0.69362 | 0.93303 | 0.67712 | 0.89634 |  | 0.6529
| 5 | May | 0.94864 | 0.64391 | 0.85067 | 0.61603 | 0.89686 |  | 0.68728
| 6 | Jun | 0.95437 | 0.70064 | 0.92869 | 0.72087 | 0.95624 |  | 0.68538
| 7 | Jul | 0.99672 | 0.69589 | 0.94521 | 0.73096 | 0.93722 |  | 0.71539
| 8 | Aug | 0.94069 | 0.70193 | 0.94589 | 0.70622 | 0.90312 |  | 0.73769
| 9 | Sep | 0.9543 | 0.6496 | 0.92381 | 0.67472 | 0.93419 |  | 0.64606
| 10 | Oct | 0.95565 | 0.67516 | 0.96576 | 0.62944 | 0.95722 |  | 0.60525
| 11 | Nov | 0.77597 | 0.68357 | 0.82793 | 0.68828 | 0.79692 |  | 0.64365
| 12 | Dec | 0.88166 | 0.71724 | 0.97828 | 0.70516 | 0.93968 |  | 0.7656
+ BASED ON CLASS KW

## 36 MO LF - SGP
SCHEDULE II - H - 1.3
PAGE 14 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Primary Service Less Than or Equal to 10 kW
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.84753 | 0.97707 | 0.57743 | 0.64369 | 0.69562 |  | 0.87436
| 2 | Feb | 0.31023 | 0.65704 | 0.52167 | 0.54481 | 0.61523 |  | 0.84562
| 3 | Mar | 0.93259 | 0.88422 | 0.8303 | 0.8919 | 0.82615 |  | 0.85307
| 4 | Apr | 0.88388 | 0.69251 | 0.87021 | 0.88124 | 0.84067 |  | 0.68303
| 5 | May | 0.91381 | 0.87753 | 0.92907 | 0.86983 | 0.92833 |  | 0.79375
| 6 | Jun | 0.92331 | 0.85677 | 0.87555 | 0.88557 | 0.95996 |  | 0.90528
| 7 | Jul | 0.97974 | 0.88403 | 0.89072 | 0.81901 | 0.90757 |  | 0.81705
| 8 | Aug | 0.81077 | 0.79125 | 0.86471 | 0.83807 | 0.85789 |  | 0.83545
| 9 | Sep | 0.83845 | 0.79027 | 0.95212 | 0.89279 | 0.89724 |  | 0.85573
| 10 | Oct | 0.85386 | 0.88471 | 0.91342 | 0.90275 | 0.7134 |  | 0.77018
| 11 | Nov | 0.88451 | 0.90481 | 0.95066 | 0.90763 | 0.61755 |  | 0.78085
| 12 | Dec | 0.80406 | 0.77294 | 0.65038 | 0.83324 | 0.87801 |  | 0.72522
+ BASED ON CLASS KW

## 36 MO LF - LGP_DLS
SCHEDULE II - H - 1.3
PAGE 15 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10 kW - Distribution Line
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.95248 | 0.9319 | 0.96515 | 0.93507 | 0.93764 |  | 0.93666
| 2 | Feb | 0.56142 | 0.77316 | 0.9553 | 0.92653 | 0.81439 |  | 0.92303
| 3 | Mar | 0.92975 | 0.92803 | 0.97821 | 0.93455 | 0.94536 |  | 0.92584
| 4 | Apr | 0.94656 | 0.91082 | 0.98452 | 0.91924 | 0.97958 |  | 0.92366
| 5 | May | 0.99082 | 0.90714 | 0.9783 | 0.9124 | 0.95855 |  | 0.91626
| 6 | Jun | 0.96275 | 0.90729 | 0.94624 | 0.92517 | 0.94892 |  | 0.92499
| 7 | Jul | 0.97295 | 0.9225 | 0.93523 | 0.92759 | 0.96124 |  | 0.93395
| 8 | Aug | 0.97027 | 0.92547 | 0.96724 | 0.93924 | 0.96867 |  | 0.93883
| 9 | Sep | 0.95261 | 0.91432 | 0.96219 | 0.92709 | 0.94342 |  | 0.92084
| 10 | Oct | 0.97004 | 0.90913 | 0.97921 | 0.93448 | 0.97645 |  | 0.93078
| 11 | Nov | 0.91925 | 0.91926 | 0.93064 | 0.92173 | 0.93725 |  | 0.92208
| 12 | Dec | 0.94695 | 0.924 | 0.88485 | 0.91105 | 0.8947 |  | 0.91297
+ BASED ON CLASS KW

## 36 MO LF - LGP_SUBST
SCHEDULE II - H - 1.3
PAGE 16 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10 kW - Substation
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.91942 | 0.93546 | 0.95382 | 0.9291 | 0.88707 |  | 0.9371
| 2 | Feb | 0.45029 | 0.74116 | 0.92237 | 0.9185 | 0.80072 |  | 0.9168
| 3 | Mar | 0.90324 | 0.92965 | 0.95338 | 0.9467 | 0.94644 |  | 0.9239
| 4 | Apr | 0.96681 | 0.93526 | 0.96098 | 0.9278 | 0.89589 |  | 0.9358
| 5 | May | 0.99698 | 0.92418 | 0.97452 | 0.9299 | 0.9309 |  | 0.9187
| 6 | Jun | 0.88297 | 0.92559 | 0.8792 | 0.9121 | 0.89958 |  | 0.9294
| 7 | Jul | 0.96414 | 0.93746 | 0.86459 | 0.9406 | 0.94927 |  | 0.9473
| 8 | Aug | 0.86706 | 0.91884 | 0.95047 | 0.9383 | 0.86852 |  | 0.9133
| 9 | Sep | 0.89454 | 0.92612 | 0.91738 | 0.9493 | 0.76943 |  | 0.9397
| 10 | Oct | 0.92383 | 0.92134 | 0.95373 | 0.9542 | 0.87241 |  | 0.9395
| 11 | Nov | 0.9343 | 0.94184 | 0.86802 | 0.9359 | 0.9061 |  | 0.9069
| 12 | Dec | 0.91572 | 0.92058 | 0.87567 | 0.9202 | 0.9416 |  | 0.939
+ BASED ON CLASS KW

## 36 MO LF - HV
SCHEDULE II - H - 1.3
PAGE 17 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Transmission Service
Voltage Level = Transmission
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.91335 | 0.92187 | 0.91434 | 0.9231 | 0.87924 |  | 0.9002
| 2 | Feb | 0.54797 | 0.78219 | 0.8961 | 0.8932 | 0.72862 |  | 0.8634
| 3 | Mar | 0.88721 | 0.91778 | 0.91945 | 0.9073 | 0.94524 |  | 0.9182
| 4 | Apr | 0.94092 | 0.90986 | 0.96457 | 0.9255 | 0.91989 |  | 0.9068
| 5 | May | 0.95784 | 0.91624 | 0.94299 | 0.918 | 0.92194 |  | 0.9053
| 6 | Jun | 0.84668 | 0.91022 | 0.78259 | 0.9145 | 0.88669 |  | 0.9052
| 7 | Jul | 0.95598 | 0.9184 | 0.73347 | 0.915 | 0.94887 |  | 0.9184
| 8 | Aug | 0.84515 | 0.90168 | 0.87285 | 0.9223 | 0.85824 |  | 0.9169
| 9 | Sep | 0.77931 | 0.92432 | 0.74912 | 0.9107 | 0.69192 |  | 0.9156
| 10 | Oct | 0.97033 | 0.93083 | 0.89494 | 0.9262 | 0.93963 |  | 0.907
| 11 | Nov | 0.97342 | 0.9212 | 0.90118 | 0.9308 | 0.88063 |  | 0.8875
| 12 | Dec | 0.92606 | 0.92396 | 0.84785 | 0.89 | 0.8534 |  | 0.8806
+ BASED ON CLASS KW

## 36 MO LF - WHLS SUB
SCHEDULE II - H - 1.3
PAGE 18 OF 19
PUC DOCKET NO
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Wholesale Substation Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.99344 | 0.59314 | 0.99848 | 0.5745 | 0.98064 |  | 0.4804
| 2 | Feb | 1 | 0.48217 | 0.9048 | 0.5485 | 0.98304 |  | 0.5078
| 3 | Mar | 1 | 0.57304 | 0.85443 | 0.47 | 0.96246 |  | 0.5151
| 4 | Apr | 0.89522 | 0.61404 | 0.85375 | 0.6138 | 1 |  | 0.5776
| 5 | May | 0.97828 | 0.52874 | 0.97954 | 0.5735 | 0.94441 |  | 0.584
| 6 | Jun | 0.97629 | 0.58496 | 0.66952 | 0.612 | 0.9187 |  | 0.5919
| 7 | Jul | 0.93845 | 0.5936 | 0.96433 | 0.6628 | 0.94312 |  | 0.6262
| 8 | Aug | 0.90467 | 0.57943 | 0.89851 | 0.5441 | 0.95856 |  | 0.6575
| 9 | Sep | 0.95633 | 0.51541 | 0.98524 | 0.5672 | 0.97173 |  | 0.5011
| 10 | Oct | 0.99274 | 0.55055 | 0.98348 | 0.5079 | 0.98031 |  | 0.5284
| 11 | Nov | 0.99228 | 0.64387 | 0.89121 | 0.5568 | 1 |  | 0.5487
| 12 | Dec | 0.94527 | 0.54381 | 0.99429 | 0.4032 | 0.99471 |  | 0.677
+ BASED ON CLASS KW

## 36 MO LF - WHLS DLS
SCHEDULE II - H - 1.3
PAGE 19 OF 19
POPULATION DATA
ONCOR ELECTRIC DELIVERY COMPANY LLC
UNADJUSTED TEST YEAR LOAD DATA
COINCIDENCE AND LOAD FACTORS
THREE YEARS ENDING DECEMBER 31, 2023
SPONSOR: D. E. NELSON
Rate Class = Wholesale Distribution Line Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) |  | ( f )
|  |  | 2021 |  | 2022 |  | 2023
| Line |  | FACTOR |  | FACTOR |  | FACTOR
| No. |  | COIN | LOAD+ | COIN | LOAD+ | COIN |  | LOAD+
| 1 | Jan | 0.95814 | 0.61771 | 0.99709 | 0.584 | 0.97137 |  | 0.51
| 2 | Feb | 0.95454 | 0.49673 | 0.87306 | 0.5478 | 0.93641 |  | 0.5305
| 3 | Mar | 0.99601 | 0.55626 | 0.73005 | 0.4647 | 0.86847 |  | 0.4862
| 4 | Apr | 0.84795 | 0.62446 | 0.84944 | 0.6483 | 0.94599 |  | 0.6068
| 5 | May | 0.92042 | 0.54289 | 0.89167 | 0.5709 | 0.92272 |  | 0.5935
| 6 | Jun | 0.92433 | 0.60464 | 0.99177 | 0.6336 | 0.8968 |  | 0.5995
| 7 | Jul | 0.90995 | 0.6014 | 0.97923 | 0.6722 | 0.92897 |  | 0.6383
| 8 | Aug | 0.9356 | 0.62641 | 0.97299 | 0.6233 | 0.89482 |  | 0.6441
| 9 | Sep | 0.94717 | 0.53977 | 0.96214 | 0.5555 | 0.95495 |  | 0.5282
| 10 | Oct | 0.93187 | 0.53438 | 0.96205 | 0.5587 | 0.96056 |  | 0.5566
| 11 | Nov | 0.99413 | 0.63758 | 0.82151 | 0.5306 | 1 |  | 0.5327
| 12 | Dec | 0.95405 | 0.54229 | 0.99579 | 0.4102 | 0.96848 |  | 0.6114
+ BASED ON CLASS KW