## RESIDENTIAL
SCHEDULE II-H-1.4
PAGE 1 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Residential Service
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 41014165.2573 | 39547111.8706 | 15919713.5339 | 15350274.4265 | 15680997.0737 | 15120096.7185 | 15886284.5194 | 15318041.1488 | 4275295482.66 | 4130810086.134 | 0.985 | 0.46296
2 | Feb | 32309453.4047 | 31153762.615 | 8287879.7637 | 7991427.0138 | 7572193.2402 | 7301340.1906 | 7572193.2402 | 7301340.1906 | 4312020535.1937 | 4166294000.1782 | 0.91365 | 0.48047
3 | Mar | 38668056.5824 | 37284922.17 | 7317376.1936 | 7055637.8049 | 7317376.2692 | 7055637.8779 | 6052069.8141 | 5835590.7156 | 3605759750.2034 | 3483901593.405 | 1 | 0.59495
4 | Apr | 32477916.7191 | 31316200.0923 | 8090895.0193 | 7801488.3018 | 7506278.2866 | 7237782.9774 | 7506278.2866 | 7237782.9774 | 2855217924.1494 | 2758724641.846 | 0.92774 | 0.51175
5 | May | 30114128.2865 | 29036963.0288 | 11218275.3337 | 10817003.9993 | 11150739.7501 | 10751884.1252 | 11218275.3337 | 10817003.9993 | 2916482400.6827 | 2817918659.8061 | 0.99398 | 0.45782
6 | Jun | 30819302.0806 | 29716913.157 | 12552930.6086 | 12103919.4134 | 10885045.5401 | 10495693.6461 | 12552930.6086 | 12103919.4134 | 4054831941.1619 | 3917797202.1032 | 0.86713 | 0.56086
7 | Jul | 30254453.089 | 29172268.4929 | 12342725.1833 | 11901232.9167 | 11783694.7685 | 11362198.7022 | 11981711.5311 | 11553132.5178 | 5312860001.5748 | 5133309678.766 | 0.95471 | 0.57698
8 | Aug | 33734976.129 | 32528295.2014 | 14969814.5107 | 14434352.7516 | 12987731.9552 | 12523168.1629 | 13897048.6105 | 13399959.0782 | 5680752389.6101 | 5488768989.8878 | 0.86759 | 0.58882
9 | Sep | 29297472.5826 | 28249518.6355 | 11435652.0786 | 11026605.3016 | 10030977.6399 | 9672175.2694 | 10955476.6888 | 10563605.5127 | 5428380785.6074 | 5244926389.6519 | 0.87717 | 0.49797
10 | Oct | 29135515.7565 | 28093354.9129 | 9723940.2855 | 9376120.4667 | 9139843.2237 | 8812916.225 | 9139843.2237 | 8812916.225 | 4079146708.3744 | 3941290241.6021 | 0.93993 | 0.48607
11 | Nov | 30453670.9489 | 29364360.4431 | 5981747.354 | 5767783.6501 | 4627062.0017 | 4461554.623 | 4565722.6546 | 4402409.3496 | 3120772029.7635 | 3015304235.5452 | 0.77353 | 0.59441
12 | Dec | 37463045.7469 | 36123013.8874 | 8934652.1158 | 8615064.6864 | 8902924.3511 | 8584471.8058 | 8902924.3511 | 8584471.8058 | 3247512038.1801 | 3137761012.4411 | 0.99645 | 0.55202
13 | [9 empty] | 48889031987.1615 | 47236806731.3668
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## SEC < 10kW
SCHEDULE II-H-1.4
PAGE 2 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Less Than or Equal to 10 kW
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 664970.1379 | 641184.534 | 300765.8498 | 290007.6263 | 293802.6423 | 283293.4887 | 282020.4119 | 271932.7021 | 144733578.6892 | 139842246.9456 | 0.97685 | 0.72075
2 | Feb | 587790.4672 | 566765.5362 | 217908.3354 | 210113.8781 | 203695.9355 | 196409.8476 | 203695.9355 | 196409.8476 | 148763188.6293 | 143735674.5348 | 0.93478 | 0.80245
3 | Mar | 600434.7738 | 578957.5631 | 211593.3028 | 204024.7305 | 188210.0097 | 181477.8446 | 181184.905 | 174704.0239 | 132708413.7822 | 128223477.5093 | 0.88949 | 0.82183
4 | Apr | 568507.1696 | 548171.9911 | 208190.9375 | 200744.066 | 196608.158 | 189575.5959 | 196608.158 | 189575.5959 | 121896380.7778 | 117776841.6762 | 0.94436 | 0.80308
5 | May | 584651.2795 | 563738.6355 | 224177.8426 | 216159.1286 | 208550.2366 | 201090.5131 | 206177.1653 | 198802.3252 | 118147825.0531 | 114154969.9579 | 0.93029 | 0.79176
6 | Jun | 594934.4744 | 573654.0063 | 264273.59 | 254820.6739 | 261683.9419 | 252323.656 | 220910.6957 | 213008.8457 | 133243378.6426 | 128740363.0088 | 0.9902 | 0.75697
7 | Jul | 589029.4189 | 567960.1712 | 266096.8435 | 256578.7106 | 249028.5153 | 240120.9068 | 252935.2425 | 243887.8926 | 148006734.7345 | 143004785.3152 | 0.93586 | 0.7626
8 | Aug | 627741.6745 | 605287.7115 | 285766.9244 | 275545.2039 | 279934.6399 | 269921.5369 | 277470.1867 | 267545.2358 | 153285507.933 | 148105160.1686 | 0.97959 | 0.79647
9 | Sep | 580178.4858 | 559425.831 | 255403.788 | 246268.1396 | 252276.2061 | 243252.4296 | 252786.1264 | 243744.1103 | 151866678.6655 | 146734280.8289 | 0.98775 | 0.73377
10 | Oct | 581193.7785 | 560404.8073 | 235314.4106 | 226897.3478 | 230070.0588 | 221840.5836 | 230070.0588 | 221840.5836 | 136275312.2063 | 131669831.1114 | 0.97771 | 0.76738
11 | Nov | 559087.3122 | 539089.0767 | 194822.6611 | 187853.9653 | 177254.5365 | 170914.2424 | 178719.7196 | 172327.0168 | 127790924.221 | 123472176.5617 | 0.90983 | 0.83151
12 | Dec | 577998.2601 | 557323.5907 | 222290.0861 | 214338.896 | 199750.4963 | 192605.5345 | 199750.4963 | 192605.5345 | 126031215.3194 | 121771937.7575 | 0.8986 | 0.79726
13 | [9 empty] | 1642749138.6539 | 1587231745.3757
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## SEC > 10kW
SCHEDULE II-H-1.4
PAGE 3 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Secondary Service Greater Than 10 kW
Voltage Level = Secondary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 12848409.0258 | 12388828.7355 | 7917999.2258 | 7634776.8926 | 6727761.8488 | 6487113.6303 | 7731199.0317 | 7454658.4353 | 3797017921.7661 | 3668696115.1757 | 0.84968 | 0.7095
2 | Feb | 11783870.1663 | 11362367.8262 | 6971509.7143 | 6722142.7731 | 6151997.6193 | 5931944.1601 | 6151997.6193 | 5931944.1601 | 3822161178.4685 | 3692989645.0162 | 0.88245 | 0.7059
3 | Mar | 11646530.483 | 11229940.7053 | 7002650.6865 | 6752169.8504 | 5728008.1241 | 5523120.5282 | 6514173.9141 | 6281165.6146 | 3690710477.6719 | 3565981375.5568 | 0.81798 | 0.70329
4 | Apr | 11813570.4007 | 11391005.7001 | 7882866.129 | 7600900.4866 | 7280328.0084 | 7019914.8123 | 7280328.0084 | 7019914.8123 | 3682331670.9933 | 3557885734.1496 | 0.92356 | 0.66447
5 | May | 12378951.8875 | 11936163.8123 | 8554091.1605 | 8248116.1802 | 7185149.8093 | 6928141.0833 | 7046308.7613 | 6794266.3007 | 3717601442.6916 | 3591963549.1819 | 0.83997 | 0.66506
6 | Jun | 12894557.6615 | 12433326.6608 | 9315276.1004 | 8982073.9673 | 9121599.9315 | 8795325.4849 | 7464701.4442 | 7197693.3151 | 4304994218.8006 | 4159505141.0823 | 0.97921 | 0.6929
7 | Jul | 12915189.0798 | 12453220.1049 | 9212187.2938 | 8882672.5888 | 8730600.0823 | 8418311.4781 | 8648670.1088 | 8339312.0933 | 4795577077.9471 | 4633508547.5992 | 0.94772 | 0.714
8 | Aug | 14052495.9012 | 13549846.1076 | 10225299.2301 | 9859546.0867 | 9948874.3814 | 9593008.7978 | 9607332.8661 | 9263684.0284 | 4960824125.8565 | 4793171002.5047 | 0.97297 | 0.72129
9 | Sep | 12647617.7968 | 12195219.6947 | 9228423.0545 | 8898327.6055 | 9053806.8742 | 8729957.3467 | 8807182.8516 | 8492154.9253 | 4943093666.0511 | 4776039750.994 | 0.98108 | 0.6518
10 | Oct | 12015288.1584 | 11585508.1282 | 8449680.6106 | 8147440.3364 | 7991905.3369 | 7706039.424 | 7991905.3369 | 7706039.424 | 4336672147.0979 | 4190112500.5617 | 0.94582 | 0.66507
11 | Nov | 11055791.3625 | 10660331.9874 | 6905374.5808 | 6658373.2557 | 6902228.2446 | 6655339.4622 | 6712899.4373 | 6472782.8387 | 3857296230.1174 | 3726937292.9195 | 0.99954 | 0.6727
12 | Dec | 11505594.691 | 11094046.1064 | 6492837.4603 | 6260592.3537 | 6329211.6167 | 6102819.3135 | 6329211.6167 | 6102819.3135 | 3603989733.5669 | 3482191395.22 | 0.9748 | 0.74213
13 | [9 empty] | 49512269891.0291 | 47838982049.9615
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY < 10kW
SCHEDULE II-H-1.4
PAGE 4 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Primary Service Less Than or Equal to 10 kW
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 7173.7792 | 7055.9408 | 4784.8339 | 4706.2369 | 1848.0193 | 1817.6632 | 1740.9015 | 1712.305 | 2604799.6399 | 2573676.8074 | 0.38622 | 0.61277
2 | Feb | 6963.8717 | 6849.4813 | 3442.5638 | 3386.0154 | 3079.1846 | 3028.605 | 3079.1846 | 3028.605 | 2060686.2809 | 2036064.6581 | 0.89445 | 0.84752
3 | Mar | 7013.0817 | 6897.883 | 3089.3966 | 3038.6494 | 2824.9943 | 2778.5902 | 2746.0969 | 2700.9888 | 2094574.091 | 2069547.5678 | 0.91442 | 0.91584
4 | Apr | 6759.9992 | 6648.9577 | 3250.8339 | 3197.4348 | 2834.2898 | 2787.733 | 2834.2898 | 2787.733 | 2125818.2212 | 2100418.3848 | 0.87187 | 0.87491
5 | May | 6827.4602 | 6715.3105 | 4006.1477 | 3940.3417 | 2745.9836 | 2700.8773 | 2727.5075 | 2682.7047 | 2359924.2656 | 2331727.2686 | 0.68544 | 0.80336
6 | Jun | 6510.4656 | 6403.523 | 2941.3082 | 2892.9934 | 2784.7373 | 2738.9944 | 2763.6549 | 2718.2583 | 2011213.1374 | 1987182.6329 | 0.94677 | 0.94079
7 | Jul | 6990.3408 | 6875.5156 | 3167.1228 | 3115.0988 | 2773.8337 | 2728.2699 | 2816.7297 | 2770.4613 | 2011984.0096 | 1987944.2945 | 0.87582 | 0.85466
8 | Aug | 6580.2129 | 6472.1246 | 3133.4057 | 3081.9356 | 2803.6974 | 2757.6431 | 2685.6418 | 2641.5267 | 1979226.9412 | 1955578.6161 | 0.89478 | 0.87549
9 | Sep | 6688.258 | 6578.3948 | 2991.1737 | 2942.0398 | 2791.5402 | 2745.6856 | 2836.3082 | 2789.7182 | 1981272.4028 | 1957599.6381 | 0.93326 | 0.90551
10 | Oct | 7203.4295 | 7085.104 | 2997.966 | 2948.7206 | 2696.7028 | 2652.4061 | 2696.7028 | 2652.4061 | 1977571.8166 | 1953943.2674 | 0.89951 | 0.90862
11 | Nov | 9531.954 | 9375.3796 | 4110.6452 | 4043.1226 | 2681.8414 | 2637.7888 | 2734.7477 | 2689.826 | 2019223.0529 | 1995096.8438 | 0.65241 | 0.70275
12 | Dec | 6184.6711 | 6083.08 | 4228.0816 | 4158.63 | 3162.2845 | 3110.34 | 3162.2845 | 3110.34 | 2285907.6267 | 2258595 | 0.74792 | 0.70052
13 | [9 empty] | 25512201.4859 | 25207374.9794
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY > 10kW DLS
SCHEDULE II-H-1.4
PAGE 5 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10 kW - Distribution Line
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 3635570.9583 | 3575852.0935 | 2702558.3578 | 2658165.4085 | 2272788.6478 | 2235455.2112 | 2125730.1303 | 2090812.3164 | 1964465341.1209 | 1940993391.5385 | 0.84098 | 0.93238
2 | Feb | 3626254.68 | 3566688.8469 | 2799985.7874 | 2753992.4691 | 2668553.8195 | 2624719.438 | 2668553.8195 | 2624719.438 | 1904901192.2569 | 1882140930.8217 | 0.95306 | 0.92661
3 | Mar | 3668005.4155 | 3607753.7736 | 2728085.8871 | 2683273.6158 | 2565423.5325 | 2523283.1968 | 2701323.3943 | 2656950.7309 | 1529852668.3586 | 1511573585.5219 | 0.94037 | 0.92896
4 | Apr | 3792275.6391 | 3729982.7012 | 2802624.4731 | 2756587.8109 | 2786480.6576 | 2740709.1781 | 2786480.6576 | 2740709.1781 | 1952813302.6562 | 1929480574.7 | 0.99424 | 0.91644
5 | May | 3791872.6035 | 3729586.2859 | 2829760.6356 | 2783278.2275 | 2618595.1831 | 2575581.4355 | 2620604.4383 | 2577557.6861 | 1640790260.2355 | 1621185665.8162 | 0.92538 | 0.91381
6 | Jun | 3822892.9053 | 3760097.0399 | 2910580.671 | 2862770.6914 | 2856280.0434 | 2809362.0205 | 2696673.2692 | 2652376.99 | 1896023395.7732 | 1873369208.5899 | 0.98134 | 0.92812
7 | Jul | 3833792.4584 | 3770817.5541 | 2974296.1602 | 2925439.5729 | 2863673.1589 | 2816633.6946 | 2780044.26 | 2734378.5066 | 1999778963.6381 | 1975885077.5878 | 0.96281 | 0.91651
8 | Aug | 3884074.3529 | 3820273.5046 | 3007684.7612 | 2958279.7238 | 2936653.7968 | 2888415.533 | 2858700.2721 | 2811742.4939 | 1989869664.7353 | 1966094177.5997 | 0.97638 | 0.93611
9 | Sep | 3708053.7043 | 3647144.2185 | 2844542.1853 | 2797816.9716 | 2806810.0017 | 2760704.587 | 2733187.468 | 2688291.3967 | 1969255059.724 | 1945725881.3215 | 0.98674 | 0.92305
10 | Oct | 3750896.6667 | 3689283.4309 | 2880897.1963 | 2833574.8054 | 2795807.9443 | 2749883.2523 | 2795807.9443 | 2749883.2523 | 1943718982.4166 | 1920494915.7951 | 0.97046 | 0.91584
11 | Nov | 3669687.5021 | 3609408.2298 | 2721949.828 | 2677238.3493 | 2709284.499 | 2664781.0644 | 2707520.5413 | 2663046.0819 | 1842726010.8251 | 1820708634.8425 | 0.99535 | 0.93223
12 | Dec | 3624468.4038 | 3564931.9125 | 2730900.9566 | 2686042.4442 | 2603822.747 | 2561051.6554 | 2603822.747 | 2561051.6554 | 1871612101.7158 | 1849249587.107 | 0.95347 | 0.92813
13 | [9 empty] | 22505806943.4562 | 22236901631.2417
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## PRIMARY SUBSTATIONS
SCHEDULE II-H-1.4
PAGE 6 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Primary Service Greater Than 10kW - Substation
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) |  | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN |  | LOAD+
1 | Jan | 1463133.1738 | 1460067.033 | 1241474.0075 | 1238872.3755 | 1019076.985 | 1016941.408 | 729341.0998 | 727812.6931 | 826004477.1611 | 822607109.7976 | 0.82086 |  | 0.9233
2 | Feb | 1478765.9605 | 1475667.0597 | 1292762.1115 | 1290053.0002 | 1199641.2415 | 1197127.2742 | 1199641.2415 | 1197127.2742 | 746283214.0376 | 743213741.2861 | 0.92797 |  | 0.933
3 | Mar | 1484282.1907 | 1481171.7301 | 1239394.2151 | 1236796.9416 | 1190513.8565 | 1188019.0166 | 1172109.7377 | 1169653.4655 | 1257315628.9803 | 1252144273.1323 | 0.96056 |  | 0.9389
4 | Apr | 1455014.1661 | 1451965.0396 | 1218123.98 | 1215571.2803 | 1162139.3467 | 1159703.9684 | 1162139.3467 | 1159703.9684 | 842369202.214 | 838904526.5195 | 0.95404 |  | 0.9486
5 | May | 1407423.702 | 1404474.306 | 1178415.4852 | 1175945.9986 | 1109655.0169 | 1107329.6247 | 1060532.6375 | 1058310.1861 | 938194255.1816 | 934335449.774 | 0.94165 |  | 0.9259
6 | Jun | 1487275.1435 | 1484158.4109 | 1275612.2058 | 1272939.0339 | 1052804.9717 | 1050598.7144 | 1219731.2345 | 1217175.1666 | 843417878.58 | 839948889.6657 | 0.82533 | 0.92559 | 0.9134
7 | Jul | 1467008.3793 | 1463934.1177 | 1263313.2927 | 1260665.8943 | 1202242.9737 | 1199723.5542 | 913148.9853 | 911235.3909 | 814020388.5808 | 810672311.9325 | 0.95166 |  | 0.925
8 | Aug | 1444019.5455 | 1440993.4592 | 1240931.1235 | 1238330.6292 | 1025385.9067 | 1023237.1087 | 945147.5714 | 943166.9209 | 812117601.2594 | 808777350.8005 | 0.8263 |  | 0.9121
9 | Sep | 1424019.9304 | 1421035.7553 | 1216577.2008 | 1214027.7425 | 1045485.92 | 1043295.0005 | 958290.2145 | 956282.0223 | 794529358.4406 | 791261448.6576 | 0.85937 |  | 0.9202
10 | Oct | 1451050.2541 | 1448009.4343 | 1238556.325 | 1235960.8073 | 1140887.9059 | 1138497.0621 | 1140887.9059 | 1138497.0621 | 783730640.4938 | 780507145.9809 | 0.92114 |  | 0.9342
11 | Nov | 1429401.3905 | 1426405.938 | 1206497.4367 | 1203969.1016 | 1164377.8292 | 1161937.7599 | 1151638.0094 | 1149224.6377 | 844264229.6336 | 840791759.6661 | 0.96509 |  | 0.9416
12 | Dec | 1371372.9441 | 1368499.096 | 1196100.763 | 1193594.2151 | 1137933.6985 | 1135549.0455 | 1137933.6985 | 1135549.0455 | 846773128.1791 | 843290339.0787 | 0.95137 |  | 0.9469
13 | [9 empty] | 10349020002.7417 | 10306454346.2915
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## TRANSMISSION
SCHEDULE II-H-1.4
PAGE 7 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Transmission Service
Voltage Level = Transmission
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 5470720.4389 | 5470720.4389 | 4209762.7586 | 4209762.7586 | 3256920.7524 | 3256920.7524 | 2514537.6803 | 2514537.6803 | 2883682340.627 | 2883682340.627 | 0.77366 | 0.8972
2 | Feb | 5347100.3125 | 5347100.3125 | 4210422.9375 | 4210422.9375 | 3871810.5625 | 3871810.5625 | 3871810.5625 | 3871810.5625 | 2730361843.1875 | 2730361843.1875 | 0.91958 | 0.9169
3 | Mar | 5586791.3043 | 5586791.3043 | 4415905.2174 | 4415905.2174 | 3879455.9627 | 3879455.9627 | 3753841.8012 | 3753841.8012 | 2813057486.8323 | 2813057486.8323 | 0.87852 | 0.9034
4 | Apr | 5825480.8075 | 5825480.8075 | 4456475.0311 | 4456475.0311 | 4272896.1491 | 4272896.1491 | 4272896.1491 | 4272896.1491 | 2938892357.9503 | 2938892357.9503 | 0.95881 | 0.9077
5 | May | 5884967.6543 | 5884967.6543 | 4378300.679 | 4378300.679 | 3968375.0617 | 3968375.0617 | 3959671.4815 | 3959671.4815 | 2879778435.1852 | 2879778435.1852 | 0.90637 | 0.9181
6 | Jun | 5663388.3436 | 5663388.3436 | 4472397.546 | 4472397.546 | 4329315.9509 | 4329315.9509 | 4080575.7055 | 4080575.7055 | 3043680780.1227 | 3043680780.1227 | 0.96801 | 0.8977
7 | Jul | 5620150.0917 | 5620150.0917 | 4592163.7309 | 4592163.7309 | 4268518.0428 | 4268518.0428 | 3257736.5138 | 3257736.5138 | 2808721066.055 | 2808721066.055 | 0.92952 | 0.9181
8 | Aug | 5730746.3636 | 5730746.3636 | 4537057.8788 | 4537057.8788 | 4199678.9697 | 4199678.9697 | 3203729.3333 | 3203729.3333 | 3032895311.2727 | 3032895311.2727 | 0.92564 | 0.9001
9 | Sep | 5624944.6386 | 5624944.6386 | 4547874.8193 | 4547874.8193 | 4130135.6627 | 4130135.6627 | 3311565.1807 | 3311565.1807 | 2863733449.5181 | 2863733449.5181 | 0.90815 | 0.9325
10 | Oct | 5823161.5663 | 5823161.5663 | 4624161.8072 | 4624161.8072 | 4087029.3976 | 4087029.3976 | 4087029.3976 | 4087029.3976 | 3147017789.3976 | 3147017789.3976 | 0.88384 | 0.9188
11 | Nov | 6032147.6647 | 6032147.6647 | 4728173.3533 | 4728173.3533 | 4464180.6587 | 4464180.6587 | 4572399.4012 | 4572399.4012 | 3104211436.8263 | 3104211436.8263 | 0.94417 | 0.9148
12 | Dec | 5915090 | 5915090 | 4667054 | 4667054 | 4262765 | 4262765 | 4262765 | 4262765 | 3190347604 | 3190347604 | 0.91337 | 0.9311
13 | [9 empty] | 35436379900.9747 | 35436379900.9747
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## STREET LIGHTING
SCHEDULE II-H-1.4
PAGE 8 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Lighting Service
Voltage Level = Secondary and Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 30377454.423 | 29350835.6628 | 1 | 0.45537
2 | Feb | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 30320031.844 | 29295353.7038 | 1 | 0.45537
3 | Mar | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30301023.1999 | 29276987.4649 | 0 | 0.45537
4 | Apr | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30277553.7437 | 29254311.1687 | 0 | 0.45537
5 | May | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30215574.3978 | 29194426.4407 | 0 | 0.45537
6 | Jun | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30179978.6987 | 29160033.7131 | 0 | 0.45537
7 | Jul | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30140836.9351 | 29122214.7617 | 0 | 0.45537
8 | Aug | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30131545.6473 | 29113237.4769 | 0 | 0.45537
9 | Sep | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30188260.4862 | 29168035.6141 | 0 | 0.45537
10 | Oct | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30225073.9012 | 29203604.9044 | 0 | 0.45537
11 | Nov | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30293849.0429 | 29270055.7614 | 0 | 0.45537
12 | Dec | 90934.293 | 87681.625 | 90934.293 | 87681.625 | 0 | 0 | 0 | 0 | 30340140.7283 | 29314783 | 0 | 0.45537
13 | [9 empty] | 362991323.0479 | 350723879.6726
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## WHOLESALE SUB
SCHEDULE II-H-1.4
PAGE 9 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Wholesale Service - Substation
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 105693.3802 | 105471.8893 | 89360.7678 | 89173.5034 | 84419.6443 | 84242.7346 | 87739.1265 | 87555.2605 | 32953353.5801 | 32817816 | 0.94471 | 0.4947
2 | Feb | 86276.9761 | 86096.1741 | 64912.6997 | 64776.6687 | 52137.8097 | 52028.5498 | 52137.8097 | 52028.5498 | 20687734.4259 | 20602645.5 | 0.8032 | 0.457
3 | Mar | 71897.7816 | 71747.1127 | 46902.9061 | 46804.6164 | 38069.0093 | 37989.2319 | 31382.9075 | 31317.1415 | 19159236.9455 | 19080434.75 | 0.81166 | 0.5487
4 | Apr | 70868.0907 | 70719.5795 | 44022.1717 | 43929.9189 | 41948.7646 | 41860.8568 | 41948.7646 | 41860.8568 | 18823144.8443 | 18745725 | 0.9529 | 0.5927
5 | May | 89289.4865 | 89102.3716 | 61859.8009 | 61730.1676 | 60742.23 | 60614.9386 | 61554.8727 | 61425.8783 | 24387288.7419 | 24286983.5 | 0.98193 | 0.5288
6 | Jun | 102366.5845 | 102152.0652 | 70371.8908 | 70224.4195 | 64790.6206 | 64654.8455 | 70310.5376 | 70163.1949 | 30601212.6934 | 30475349.5 | 0.92069 | 0.6027
7 | Jul | 99956.0523 | 99746.5844 | 72575.337 | 72423.2482 | 68796.4994 | 68652.3295 | 71741.9581 | 71591.6157 | 33120634.6092 | 32984409 | 0.94793 | 0.6122
8 | Aug | 105364.1001 | 105143.2992 | 77669.6725 | 77506.908 | 69301.5015 | 69156.2733 | 73056.3961 | 72903.2992 | 36920137.0129 | 36768284 | 0.89226 | 0.6376
9 | Sep | 85710.1814 | 85530.5672 | 66051.8195 | 65913.4013 | 60968.5939 | 60840.8282 | 65274.1297 | 65137.3413 | 25813256.2652 | 25707086 | 0.92304 | 0.5417
10 | Oct | 73381.7925 | 73228.0136 | 57434.506 | 57314.1462 | 57434.5998 | 57314.2399 | 57434.5998 | 57314.2399 | 23211399.544 | 23115930.75 | 1 | 0.5421
11 | Nov | 65805.1733 | 65667.272 | 43239.0498 | 43148.4381 | 37943.6686 | 37864.1538 | 37300.116 | 37221.9499 | 19539112.7799 | 19458748.15 | 0.87753 | 0.6042
12 | Dec | 73038.9604 | 72885.9 | 53983.7283 | 53870.6 | 52652.3382 | 52542 | 52652.3382 | 52542 | 23847916.2958 | 23749829.5 | 0.97534 | 0.5926
13 | [9 empty] | 309064427.738 | 307793241.65
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW

## WHOLESALE DLS
SCHEDULE II-H-1.4
PAGE 10 OF 10
TEST YEAR 2024
ONCOR ELECTRIC DELIVERY COMPANY LLC
ADJUSTED TEST YEAR LOAD DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
Rate Class = Wholesale Service - Distribution Line
Voltage Level = Primary
|  | ( a ) | ( b ) | ( c ) | ( d ) | ( e ) | ( f ) | ( g ) | ( h ) | ( i ) | ( j ) | ( k ) | ( l )
|  | SUM OF | SUM OF
Line |  | CUSTOMER | CUSTOMER | CLASS | CLASS | SYSTEM | SYSTEM | ERCOT | ERCOT | KWH | KWH | FACTOR
No. | Month | MAX DEMANDS* | MAX DEMANDS# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | PEAK KW* | PEAK KW# | SALES* | SALES# | COIN | LOAD+
1 | Jan | 152319.7284 | 149817.6837 | 115405.6181 | 113509.9344 | 103791.6292 | 102086.72 | 115034.1701 | 113144.5879 | 41875819.0228 | 41375475.7017 | 0.89936 | 0.4899
2 | Feb | 123301.3928 | 121276.0111 | 79989.9497 | 78676.0133 | 69321.8509 | 68183.1515 | 69321.8509 | 68183.1515 | 26685571.7435 | 26366725.5 | 0.86663 | 0.4815
3 | Mar | 99704.5443 | 98066.7707 | 62098.3563 | 61078.3121 | 51685.512 | 50836.5119 | 38669.3376 | 38034.1446 | 25408000.2324 | 25104418.75 | 0.83232 | 0.5532
4 | Apr | 92270.6845 | 90755.0215 | 56796.5042 | 55863.5496 | 52573.1053 | 51709.5254 | 52573.1053 | 51709.5254 | 24661937.3262 | 24367270 | 0.92564 | 0.6058
5 | May | 110465.8591 | 108651.3173 | 74792.0562 | 73563.5018 | 72752.7354 | 71557.6794 | 73341.3759 | 72136.6508 | 30108189.3304 | 29748448.75 | 0.97273 | 0.5435
6 | Jun | 119869.5018 | 117900.4931 | 85539.6353 | 84134.5383 | 73369.4457 | 72164.2595 | 83320.9666 | 81952.314 | 36061407.4493 | 35630536.25 | 0.85772 | 0.5882
7 | Jul | 119133.0065 | 117176.0957 | 87509.2241 | 86071.7741 | 82684.6258 | 81326.4259 | 82152.5946 | 80803.134 | 39350365.0312 | 38880196.5 | 0.94487 | 0.6071
8 | Aug | 127767.0128 | 125668.2776 | 92229.3163 | 90714.3328 | 80364.4471 | 79044.3592 | 86569.9227 | 85147.9019 | 44096788.0442 | 43569908 | 0.87135 | 0.6456
9 | Sep | 118184.7458 | 116243.4114 | 82633.0113 | 81275.6593 | 82632.8213 | 81275.4724 | 76331.1957 | 75077.359 | 32295662.5873 | 31909785.5 | 1 | 0.5453
10 | Oct | 115648.7505 | 113749.0731 | 72446.41 | 71256.3858 | 69318.8592 | 68180.209 | 69318.8592 | 68180.209 | 29789990.6588 | 29434052 | 0.95683 | 0.5552
11 | Nov | 123002.37 | 120981.9 | 63395.959 | 62354.6 | 47590.7382 | 46809 | 52123.1895 | 51267 | 26207870.0377 | 25894731.5 | 0.75069 | 0.5691
12 | Dec | 130124.9677 | 127987.5 | 73761.3233 | 72549.7 | 66119.0899 | 65033 | 66119.0899 | 65033 | 30580068.7197 | 30214690 | 0.89639 | 0.5598
13 | [9 empty] | 387121670.1835 | 382496238.4517
* AT SOURCE(BUSBAR)
# AT METER
+ BASED ON CLASS KW