## RESIDENTIAL
SCHEDULE IV-J-4A
PAGE 1 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Residential Service
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 37191877.664 | 14436086.52 | 14219617.08 | 14405772.9
| 2 | Feb | 32673075.928 | 8381154.624 | 7657413.5 | 7657413.5
| 3 | Mar | 30660284.424 | 5802019.94 | 5802020 | 4798746
| 4 | Apr | 29147963.3 | 7261337.392 | 6736661.28 | 6736661.28
| 5 | May | 29344132.888 | 10931432.55 | 10865623.8 | 10931432.55
| 6 | Jun | 30493385.856 | 12420182.51 | 10769935.44 | 12420182.51
| 7 | Jul | 30291236.236 | 12357731.38 | 11798021.3 | 11996278.81
| 8 | Aug | 31003052.744 | 13757530.08 | 11935960.39 | 12771638.83
| 9 | Sep | 29153073.924 | 11379289.1 | 9981537.89 | 10901480.354
| 10 | Oct | 28786837.46 | 9607569.36 | 9030462.46 | 9030462.46
| 11 | Nov | 30883563.268 | 6066187.33 | 4692378.87 | 4630173.64
| 12 | Dec | 32807365.008 | 7824307.59 | 7796522.76 | 7796522.76
# AT METER

## SEC < 10kW
SCHEDULE IV-J-4A
PAGE 2 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Secondary Service Less Than or Equal to 10kW
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 615580.316 | 278426.844 | 271980.82 | 261073.7
| 2 | Feb | 551592.992 | 204489.044 | 191151.876 | 191151.876
| 3 | Mar | 534936.076 | 188511.552 | 167679.036 | 161420.268
| 4 | Apr | 534662.728 | 195796.888 | 184903.656 | 184903.656
| 5 | May | 562110.66 | 215534.9 | 200509.8 | 198228.22
| 6 | Jun | 577284.316 | 256433.28 | 253920.46 | 214356.85
| 7 | Jul | 575413.528 | 259945.8 | 243272.02 | 247088.44
| 8 | Aug | 589003.28 | 268132.04 | 262659.67 | 260347.3
| 9 | Sep | 568242.824 | 250149.52 | 247086.28 | 247585.71
| 10 | Oct | 565476.696 | 228950.86 | 223848.33 | 223848.33
| 11 | Nov | 548245.376 | 191044.62 | 173817.18 | 175253.95
| 12 | Dec | 548042.844 | 210769.65 | 189398.2 | 189398.2
# AT METER

## SEC > 10kW
SCHEDULE IV-J-4A
PAGE 3 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Secondary Service Less Greater Than 10kW
Voltage Level = Secondary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 12080021.036 | 7444470.13 | 6325413.87 | 7268841.36
| 2 | Feb | 11427980.18 | 6760960 | 5966198.36 | 5966198.36
| 3 | Mar | 11008092.104 | 6618780.06 | 5414010.73 | 6157080.56
| 4 | Apr | 11239548.284 | 7499837.176 | 6926576.42 | 6926576.42
| 5 | May | 12082178.468 | 8349015.084 | 7012892.78 | 6877380.312
| 6 | Jun | 12605255.344 | 9106278.55 | 8916947.7 | 7297223.39
| 7 | Jul | 12678487.24 | 9043351.85 | 8570590.88 | 8490162.47
| 8 | Aug | 13277282.244 | 9661214.98 | 9400039.26 | 9077339.07
| 9 | Sep | 12366900.72 | 9023595.87 | 8852855.34 | 8611705.2
| 10 | Oct | 11722182.396 | 8243555.71 | 7796947.59 | 7796947.59
| 11 | Nov | 11110656.22 | 6939642.81 | 6936480.86 | 6746212.5
| 12 | Dec | 10999137.116 | 6207033.31 | 6050610.01 | 6050610.01
# AT METER

## PRIMARY < 10kW
SCHEDULE IV-J-4A
PAGE 4 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Primary Service Less Than or Equal to 10kW
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 7091.952 | 4730.256 | 1826.94 | 1721.044
| 2 | Feb | 6742.424 | 3333.092 | 2981.268 | 2981.268
| 3 | Mar | 6812.072 | 3000.848 | 2744.024 | 2667.388
| 4 | Apr | 6519.584 | 3135.22 | 2733.49 | 2733.49
| 5 | May | 6595.356 | 3869.956 | 2652.632 | 2634.784
| 6 | Jun | 6303.436 | 2847.776 | 2696.184 | 2675.772
| 7 | Jul | 6792.176 | 3077.34 | 2695.2 | 2736.88
| 8 | Aug | 6399.868 | 3047.528 | 2726.856 | 2612.036
| 9 | Sep | 6551.116 | 2929.84 | 2734.3 | 2778.15
| 10 | Oct | 7082.844 | 2947.78 | 2651.56 | 2651.56
| 11 | Nov | 9399.304 | 4053.44 | 2644.52 | 2696.69
| 12 | Dec | 6083.08 | 4158.63 | 3110.34 | 3110.34
# AT METER

## PRIMARY > 10kW DLS
SCHEDULE IV-J-4A
PAGE 5 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Primary Service Greater Than 10kW - Distribution Line
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 3374287.372 | 2508329.13 | 2109446.39 | 1972956.77
| 2 | Feb | 3370244.66 | 2602309.54 | 2480156.54 | 2480156.54
| 3 | Mar | 3411737.304 | 2537486 | 2386188.18 | 2512593.29
| 4 | Apr | 3506401.06 | 2591353.15 | 2576426.31 | 2576426.31
| 5 | May | 3620542.56 | 2701902.17 | 2500277.91 | 2502196.38
| 6 | Jun | 3662512.248 | 2788473.97 | 2736451.4 | 2583540.56
| 7 | Jul | 3658425.944 | 2838244.99 | 2732682.14 | 2652878.62
| 8 | Aug | 3680544.376 | 2850078.61 | 2782769.75 | 2708901.08
| 9 | Sep | 3625886.336 | 2781509.51 | 2744613.44 | 2672622.32
| 10 | Oct | 3643323.496 | 2798275.02 | 2715626.07 | 2715626.07
| 11 | Nov | 3599271.604 | 2669719.62 | 2657297.32 | 2655567.21
| 12 | Dec | 3572307.908 | 2691599.98 | 2566350.58 | 2566350.58
# AT METER

## GS PRI LRGE_SUB
SCHEDULE IV-J-4A
PAGE 6 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Greater Than 10 kW - Substation Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 1350390 | 1145811 | 940551 | 673141
| 2 | Feb | 1373769 | 1200972 | 1114463 | 1114463
| 3 | Mar | 1404349 | 1172649 | 1126401 | 1108988
| 4 | Apr | 1397197 | 1169720 | 1115960 | 1115960
| 5 | May | 1373375 | 1149907 | 1082810 | 1034876
| 6 | Jun | 1417438 | 1215714 | 1003369 | 1162457
| 7 | Jul | 1420663 | 1223403 | 1164262 | 884301
| 8 | Aug | 1414715 | 1215748 | 1004577 | 925967
| 9 | Sep | 1395053 | 1191830 | 1024219 | 938797
| 10 | Oct | 1435058 | 1224906 | 1128314 | 1128314
| 11 | Nov | 1433012 | 1209545 | 1167319 | 1154547
| 12 | Dec | 1371395 | 1196120 | 1137952 | 1137952
# AT METER

## TRANSMISSION
SCHEDULE IV-J-4A
PAGE 7 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Transmission Service
Voltage Level = Transmission
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 5132823 | 3949748 | 3055758 | 2359228
| 2 | Feb | 5032565 | 3962751 | 3644057 | 3644057
| 3 | Mar | 5291020 | 4182122 | 3674073 | 3555109
| 4 | Apr | 5517073 | 4220544 | 4046684 | 4046684
| 5 | May | 5608028 | 4172263 | 3781628 | 3773334
| 6 | Jun | 5430190 | 4288240 | 4151050 | 3912552
| 7 | Jul | 5405262 | 4416581 | 4105310 | 3133176
| 8 | Aug | 5562195 | 4403615 | 4076159 | 3109502
| 9 | Sep | 5492593 | 4440866 | 4032956 | 3233646
| 10 | Oct | 5686146 | 4515358 | 3990864 | 3990864
| 11 | Nov | 5925698 | 4644735 | 4385401 | 4491710
| 12 | Dec | 5915090 | 4667054 | 4262765 | 4262765
# AT METER

## WHOLESALE-SUBSTATION
SCHEDULE IV-J-4A
PAGE 8 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Wholesale Service - Substation Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 116790.3 | 98742.9 | 93283 | 96951
| 2 | Feb | 93435.9 | 70298.9 | 56464 | 56464
| 3 | Mar | 77284.1 | 50416.7 | 40921 | 33734
| 4 | Apr | 75789.7 | 47079.4 | 44862 | 44862
| 5 | May | 95371.9 | 66073.7 | 64880 | 65748
| 6 | Jun | 109619.2 | 75357.7 | 69381 | 75292
| 7 | Jul | 106999.1 | 77689.1 | 73644 | 76797
| 8 | Aug | 112718.9 | 83091.3 | 74139 | 78156
| 9 | Sep | 91651.7 | 70630.6 | 65195 | 69799
| 10 | Oct | 78174.8 | 61185.9 | 61186 | 61186
| 11 | Nov | 68509.5 | 45016 | 39503 | 38833
| 12 | Dec | 72885.9 | 53870.6 | 52542 | 52542
# AT METER

## WHOLESALE-DISTRIBUTION
SCHEDULE IV-J-4A
PAGE 9 OF 9
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
LOAD RESEARCH DATA
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR: D. E. NELSON
DEMAND DATA
Rate Class = Wholesale Service - Distribution Line Service
Voltage Level = Primary
|  |  | ( a ) | ( b ) | ( c ) | ( d )
| Line |  | CUSTOMER | CLASS | SYSTEM | ERCOT
| No. | Month | NCP MAX# | PEAK KW# | PEAK KW# | PEAK KW#
| 1 | Jan | 165996.4 | 125767.8 | 113111 | 125363
| 2 | Feb | 131357.3 | 85216.1 | 73851 | 73851
| 3 | Mar | 104651.6 | 65179.5 | 54250 | 40588
| 4 | Apr | 96526.6 | 59416.2 | 54998 | 54998
| 5 | May | 116163.2 | 78649.5 | 76505 | 77124
| 6 | Jun | 126921.8 | 90572.2 | 77686 | 88223
| 7 | Jul | 126291.5 | 92767.5 | 87653 | 87089
| 8 | Aug | 135375.3 | 97721.4 | 85150 | 91725
| 9 | Sep | 124380.8 | 86965.2 | 86965 | 80333
| 10 | Oct | 117240.6 | 73443.6 | 70273 | 70273
| 11 | Nov | 120981.9 | 62354.6 | 46809 | 51267
| 12 | Dec | 127987.5 | 72549.7 | 65033 | 65033
# AT METER