## Cost by Light Type - IV-J-7¦5
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
INSTALLED COST OF STREET LIGHTS BY TYPE, WATTAGE, & SCHEDULE
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR : Matthew A. Troxle
| Line # | [A] | [B] | [C] | [D]
SCHEDULE A
|  | Light Type | Wattage | Installed Cost | Basis1
| 1 | LED Cobra Head | 0 - 56 W | 3800.5807 | Scenario 22.01 ; standard installation on a 35' wood pole.
| 2 | LED Cobra Head | 56- 100 W | 3845.5289 | Scenario 22.02 ; standard installation on a 35' wood pole.
| 3 | LED Cobra Head | 101 - 140 W | 3973.9617 | Scenario 22.03 ; standard installation on a 35' wood pole.
| 4 | LED Cobra Head | 141 - 180 W | 4154.7961 | Scenario 22.04 ; standard installation on a 35' wood pole.
| 5 | LED Cobra Head | 181 - 265 W | 4359.6882 | Scenario 22.05 ; standard installation on a 35' wood pole.
6
| 7 | MV | 175 W | 3800.5807 | same as Scenario 22.01
| 8 | MV | 400 W | 3973.9617 | same as Scenario 22.03
| 9 | MV | 1000 W | 4359.6882 | same as Scenario 22.05
10
| 11 | HPS | 100 W | 3800.5807 | same as Scenario 22.01
| 12 | HPS | 150 W | 3845.5289 | same as Scenario 22.02
| 13 | HPS | 200 W | 3973.9617 | same as Scenario 22.03
| 14 | HPS | 250 W | 4154.7961 | same as Scenario 22.04
| 15 | HPS | 400 W | 4359.6882 | same as Scenario 22.05
| 16 | HPS | 1000 W | 4359.6882 | same as Scenario 22.05
17
| 18 | MH | 150 W | 3845.5289 | same as Scenario 22.02
| 19 | MH | 175 W | 3845.5289 | same as Scenario 22.02
| 20 | MH | 250 W | 4154.7961 | same as Scenario 22.04
| 21 | MH | 400 W | 4359.6882 | same as Scenario 22.05
| 22 | MH | 1000 W | 4359.6882 | same as Scenario 22.05
1 - The installed costs for Non-LED lights are based on the equivalent LED lights as shown in the Mercury Vapor and Metal Halide Conversion Table in the Company's Lighting Service Tariff.
page break
| Line # | [A] | [B] | [C] | [D]
HISTORICAL, RECTANGULAR, POST-TOP, and INCANDESCENT
|  | Light Type | Wattage | Installed Cost | Basis
RECTANGULAR:
| 23 | LED Rectangular | 0 - 56 W | 4786.0512 | Scenario 22.06 ; standard installation on a 30' steel pole.
| 24 | LED Rectangular | 56- 100 W | 4894.8182 | Scenario 22.07 ; standard installation on a 30' steel pole.
| 25 | LED Rectangular | 101 - 140 W | 4950.1375 | Scenario 22.08 ; standard installation on a 30' steel pole.
| 26 | MV | 175 W | 4786.0512 | same as Scenario 22.06
| 27 | HPS | 100 W | 4786.0512 | same as Scenario 22.06
| 28 | HPS | 250 W | 4950.1375 | same as Scenario 22.08
| 29 | MH | 400 W | 4950.1375 | same as Scenario 22.08
| 30 | MH | 1000 W | 4950.1375 | same as Scenario 22.08
31
| 32 | POST TOP:
33
| 34 | LED Post Top | 0 - 56 W | 3111.3243 | Scenario 22.09 ; standard installation on a 20' fiberglass pole.
| 35 | LED Post Top | 56- 100 W | 3150.8595 | Scenario 22.10 ; standard installation on a 20' fiberglass pole.
| 36 | MV | 175 W | 3111.3243 | same as Scenario 22.09
| 37 | HPS | 100 W | 3111.3243 | same as Scenario 22.09
38
39
| 40 | HISTORICAL:
41
| 42 | LED Historical | 0 - 56 W | 3720.2069 | Scenario 22.11 ; standard installation on a 11' aluminum pole.
| 43 | LED Historical | 56- 100 W | 4867.5002 | Scenario 22.12 ; standard installation on a 11' aluminum pole.
| 44 | MV | 175 W | 3720.2069 | same as Scenario 22.11
| 45 | HPS | 100 W | 3720.2069 | same as Scenario 22.11
| 46 | HPS | 150 W | 4867.5002 | same as Scenario 22.11
| 47 | MH | 175 W | 4867.5002 | same as Scenario 22.12
48
| 49 | INCANDESCENT |  | 3800.5807 | same as Scenario 22.01
| Line # | [A] | [B] | [C] | [D]
SCHEDULE B
|  | Light Type | Wattage | Installed Cost | Basis
| 50 | MV | 175 W | 5375.0124 | Scenario 22.13 ; standard installation on a 30' steel pole.
| 51 | MV | 400 W | 5548.3934 | same as Scenario 22.16
| 52 | MV | 1000 W | 5934.1199 | same as Scenario 22.18
53
| 54 | HPS | 100 W | 5375.0124 | same as Scenario 22.13
| 55 | HPS | 150 W | 5419.9606 | same as Scenario 22.15
| 56 | HPS | 200 W | 5548.3934 | same as Scenario 22.16
| 57 | HPS | 250 W | 5729.2278 | same as Scenario 22.17
| 58 | HPS | 400 W | 5934.1199 | same as Scenario 22.18
| 59 | HPS | 1000 W | 5934.1199 | same as Scenario 22.18
60
| 61 | MH | 150 W | 5419.9606 | same as Scenario 22.15
| 62 | MH | 175 W | 5419.9606 | same as Scenario 22.15
| 63 | MH | 250 W | 5729.2278 | same as Scenario 22.17
| 64 | MH | 400 W | 5934.1199 | same as Scenario 22.18
| 65 | MH | 1000 W | 5934.1199 | same as Scenario 22.18
x

## Scenarios-IV-J-7¦6
2025 RATE CASE
ONCOR ELECTRIC DELIVERY COMPANY LLC
INSTALLED COST OF STREET LIGHTS BY TYPE, WATTAGE, & SCHEDULE - INSTALLATION COST SCENARIOS
FOR THE TEST YEAR ENDING DECEMBER 31, 2024
SPONSOR : Matthew A. Troxle
Line # | [A] | [B] | [C] | [D] | [E] | [F]
STREET LIGHT INSTALLED COST ESTIMATES
- - - - - Costs - - - - -
| DESCRIPTION | Scenario # | Material | Labor | 30% OH | Total
1 | LED Cobra Head
2 | 0 - 55W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.01 | 553.8001 | 2369.7206 | 877.06 | 3800.5807
3 | 56 - 100W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.02 | 588.3783 | 2369.7206 | 887.43 | 3845.5289
4 | 101 - 140W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.03 | 687.1711 | 2369.7206 | 917.07 | 3973.9617
5 | 141 - 180W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.04 | 826.2755 | 2369.7206 | 958.8 | 4154.7961
6 | 181 - 265W, LED, cobra, with arm, fuse, photocell, 35' wood pole and 120' span of 4 AL duplex | 22.05 | 983.8876 | 2369.7206 | 1006.08 | 4359.6882
7 | LED Rectangular
8 | 0 - 55W, LED, Rectangular with fuse, photocell, 25' square steel anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.06 | 2442.8301 | 1238.7511 | 1104.47 | 4786.0512
9 | 56- 100W, LED, Rectangular with fuse, photocell, 25' square steel anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.07 | 2526.4971 | 1238.7511 | 1129.57 | 4894.8182
10 | 101 - 140W, LED, Rectangular with fuse, photocell, 25' square steel anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.08 | 2569.0464 | 1238.7511 | 1142.34 | 4950.1375
11 | LED Post Top
12 | 0 - 55W, LED, Post Top with fuse, photocell, 20' fiberglass pole, 120' span of 4 AL duplex w/ trench and conduit | 22.09 | 1110.0256 | 1283.2987 | 718 | 3111.3243
13 | 56 - 100W, LED, Post Top with fuse, photocell, 20' fiberglass pole, 120' span of 4 AL duplex w/ trench and conduit | 22.10 | 1140.4408 | 1283.2987 | 727.12 | 3150.8595
14 | LED Historical
15 | 0 - 55W, LED, Historical with fuse, photocell, 11' AL Historical anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.11 | 1534.9063 | 1326.7906 | 858.51 | 3720.2069
16 | 56 - 100W, LED, Historical with fuse, photocell, 11' AL Historical anchor based pole, 120' span of 4 AL duplex w/ trench and conduit | 22.12 | 2417.4396 | 1326.7906 | 1123.27 | 4867.5002
17 | Schedule B Installations
18 | 100W HPS1 (using 0-55W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.13 | 2656.7113 | 1477.9111 | 1240.39 | 5375.0124
19 | 150W HPS1 (using 56-100W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.15 | 2691.2895 | 1477.9111 | 1250.76 | 5419.9606
20 | 200W HPS1 (using 101-140W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.16 | 2790.0823 | 1477.9111 | 1280.4 | 5548.3934
21 | 250W HPS1 (using 141-180W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.17 | 2929.1867 | 1477.9111 | 1322.13 | 5729.2278
22 | 400W HPS1 (using 181-265W LED Cobra Head costs) mounted on a 30' round, steel, anchor base pole & 120' of 4 Al duplex | 22.18 | 3086.7988 | 1477.9111 | 1369.41 | 5934.1199
1 - Also applicable to comparable non-LED lights as shown in the Mercury Vapor and Metal Halide Conversion Table in the Company's Lighting Service Tariff.