## Index
RTP Scope Section Number | Input Assumption | Status | Date
Transmission Topology
4.3 | Start Cases | Final | 2024-02-23
4.3 | Recently Approved RPG Projects | Final | 2024-08-07
4.3 | Model Updates/Corrections | Final | 2024-08-11
3.1.3 | Transmission & Generation Outages | Final | 2024-02-23
Generation
3.2.1 | Generation Additions, Retirements and Mothballs | Final | 2024-02-23
3.2.2 | Renewable Generation Dispatch | Final | 2024-02-23
3.2.3 | Switchable Generation | Final | 2024-02-23
3.2.4 | DC Tie Modeling and Dispatch | Final | 2024-02-23
3.2.5 | Reserve Requirements | Final | 2024-02-23
3.2.6 | Fuel Price Assumptions | Final | 2024-01-30
3.2.6 | Emission Cost Assumptions | Final | 2024-03-01
Demand
3.3 | Load Forecast (Economic) Weather Year Assumption | Final | 2024-05-06

## Start Cases
Date Last Updated: | 2024-02-23 | Back
Status | Final
Based on 2023 RTP final summer peak reliability cases for years 2026 and 2029

## Recently Approved RPG Projects
| Date Last Updated: | 2024-08-07 | Back
| Status | Final
RPG Project ID | Project Name | TDSP | Approve Date | 2026 | 2029
22RPG026 | Wimberley Loop project | PEC | 2023 |  | X
22RPG042 | Carver to Maxwell 138 kV Line Rebuild Project | AEPSC | 2022 | X | X
22RPG047 | Peck to Driver 138 kV Line Project | Oncor | 2023 | X | X
23RPG001 | Bessel to Falfurrias 138 kV Line Rebuild Project | AEPSC | 2023 | X | X
23RPG004 | Lockhart to Luling 69-kV Transmission Line Overhaul Project | LCRA | 2023 | X | X
23RPG006 | North Lake 138 kV Switch Rebuild | Oncor | 2023 | X | X
23RPG012 | Stone Lake Area Upgrades Project | CNP | 2023 | X | X
23RPG013 | Silverleaf and Cowpen 345/138-kV Stations Project | TNMP | 2023 |  | X
23RPG015 | Cuero Substation Upgrade Project | LCRA | 2023 | X | X
23RPG016 | Tributary Switch – Vincent Rebuild Project | ONCOR | 2023 | X | X
23RPG018 | Arlington Reliability Enhancement Project | ONCOR | 2023 | X | X
23RPG019 | Stanton Loop South Dynamic Reactive Power Project | ONCOR | 2023 | X | X
23RPG021 | West Columbia to Big Creek ckt 89 Reconductor Project | CNP | 2023 | X | X
23RPG023 | Pecos County Transmission Improvement Projet | TNMP | 2024 |  | X
23RPG026 | Synchronous Condensers Project | WETT | 2023 |  | X
23RPG027 | Bakersfield Dynamic Reactive Substation Upgrade | LCRA | 2023 |  | X
23RPG028 | Rio Medina Project | STEC | 2024 |  | X
23RPG029 | West Texas Synchronous Condenser Project | ONCOR | 2023 |  | X
23RPG034 | West Texas 345-kV Infrastructure Rebuild Project | Oncor | 2024 |  | X
23RPG032 | San Antonio South Reliability II Project | BEC | 2024 |  | X
24RPG002 | Rockhound 345/138-kV Switch and Grey Well Draw to Buffalo 2nd 138-kV Circuit Project | Oncor | 2024 | X | X
24RPG005 | Montfort Switch to Shankle Switch 138-kV Line Project | Oncor | 2024 | X | X
24RPG006 | Prairieland 345/138-kV Switch and Prairieland Switch to Quartz Sand Switch/Hog Mountain Pod 138-kV Line Project | Oncor | 2024 | X | X
24RPG009 | Sonora to Uvalde to Campwood to Bandera Area Transmission Project | AEPSC, LCRA, BEC | 2024 |  | X
24RPG003 | Eastside 345/138-kV Switching Station Project | CPS | 2024 |  | X
24RPG004 | Omicron Reliability Project | CPS | 2024 |  | X
23RPG032 | San Antonio South Reliability II Project | BEC | 2024 |  | X

## Model Updates & Corrections
Date Last Updated: | 2024-08-11 | Back
Status | Final
Model Corrections/Updates Made to the 2022 RTP Cases
Transmission Changes | TO | 2026 | 2029 | Comments
Added the Tier 4 Project that adds bus Hog Mountain 138 kV POD | Oncor | X | X | TPIT Project 76686 (Tier 4)
Backed out RTP placeholder project 2023-NC6 Telico Area Upgrades | Oncor | X | X | Replaced by RPG-approved Montfort Switch to Shankle Switch 138-kV Line Tier 3 Project (24RPG005)
Added missing P7 contingencies associated with ERCOT RPG approved LRGV project Option 2 | AEP/STEC |  | X | P7 contingencies missing in SSWG contingency database
Updated Elmaton POI reconfiguration | CNP | X | X | Based on CNP's feedback
Updated P7 contingency definitions for King - Rothwood 345-kV circuits 74 and 75 to include split bus configuration | CNP | X | X | Based on CNP's feedback
Added missing Teal - Limmer second 345-kV circuit and associated contingencies of RPG-approved Tier 3 project 'East Hutto Area 345/138 kV Project (22RPG027) | Oncor/LCRA | X | X | The second circuit was not added during the 2023 RTP case conditioning process
Updated DLRs for Pawnee (5725) - Spruce (5400) and Pawnee (5725) - Tango (8689) 345-kV lines based on TSP input | CPS | X |  | Based on CPS's feedback to ERCOT Operations
Updated line ratings for Big Hill (76003) - Bakersfield (76002) 345-kV double circuit | STEC | X | X | Based on comments from STEC
Updated ratings on Howard (5231) - Miguel (5901) 345-kV line based on latest submission in MOD | CPS/STEC |  | X | MOD Project 75255 (Tier 1)
Generation Changes | TO | 2026 | 2029 | Comments
Changed POI for Maleza Solar (21INR0220) to JULIA__POI_5 (44220) | CNP | X | X | Based on latest information in RIOO as of 2/1/2024
Updated capacity of Roadrunner Crossing Wind I (19INR0117) TO 126.9 MW | LST | X | X | Based on latest information in RIOO as of 2/1/2024
Updated unit size for Gulf Star Solar (23INR0111) to 451.63 MW | CNP | X | X | Based on latest information in RIOO as of 2/1/2024
Updated unit size for Padua Grid BESS (22INR0368) to 51.1 MW | CPS | X | X | Based on latest information in RIOO as of 2/1/2024
Phase Shifters | TO | 2026 | 2029 | Comments

## Transmission & Gen Outages
Date Last Updated: | 2024-02-23 | Back
Status | Final
Outaged Element | Associated TO/RE | 2026 | 2029 | Notes
Spencer Unit 4 | City of Garland | X | X | NSO posted
Spencer Unit 5 | City of Garland | X | X | NSO posted
Powerlane Plant STG 1 | GEUS | X | X | NSO posted
CHISHOLM GRID BAT | Chisholm Grid, LLC/Able Grid | X |  | NSO posted
Automated maintenance schedules modeled by UPLAN

## Gen Add, Ret. and Mothball
Date Last Updated: | 2024-02-23 | Back
Status | Final
6.9(1) conditions met as of: | 2024-08-07
New generators that met PG 6.9(1) requirements
GINR Reference Number | Project Name | County | Projected Date | Fuel | MW For Grid | Changes From Last Report | Meets Section 6.9 Requirements (1)(b) through (1)(d) | 2026 | 2029 | Comments
21INR0505 | Ramsey Storage | Wharton | 2025-12-31 | Other | 510.4 |  | 2023-08-18 | X | X
22INR0267 | Shaula II Solar | DeWitt | 2026-05-30 | Solar | 205.2 |  | 2023-03-27 | X | X
23INR0555 | Farmersville West BESS 1 | Collin | 2024-04-09 | Other | 9.9 |  | 2023-10-04 | X | X
22INR0251 | Shaula I Solar | DeWitt | 2025-10-30 | Solar | 205.2 |  | 2023-03-27 | X | X
23INR0507 | Bay City BESS | Matagorda | 2023-11-03 | Other | 9.99 |  | 2023-05-03 | X | X
23INR0483 | Rio Nogales CT1 Rotor Replacement | Guadalupe | 2023-06-08 | Gas | 3.1 |  | 2023-10-13 | X | X
20INR0208 | Signal Solar | Hunt | 2025-03-15 | Solar | 51.79 |  | 2023-06-12 | X | X
23INR0367 | Fewell Solar | Limestone | 2025-09-09 | Solar | 203.5 |  | 2023-08-28 | X | X
23INR0554 | Hamilton BESS | Val Verde | 2024-04-22 | Other | 9.95 |  | 2023-05-03 | X | X
21INR0012 | Air Products GCA | Galveston | 2024-03-08 | Gas | 60 |  | 2023-03-13 | X | X
22INR0260 | Eliza Storage | Kaufman | 2024-11-01 | Other | 100.2 |  | 2023-02-17 | X | X
24INR0070 | Sypert Branch Solar Project | Milam | 2025-06-01 | Solar | 261.78 |  | 2023-10-18 | X | X
24INR0265 | Ironman BESS | Brazoria | 2025-01-13 | Other | 304.2 |  | 2023-08-25 | X | X
23INR0565 | Garden City East BESS | Glasscock | 2024-02-07 | Other | 9.95 |  | 2023-06-01 | X | X
23INR0159 | Five Wells Storage | Bell | 2023-12-30 | Other | 220.8 |  | 2023-02-27 | X | X
23INR0515 | Santa Rosa BESS | Cameron | 2023-12-11 | Other | 9.99 |  | 2023-08-25 | X | X
23INR0688 | Midway_BESS | Ector | 2024-03-01 | Other | 9.95 |  | 2023-11-01 | X | X
22INR0422 | Ferdinand Grid BESS | Bexar | 2026-05-31 | Other | 202.65 |  | 2023-08-18 | X | X
23INR0030 | Langer Solar | Bosque | 2027-03-01 | Solar | 249.8 |  | 2024-01-05 |  | X
23INR0543 | Continental BESS | Starr | 2024-03-29 | Other | 9.8 |  | 2023-06-05 | X | X
23INR0514 | North Mercedes BESS | Hidalgo | 2023-12-11 | Other | 9.99 |  | 2023-06-01 | X | X
21INR0511 | Wolf Ridge Repower | Cooke | 2024-04-02 | Wind | 121.5 |  | 2023-03-31 | X | X
23INR0508 | Los Fresnos BESS | Cameron | 2023-12-08 | Other | 9.99 |  | 2023-02-24 | X | X
22INR0502 | Shamrock | Crockett | 2024-04-19 | Wind | 223.92 |  | 2023-04-28 | X | X
24INR0010 | Pinnington Solar | Jack | 2025-10-15 | Solar | 666.1 |  | 2023-11-15 | X | X
24INR0436 | Carambola BESS | Hidalgo | 2026-05-31 | Other | 97.43 |  | 2023-08-08 | X | X
23INR0219 | Dogfish BESS | Pecos | 2024-12-31 | Other | 75 |  | 2023-08-01 | X | X
21INR0515 | Roadrunner Crossing Wind II SLF | Eastland | 2025-01-20 | Wind | 126.72 |  | 2023-05-01 | X | X
25INR0223 | Uhland Maxwell | Caldwell | 2025-04-15 | Gas | 188.4 |  | 2023-09-05 | X | X
23INR0556 | IEP Orchard BESS | Fort Bend | 2024-08-06 | Other | 9.99 |  | 2024-01-04 | X | X
24INR0273 | Al Pastor BESS | Dawson | 2024-08-16 | Other | 103.1 |  | 2023-11-01 | X | X
23INR0509 | Garceno BESS | Starr | 2023-12-08 | Other | 9.99 |  | 2023-02-01 | X | X
22INR0261 | Dorado Solar | Callahan | 2025-12-31 | Solar | 406.25 |  | 2023-07-10 | X | X
19INR0054 | Monte Cristo 1 Wind | Hidalgo | 2025-08-20 | Wind | 234.5 |  | 2023-08-18 | X | X
24INR0586 | Judkins BESS | Ector | 2024-02-07 | Other | 9.95 |  | 2023-11-01 | X | X
23INR0296 | Trojan Solar | Cooke | 2026-02-28 | Solar | 151.25 |  | 2023-07-28 | X | X
24INR0138 | Midpoint Storage | Hill | 2025-08-30 | Other | 52.24 |  | 2023-11-13 | X | X
23INR0381 | Soportar ESS | Bexar | 2025-03-15 | Other | 102.11 |  | 2023-08-25 | X | X
23INR0513 | Elsa BESS | Hidalgo | 2023-12-11 | Other | 9.99 |  | 2023-08-25 | X | X
23INR0620 | Falfurrias BESS | Brooks | 2024-04-24 | Other | 9.9 |  | 2023-10-04 | X | X
25INR0105 | Diver Solar | Limestone | 2026-06-30 | Solar | 228.16 |  | 2023-11-13 | X | X
23INR0523 | Damon_Storage | Brazoria | 2024-06-28 | Other | 5 |  | 2023-12-01 | X | X
25INR0328 | Longbow BESS | Brazoria | 2024-11-13 | Other | 180.8 |  | 2023-12-12 | X | X
22INR0555 | Guevara Storage | Rockwall | 2025-07-15 | Other | 125.36 |  | 2023-11-13 | X | X
23INR0477 | North Alamo BESS | Hidalgo | 2023-11-30 | Other | 9.99 |  | 2023-05-03 | X | X
23INR0470 | BoCo BESS | Borden | 2024-06-22 | Other | 155.48 |  | 2023-03-09 | X | X
24INR0295 | Lucky Bluff BESS | Erath | 2025-05-31 | Other | 100.8 |  | 2023-11-20 | X | X
23INR0331 | Talitha BESS | Jim Wells | 2024-06-30 | Other | 61.39 |  | 2023-04-04 | X | X
24INR0587 | Lufkin South BESS | Angelina | 2024-03-04 | Other | 9.95 |  | 2023-11-01 | X | X
24INR0139 | Midpoint Solar | Hill | 2025-08-30 | Solar | 103.8 |  | 2023-11-13 | X | X
21INR0368 | Eliza Solar | Kaufman | 2024-11-01 | Solar | 151.6 |  | 2023-02-17 | X | X
21INR0302 | Aureola Solar | Milam | 2024-06-28 | Solar | 203 |  | 2023-08-01 | X | X
22INR0353 | Carina BESS | Nueces | 2024-12-31 | Other | 154.12 |  | 2023-07-18 | X | X
20INR0248 | Second Division Solar | Brazoria | 2024-09-17 | Solar | 100.3 |  | 2023-10-31 | X | X
23INR0387 | Pioneer DJ Wind | Midland | 2024-05-03 | Wind | 140.32 |  | 2023-04-28 | X | X
23INR0091 | Cascade Solar | Brazoria | 2025-04-30 | Solar | 254.2 |  | 2023-12-07 | X | X
24INR0312 | Wigeon Whistle BESS | Collin | 2024-09-01 | Other | 122.9 |  | 2023-10-31 | X | X
24INR0281 | Red Egret BESS | Galveston | 2025-06-01 | Other | 310.58 |  | 2023-08-08 | X | X
23INR0510 | Rio Grande City BESS | Starr | 2023-12-08 | Other | 9.99 |  | 2023-02-24 | X | X
24INR0614 | Russek Street BESS | Reagan | 2024-05-04 | Other | 9.9 |  | 2024-01-04 | X | X
23INR0070 | Chillingham Solar | Bell | 2024-12-15 | Solar | 352.39 |  | 2024-01-30 | X | X
24INR0397 | Destiny Storage | Harris | 2026-01-31 | Other | 201.11 |  | 2023-09-21 | X | X
21INR0379 | Ash Creek Solar | Hill | 2025-01-31 | Solar | 417.74 |  | 2024-01-17 | X | X
24INR0632 | Cedro Hill Wind Repower | Webb | 2024-12-28 | Wind | 159.93 |  | 2024-01-30 | X | X
23INR0403 | Connolly Storage | Wise | 2024-08-15 | Other | 125.36 |  | 2023-08-18 | X | X
24INR0605 | TEXAS GULF SULPHUR REPOWER | Wharton | 2024-08-19 | Gas | 94 |  | 2024-01-31 | X | X
20INR0217 | CAROL wind | Potter | 2025-04-17 | Wind | 165.42 |  | 2024-01-31 | X | X
23INR0336 | Bypass Battery Storage | Fort Bend | 2025-12-15 | Other | 206.9 |  | 2024-01-09 | X | X
22INR0354 | XE MURAT Solar | Harris | 2024-06-01 | Solar | 60.36 |  | 2023-08-03 | X | X
25INR0232 | Isaac Solar | Matagorda | 2026-03-31 | Solar | 51.6 |  | 2023-10-31 | X | X
24INR0141 | Gaia Solar | Navarro | 2025-07-31 | Solar | 152.65 |  | 2023-11-15 | X | X
24INR0140 | Gaia Storage | Navarro | 2025-07-31 | Other | 76.83 |  | 2023-11-15 | X | X
24INR0329 | XE Murat Storage | Harris | 2024-12-14 | Other | 62.05 |  | 2024-02-01 | X | X
24INR0337 | Eldora Solar | Matagorda | 2026-06-30 | Solar | 200.94 |  | 2023-12-18 | X | X
21INR0304 | Halo Solar | Bell | 2024-06-29 | Solar | 254 |  | 2023-08-01 | X | X
24INR0039 | SP Jaguar BESS | McLennan | 2025-06-30 | Other | 300 |  | 2023-08-25 | X | X
23INR0026 | Baker Branch Solar | Lamar | 2024-08-01 | Solar | 469.42 |  | 2023-10-03 | X | X
24INR0015 | Five Wells Solar | Bell | 2024-03-30 | Solar | 322.82 |  | 2023-03-22 | X | X
23INR0349 | Tokio Solar | McLennan | 2025-08-25 | Solar | 177.64 |  | 2023-11-17 | X | X
26INR0042 | Valhalla Solar | Brazoria | 2026-05-31 | Solar | 306.8 |  | 2024-01-05 | X | X
23INR0062 | Noria Storage | Nueces | 2025-09-01 | Other | 75 |  | 2023-04-12 | X | X
24INR0109 | Oriana BESS | Victoria | 2025-07-02 | Other | 60.3 |  | 2023-08-25 | X | X
22INR0366 | LIBRA BESS | Guadalupe | 2024-03-30 | Other | 206.21 |  | 2023-02-10 | X | X
23INR0511 | Mayberry BESS | Cameron | 2023-12-22 | Other | 9.99 |  | 2023-02-24 | X | X
23INR0408 | TECO GTG2 | Harris | 2024-04-15 | Gas | 50 |  | 2023-04-20 | X | X
23INR0512 | West Harlingen BESS | Cameron | 2023-12-11 | Other | 9.99 |  | 2023-08-25 | X | X
25INR0162 | SOHO II BESS | Brazoria | 2025-01-01 | Other | 206.32 |  | 2023-08-24 | X | X
23INR0418 | Angelo Storage | Tom Green | 2024-05-31 | Other | 102.97 |  | 2023-05-01 | X | X
21INR0240 | La Casa Wind | Stephens | 2025-06-10 | Wind | 148.4 |  | 2024-01-04 | X | X
21INR0303 | Mandorla Solar | Milam | 2024-11-29 | Solar | 254 |  | 2023-08-24 | X | X
21INR0389 | Hollywood Solar | Wharton | 2024-06-30 | Solar | 353.41 |  | 2023-02-03 | X | X
14INR0033 | Goodnight Wind | Armstrong | 2024-02-14 | Wind | 258.1 |  | 2023-05-01 | X | X
19INR0203 | Angelo Solar | Tom Green | 2024-05-31 | Solar | 195.41 |  | 2023-05-01 | X | X
23INR0114 | True North Solar | Falls | 2024-06-30 | Solar | 238.26 |  | 2023-06-06 | X | X
23INR0525 | Pyron Wind Repower | Nolan | 2024-02-01 | Wind | 268.92 |  | 2023-10-13 | X | X
20INR0040 | Montgomery Ranch Wind | Foard | 2024-09-01 | Wind | 200.2 |  | 2023-07-31 | X | X
24INR0038 | SP Jaguar Solar | McLennan | 2025-06-30 | Solar | 300 |  | 2023-08-25 | X | X
23INR0460 | GULF STAR STORAGE | Wharton | 2024-06-25 | Other | 152.74 |  | 2023-04-28 | X | X
21INR0450 | Danish Fields Storage | Wharton | 2024-03-06 | Other | 152.43 |  | 2023-07-11 | X | X
24INR0338 | Eldora BESS | Matagorda | 2026-06-30 | Other | 201.31 |  | 2023-12-18 | X | X
21INR0424 | Tierra Bonita Solar | Pecos | 2024-10-29 | Solar | 306.9 |  | 2023-07-24 | X | X
20INR0210 | Hopkins Solar | Hopkins | 2023-12-30 | Solar | 253.08 |  | 2023-04-28 | X | X
24INR0427 | CPS AvR CT1 Rotor Replacement | Bexar | 2024-02-15 | Gas | 11.3 |  | 2023-04-18 | X | X
21INR0325 | Sheep Creek Wind | Callahan | 2024-02-15 | Wind | 153 |  | 2023-05-01 | X | X
24INR0100 | Sheep Creek Storage | Callahan | 2024-07-01 | Other | 142.1 |  | 2023-11-01 | X | X
23INR0637 | Goodnight Wind II | Armstrong | 2025-11-29 | Wind | 258.3 |  | 2023-05-01 | X | X
19INR0134 | Cottonwood Bayou Solar | Brazoria | 2024-08-13 | Solar | 351.4 |  | 2023-04-27 | X | X
24INR0023 | Compadre Solar | Hill | 2024-12-11 | Solar | 406.14 |  | 2024-02-01 | X | X
24INR0208 | Eastbell Milam Solar II | Milam | 2024-12-20 | Solar | 152.52 |  | 2024-02-01 | X | X
23INR0044 | Parliament Solar | Waller | 2024-12-31 | Solar | 484.56 |  | 2024-01-24 | X | X
PG 6.9(1) Inactive Projects
INR | Project Name | Fuel | County | Inactive Date | MW
19INR0099a | Kontiki 1 Wind (ERIK) | WIND | Glasscock | 2022-03-10 | 255.3
19INR0099b | Kontiki 2 Wind (ERNEST) | WIND | Glasscock | 2022-03-10 | 255.3
17INR0022 | MIRAGE | GAS | Harris | 2023-05-31 11:28 | 11
PG 6.9(1) Cancelled Projects
INR | Project Name | Fuel | County | Inactive Date | MW
23INR0042 | Delilah Solar 3 | SOLAR | Lamar | 2023-05-31 | 204.1
23INR0060 | Delialh Solar 4 | SOLAR | Lamar | 2023-05-31 | 90
22INR0397 | Buckeye Corpus Fuels Solar | SOLAR | Nueces | 2023-08-04 | 57.59
21INR0499 | Neptune Solar | SOLAR | Jackson | 2024-08-02 | 206.3
Retired Units
Unit Name | MW For Grid | 2026 | 2029 | Comments
OCI ALAMO 1 (ASTRO) | 1 | X | X | NSO posted
DOW G37 | 59.19 | X | X | NSO posted
J T DEELY U1 | 420 | X | X | NSO posted
J T DEELY U2 | 420 | X | X | NSO posted
Generation Resources Unavailable in Planning Studies Prior to NSO
Unit Name | MW For Grid | 2026 | 2029 | Comments
COLETO CREEK | 655 |  | X | https://mis.ercot.com/secure/data-products/grid/generation?id=PG3-1411-M
V H BRAUNIG STG 1 | 217 |  | X
V H BRAUNIG STG 2 | 230 |  | X
V H BRAUNIG STG 3 | 412 |  | X
O W SOMMERS STG 1 | 420 |  | X
O W SOMMERS STG 2 | 410 |  | X
J K SPRUCE U1 | 560 |  | X
Mothballed Units
Unit Name | MW For Grid | 2026 | 2029 | Comments
RAY OLINGER STG 1 | 78 | X | X | NSO posted
CALENERGY-FALCON SEABOARD STG 3 | 62 | X | X | NSO posted
BRANDON (LP&L) (DGR) | 25 | X | X | NSO posted
R MASSENGALE CTG 1 (LP&L) | 20 | X | X | NSO posted
R MASSENGALE CTG 2 (LP&L) | 20 | X | X | NSO posted
R MASSENGALE STG (LP&L) | 58.9 | X | X | NSO posted
TY COOKE CTG 1 (LP&L) | 18.7 | X | X | NSO posted
TY COOKE CTG 2 (LP&L) | 26.6 | X | X | NSO posted
WICHITA FALLS STG 4 | 17 | X | X | NSO posted
Deer Park Shell Energy Unit 1 | 65 | X | X | NSO posted
Deer Park Shell Energy Unit 2 | 65 | X | X | NSO posted
Deer Park Shell Energy Unit 3 | 30 | X | X | NSO posted
Deer Park Shell Energy Unit 4 | 30 | X | X | NSO posted
DOW_DOW_ST64 | 50 | X | X | NSO posted
AMOCO OIL COGEN 5 | 32 | X | X | Notice of probability
TEXAS BIG SPRING WIND B | 6.6 | X | X | NSO posted
TOS BATTERY STORAGE (DGR) | 2 | X | X | NSO posted
Retirement Units back in service
Unit Name | MW For Grid | 2026 | 2029 | Comments
W A PARISH - PETRA NOVA (PNPI_GT2) | 71 | X | X | NCGRD posted
GREGORY POWER PARTNERS GT1 | 145 | X | X | NCGRD posted
GREGORY POWER PARTNERS GT2 | 145 | X | X | NCGRD posted
GREGORY POWER PARTNERS STG | 75 | X | X | NCGRD posted
BARNEY M DAVIS STG 1 | 292 | X | X | Rescinded NSO on 10/27/2023
MOUNTAIN CREEK STG 8 | 568 | X | X | NCGRD posted

## Renewable Generation Dispatch
Date Last Updated: | 2024-02-23 | Back
Status | Final
Solar
http://www.ercot.com/gridinfo/resource
Weather years used for analysis:
Base | 2013
Wind
http://www.ercot.com/gridinfo/resource
Weather years used for analysis:
Base | 2013
Hydro
Unit specific monthly capacity factors modeled based on historical dispatch levels during the last three years.

## Switchable Generation
Date Last Updated: | 2024-02-23 | Back
Status | Final
Operational Resources (Switchable)
Unavailable to ERCOT during summer 6/1-9/30
UNIT NAME | UNIT CODE | COUNTY | FUEL | ZONE | IN SERVICE | 2026 | 2029
ANTELOPE IC 1 | ANTLP_G1 | HALE | GAS | WEST | 2016 | 54 | 54
ANTELOPE IC 2 | ANTLP_G2 | HALE | GAS | WEST | 2016 | 54 | 54
ANTELOPE IC 3 | ANTLP_G3 | HALE | GAS | WEST | 2016 | 54 | 54
ELK STATION CTG 1 | AEEC_ELK_1 | HALE | GAS | WEST | 2016 | 190 | 190
ELK STATION CTG 2 | AEEC_ELK_2 | HALE | GAS | WEST | 2016 | 190 | 190
TENASKA KIAMICHI STATION 2CT101 | KMCHI_2CT101 | FANNIN | GAS-CC | NORTH | 2003 | 185 | -
TENASKA KIAMICHI STATION 2CT201 | KMCHI_2CT201 | FANNIN | GAS-CC | NORTH | 2003 | 185 | -
TENASKA KIAMICHI STATION 2ST | KMCHI_2ST | FANNIN | GAS-CC | NORTH | 2003 | 330 | -
Switchable Capacity Unavailable to ERCOT | SWITCH_UNAVAIL |  | GAS |  |  | 1242 | 542
Unavailable to ERCOT during winter 12/1-2/28
UNIT NAME | UNIT CODE | COUNTY | FUEL | ZONE | IN SERVICE | 2025/2026 | 2027/2028
TENASKA KIAMICHI STATION 2CT101 | KMCHI_2CT101 | FANNIN | GAS-CC | NORTH | 2003 | 185 | -
Switchable Capacity Unavailable to ERCOT | SWITCH_UNAVAIL |  | GAS |  |  | 185 | -

## DC Tie Modeling & Dispatch
Date Last Updated: | 2024-02-23 | Back
Status | Final
Economic Analysis
DC Tie Dispatch - 8760-hour Assumptions
DC_E | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_N | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_L | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_R | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.

## Reserve Requirement
Date Last Updated: | 2024-02-23 | Back
Status | Final
Economic Analysis | 1599
The reserve requirement used in the economic models are based on a review of ERCOT’s 2024 Responsive Reserve and Regulation Up requirements. Note that the MW contribution of load resources is not an input into the economic model.

## Fuel Price Assumptions
Date Last Updated: | 2024-01-30 | Back
Status | Final
Source | EIA 2023 AEO Reference Case
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average
2024 | 4.5573 | 4.3328 | 4.0586 | 4.1636 | 4.2715 | 4.3429 | 4.2426 | 4.3035 | 4.301 | 4.4673 | 4.4492 | 4.6406 | 4.3442
2025 | 3.99 | 3.7934 | 3.5533 | 3.6452 | 3.7397 | 3.8022 | 3.7144 | 3.7678 | 3.7655 | 3.9111 | 3.8953 | 4.0628 | 3.8034
2026 | 3.5799 | 3.4035 | 3.1881 | 3.2706 | 3.3554 | 3.4114 | 3.3327 | 3.3805 | 3.3785 | 3.5092 | 3.495 | 3.6453 | 3.4125
2027 | 3.4037 | 3.236 | 3.0312 | 3.1096 | 3.1902 | 3.2435 | 3.1687 | 3.2141 | 3.2122 | 3.3364 | 3.3229 | 3.4659 | 3.2445
2028 | 3.4125 | 3.2444 | 3.039 | 3.1177 | 3.1985 | 3.2519 | 3.1769 | 3.2225 | 3.2206 | 3.3451 | 3.3316 | 3.4748 | 3.253
2029 | 3.5187 | 3.3454 | 3.1336 | 3.2147 | 3.2981 | 3.3531 | 3.2758 | 3.3228 | 3.3208 | 3.4492 | 3.4353 | 3.583 | 3.3542

## Emission Cost Assumptions
Date Last Updated: | 2024-03-01 | Back
Status | Final
Source | EIA AEO
Emission | $/ton
Nox (Seasonal) | 166
SO2 | 0
CO2 | 0

## Economic Case-Load Forecast
Date Last Updated: | 2024-05-06 | Back
Status | Final
Load forecast (economic)
Weather year assumption | Base: 2013
The peak and hourly profile information will be posted along with the case information
Note that the 2013 weather scenario is the base weather scenario used as the starting point in the economic analysis.