## Projects
The following is a list of projects seen after P0, P1, P2.1, P7, P3, P6.2, P2.2(EHV), P2.3(EHV), P4.1(EHV), P4.2(EHV), P4.3(EHV), P4.4(EHV), P4.5(EHV), and P5(EHV) analysis. An "X" mark in column H to L indicates that the project is needed for that year. This project is then included in all subsequent study years.
Project Index | Project Description | Test | Transmission Owner or Facility Owner | ERCOT Contact | County | 2027 | 2028MIN | 2028 | 2030 | 2031 | MOD or TPIT Number | Notes
2021-WFW01 | Big Lake (6534) to Cassava (60360) 69-kV to 138-kV Line Conversion | P1.2, P1.3, P2.2 | AEPSC | Misael Rodriguez misael.rodriguez@ercot.com | Irion | X | X | X | X | X | N/A | This project was identified in the previous 2021 RTP cycle as Project 2021-WFW01.
2022-WFW01 | Twin Buttes (76011) to Hargrove (6648) to Pumpjack (60374) to Jerry (6559) to Russek Street (6517) to Big Lake (6535) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | AEPSC, LCRA TSC | Misael Rodriguez misael.rodriguez@ercot.com | Irion, Reagan, Tom Green | X | X | X |  |  | N/A | This project was identified in the previous 2022 RTP cycle as Project 2022-WFW01.
2023-E01 | Big Brown SES (3380-3381) to Jewett (3390-3391) 345-kV Line Upgrade and Substation Rebuilds | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Leon, Limestone | X |  | X |  |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2023-E01.
2023-E02 | Canton Switch (3174) to Edgewood (3181) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Van Zandt | X | X |  |  |  | N/A | This project was identified in the previous 2023 RTP cycle as Project 2023-E02.
2023-FW01 | Glasscock County North (1334) to Forsan Tap (1335) to Mcdonald (1333) to Polecat (11337) 138-kV Line Upgrade | P1.2, P1.3, P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Glasscock | X |  | X |  |  | N/A | This project was identified in the previous 2023 RTP cycle as Project 2023-FW01.
2023-FW11 | New Load Bus (900062) 138-kV Capacitor Bank Addition | P1.2 | New | Misael Rodriguez misael.rodriguez@ercot.com | Reagan | X |  | X | X | X | N/A | This project was identified in the previous 2023 RTP cycle as Project 2023-FW11.
2023-SC03 | Dessau (9193) to McNeil AEN (9076) 138-kV Line Upgrade | P7.1_ERCOT1 | AEN | Daniel Johnson daniel.johnsonjr@ercot.com | Travis | X |  |  |  |  | N/A | This project was identified in the previous 2023 RTP cycle as Project 2023-SC03.
2023-SC07 | Cachena (5068) 345-kV Reactor Addition | P1.2, P3_ERCOT2, P7.1_ERCOT1 | CPS | Amy Chen jiayi.chen@ercot.com | Lavaca | X | X |  |  |  | N/A | This project was identified in the previous 2023 RTP cycle as Project 2023-SC07.
2023-SC15 | Sim Gideon Area 138-kV Line Upgrades | P0, P1.2, P1.3, P2.3_EHV, P3_ERCOT2, P6.2_ERCOT3, P7.1_ERCOT1 | LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Bastrop, Fayette, Travis | X | X | X | X | X | N/A | This project is an expansion of Project 2023-SC15.
2023-W09 | New Load Bus (900110) 138-kV Capacitor Bank Addition | P1.2 | New | Misael Rodriguez misael.rodriguez@ercot.com | Reagan | X |  | X | X | X | N/A | This project was identified in the previous 2023 RTP cycle as Project 2023-W09.
2024-E08 | Monticello Tap (1794) to Sulphur Springs East Tap (1797) 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Hopkins, Titus |  |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-E08.
2024-E12 | Trinidad SES (3124) to Richland Chambers (3134) 345-kV Line Upgrade | P3_ERCOT2, P6.2_ERCOT3 | ONCOR | Amy Chen jiayi.chen@ercot.com | Freestone, Henderson | X |  | X |  |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-E12.
2024-FW07 | White Baker (38340) to Keo (131453) to Fortblocks (9424) 138-kV Line Upgrades | P0, P1.2, P7.1_ERCOT1 | TNMP | Misael Rodriguez misael.rodriguez@ercot.com | Pecos | X | X | X |  |  | N/A | Accelerated Permian Basin local project L13 without any modifications.
2024-FW11 | Faulkner (838124) and 90005Tap (811610) 345/138-kV Substation Expansion, and Solstice (60404) to Faulkner (838124) to 90005Tap (811610) 345-kV Line Additions | P1.2 P7.1_ERCOT1 | AEPSC, ONCOR, TNMP | Misael Rodriguez misael.rodriguez@ercot.com | Pecos, Reeves |  |  | X |  |  | N/A | Accelerated Permian Basin local project L5 without any modifications.
2024-FW13 | Courtney Creek Switch (11242) 138-kV Capacitor Bank Addition | P1.2 | New, ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Howard | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-FW13.
2024-FW14 | TNMP 16th Street (38310) to Ocotillo (38383) 69-kV to 138-kV Line Conversion | P0 | TNMP | Misael Rodriguez misael.rodriguez@ercot.com | Pecos | X | X | X |  |  | N/A | Accelerated Permian Basin local project L12 without any modifications.
2024-N03 | Southwest Vernon (6064) Line and Southwest Vernon (6066/6064) 138/69-kV Transformer Upgrade | P1.2, P3_ERCOT2 | AEPSC | Jack Thornton jack.thornton@ercot.com | Wilbarger | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-N03.
2024-N05 | Jayton (6153) to Spur (6148) 69-kV Line Upgrades and Spur (6150/6148) 138/69-kV Transformer Upgrade | P1.2 | AEPSC | Jack Thornton jack.thornton@ercot.com | Kent, Motley | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-N05.
2024-N07 | Valley SES (1691) to Bells North POI (1699) to Progress Park Switch (12678) 138-kV Line Upgrades | P1.2, P6.2_ERCOT3 | ONCOR | Amy Chen jiayi.chen@ercot.com | Fannin, Grayson | X |  | X | X |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-N07.
2024-N10 | Bonham (1808) to Copper Head Switch (11809) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Fannin | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-N10.
2024-N14 | Hawk Hollow Switch (11768) to Monticello Tap (1794) 138-kV Line Upgrades | P6.2_ERCOT3 | ONCOR | Eric Cen eric.cen@ercot.com | Franklin, Lamar, Red River, Titus | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-N14
2024-NC05 | Hillsboro (3522/3523) 138/69-kV Transformer Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | Hill | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC05.
2024-NC06 | Miller (824) to Newman (849) 138-kV Line Upgrade | P1.2 | GPL | Amy Chen jiayi.chen@ercot.com | Dallas | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC06.
2024-NC08 | Centerville (810) to Miller (824) 138-kV Line Upgrade | P6.2_ERCOT3 | GPL | Eric Cen eric.cen@ercot.com | Dallas | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC08.
2024-NC09 | Walnut (823) to Newman (849) 138-kV Line Upgrade | P1.2, P6.2_ERCOT3 | GPL | Eric Cen eric.cen@ercot.com | Dallas | X |  | X | X |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC09.
2024-NC12 | Knob Creek Switch (3413) to Salado Switch (3699) 345-kV Line Upgrade | P0, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Bell | X | X |  |  |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC12. Only for 2027 and 2028MIN until 2025-NC05 goes in.
2024-NC13 | Pebble Creek (2229) to Trumbull (221) to Gamma (12344) to Shankle Switch (12329) 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | BREC, ONCOR | Eric Cen eric.cen@ercot.com | Ellis | X | X | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC13.
2024-NC16 | Loop 9 (2847) to Watermill (2427) 345-kV Line Upgrade | P3_ERCOT2 | ONCOR | Eric Cen eric.cen@ercot.com | Dallas | X |  |  | X |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC16.
2024-NC24 | Lake Creek SES (3410) to Riesel Switch (3702) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | Falls, McLennan | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC24.
2024-NC27 | Navarro (3478) to Haney (213) to Hubbard (3515) 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | BREC, ONCOR | Amy Chen jiayi.chen@ercot.com | Hill, Navarro |  |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC27.
2024-NC33 | Air Products Tap (2305) to Midlothian TXI (2307) 138-kV Line Upgrade | P1.2, P3_ERCOT2, P6.2_ERCOT3, P6.4_ERCOT4 | ONCOR | Eric Cen eric.cen@ercot.com | Ellis |  |  |  | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC33.
2024-NC36 | Commerce Switch (1816) to Crossroads Switch (1844) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Delta, Hunt |  |  |  | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC36.
2024-NC47 | Cedar Hill TU (3058) to Desoto Hampton Road (3059) 138-kV Line Upgrade | P1.2 | ONCOR | Amy Chen jiayi.chen@ercot.com | Dallas | X |  | X | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC47.
2024-NC55 | Outlaw Switch (3386) to Navarro (68091) 345-kV Line Upgrade | P3_ERCOT2 | LST, ONCOR | Jack Thornton jack.thornton@ercot.com | Navarro | X |  | X |  |  | N/A | This project is related to 2024-NC55.
2024-NC61 | Blue Horse (612) to Spring (684) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | BREC | Amy Chen jiayi.chen@ercot.com | Cooke, Denton |  |  |  |  | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC61.
2024-NC66 | Tri Corner (2432) to Forney Switch (2437) 345-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | Dallas, Kaufman | X |  | X |  |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC66.
2024-NC74 | Midlothian TXI (2307) to Waxahachie Northwest (2309) 138-kV Line Upgrades | P1.2, P6.2_ERCOT3, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Ellis |  |  |  | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-NC74.
2024-S13 | Nelson Sharpe (85000/85001) 345/138-kV Transformer Addition | P6.2_ERCOT3 | AEPSC | Daniel Johnson daniel.johnsonjr@ercot.com | Nueces |  |  |  |  | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-S13.
2024-SC04 | Wells Branch Area 138-kV Line Upgrades | P1.2, P3_ERCOT2, P7.1_ERCOT1 | LCRA TSC, ONCOR | Daniel Johnson daniel.johnsonjr@ercot.com | Travis | X |  |  |  | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-SC04.
2024-SC10 | Peters (46220) to Bellville South (7270) 138-kV Line Upgrade | P0, P1.1, P1.2, P2.2, P7.1_ERCOT1 | CNP, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Austin |  |  |  | X | X | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-SC10.
2024-SC21 | Austrop (9328) to Dunlap (9045) 138-kV Line Addition | P3_ERCOT2, P6.2_ERCOT3 | AEN | Daniel Johnson daniel.johnsonjr@ercot.com | Travis | X |  |  |  |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-S214.
2024-SC25 | Kenedy (8186) to Falls City (5145) 138-kV Line Upgrade | P1.1, P1.2, P1.3, P7.1_ERCOT1 | AEPSC | Daniel Johnson daniel.johnsonjr@ercot.com | Karnes | X |  | X |  |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-SC25.
2024-SC28 | Voss Lake 345/138-kV Substation Expansion and Bell County East (3687) to Voss Lake (3751) 345-kV Double-Circuit Line Upgrade | P0, P1.2, P7.1_ERCOT1 | LCRA TSC, ONCOR | Daniel Johnson daniel.johnsonjr@ercot.com | Milam | X |  | X | X | X | N/A | Project 2024-SC28 is part of the RPG project 25RPG009 which has an ISD of 12/2028; however, the 25RTP saw the need to accelerate part of the project to summer of 2027.
2024-SC29 | Muscovy 345/138-kV Substation Addition and Muscovy (3700) to Voss Lake (3751) 345-kV Double-Circuit Line Addition | P0, P1.2, P7.1_ERCOT1 | LCRA TSC, ONCOR | Daniel Johnson daniel.johnsonjr@ercot.com | Bell, Milam, Williamson |  |  | X | X | X | N/A | Project 2024-SC29 is part of the RPG project 25RPG009 which has an ISD of 12/2028; however, the 25RTP saw the need to accelerate part of the project to summer of 2028.
2024-SC32 | McNeil AEN (9076) 138-kV Bus Tie Breaker Upgrade | P1.2, P7.1_ERCOT1 | AEN | Daniel Johnson daniel.johnsonjr@ercot.com | Travis | X |  |  |  |  | N/A | This project was identified in the previous 2024 RTP cycle as Project 2024-SC32.
2025-C01 | Franklins Camp Sub (5566) to Bay City Sub (5560) 69-kV Line Upgrades and Franklins Camp Sub (5566) 138/69-kV Transformer Upgrade | P6.2_ERCOT3 | STEC | Mahnoush Yousefian mahnoush.yousefian@ercot.com | Brazoria |  | X |  |  |  | N/A | This project is an expansion of Project 2024-C06.
2025-C02 | Sam Rayburn Switchyard (5500) to Aloe Sub (5606) 69-kV Line Upgrades | P1.2 | STEC | Amy Chen jiayi.chen@ercot.com | Victoria |  |  |  | X | X | N/A | This project is a subset of Project 2024-C12.
2025-C03 | Sam Rayburn Switchyard (5502) 138/69-kV Transformer Upgrade | P1.2 | STEC | Amy Chen jiayi.chen@ercot.com | Victoria |  |  | X | X | X | N/A
2025-C04 | Clute Area (42050) 138-kV Line Upgrades | P0, P1.1, P1.2, P7.1_ERCOT1 | CNP | Mahnoush Yousefian mahnoush.yousefian@ercot.com | Brazoria | X | X | X | X | X | N/A | This project is a subset and expansion of Project 2024-C02.
2025-C05 | Lane City Pump (8104) to Lane City (8127) 138-kV Line Upgrade | P1.2 | AEPSC | Amy Chen jiayi.chen@ercot.com | Wharton | X |  | X |  |  | N/A
2025-C06 | Stewart (43290) to Moody (42950) 138-kV Line Upgrades | P7.1_ERCOT1 | CNP | Amy Chen jiayi.chen@ercot.com | Galveston |  |  |  | X | X | N/A
2025-C07 | PH Robinson (42000) to CNP010 (942000) to Oasis (43035) 345-kV Line Addition | P0, P1.2, P7.1_ERCOT1 | CNP | Amy Chen jiayi.chen@ercot.com | Brazoria, Galveston, Harris |  |  |  | X | X | N/A | This project is recommended by the TSP.
2025-C08 | South Lane City (43190) 345/138-kV Substation Expansion | P1.2, P1.3, P7.1_ERCOT1 | AEPSC, CNP | Amy Chen jiayi.chen@ercot.com | Matagorda, Wharton |  |  |  | X | X | N/A | This project is a subset of Project 2024-C14.
2025-C09 | New Gulf (43010) to Energized Tap (49924) to South Lane City (43190) 138-kV Line Upgrades | P1.2 | CNP | Amy Chen jiayi.chen@ercot.com | Wharton |  |  |  |  | X | N/A | This project is related to Project 2024-C14.
2025-C10 | Jones Creek (42540) to Cortez (43440) 138-kV Line Addition | P1.2, P7.1_ERCOT1 | CNP | Amy Chen jiayi.chen@ercot.com | Brazoria |  |  |  |  | X | N/A
2025-C11 | Retrieve (48322) to Brazosport (42210) 138-kV Line Upgrades | P0, P1.1, P1.2, P6.2_ERCOT3, P7.1_ERCOT1 | CNP | Amy Chen jiayi.chen@ercot.com | Brazoria |  |  |  | X | X | N/A | This project is a subset and expansion of Project 2024-C05.
2025-C12 | La Marque (42860) to Tiki Island Tap (48551) to Stewart (43290) 138-kV Line Upgrades | P7.1_ERCOT1 | CNP | Amy Chen jiayi.chen@ercot.com | Galveston |  |  |  | X | X | N/A
2025-C13 | Peters Area (46220) 345/138-kV Substation Expansion | P7.1_ERCOT1 | CNP | Amy Chen jiayi.chen@ercot.com | Fort Bend, Wharton |  |  |  | X | X | N/A
2025-C14 | Haber (81003) 345-kV Capacitor Bank Addition | P1.2 | AEPSC | Mahnoush Yousefian mahnoush.yousefian@ercot.com | Jackson |  |  | X | X | X | N/A | This project is a subset of Project 2024-C01.
2025-C15 | Damon (42370) to Needville (42380) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | CNP | Amy Chen jiayi.chen@ercot.com | Brazoria | X |  |  |  |  | N/A | This project is a subset of Project 2024-C09.
2025-C16 | Hockley (45880) to Stonel (44840) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | CNP | Mahnoush Yousefian mahnoush.yousefian@ercot.com | Harris |  | X | X |  |  | N/A
2025-C17 | Four Corners Sub (5730) to Sam Rayburn Switchyard (5502) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | STEC | Mahnoush Yousefian mahnoush.yousefian@ercot.com | Victoria |  |  | X | X | X | N/A
2025-C18 | Lydell (41000) to LYDCM (41009) 138-kV Line Upgrade | P3_ERCOT2 | CNP | Amy Chen jiayi.chen@ercot.com | Harris |  |  |  |  | X | N/A
2025-C19 | Mont Belvieu (41111) 138-kV Capacitor Bank Addition | P3_ERCOT2 | CNP, ERCC | Amy Chen jiayi.chen@ercot.com | Chambers |  |  |  | X | X | N/A
2025-CS01 | Tungsten (8189) to Sea Drift Coke (8144) to Melon Creek (80065) 138-kV Line Upgrades | P6.2_ERCOT3, P7.1_ERCOT1 | AEPSC | Daniel Johnson daniel.johnsonjr@ercot.com | Calhoun, Refugio |  |  |  | X | X | N/A | This project is a subset of Project 2024-CS03.
2025-CSC01 | El Campo (8102) to Ricebird (78104) to Nada (78103) 138-kV Line Upgrades | P1.2, P3_ERCOT2, P6.2_ERCOT3, P7.1_ERCOT1 | AEPSC, LCRA TSC | Mahnoush Yousefian mahnoush.yousefian@ercot.com | Colorado, Wharton | X |  | X |  |  | N/A
2025-E01 | Big Brown Mine 2 (3509) to Pin Oak Switch (3510) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Freestone |  |  | X | X | X | N/A
2025-E02 | Sulphur Springs Switch (1698) to Edgewood (3181) 138-kV Line Upgrades | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Hopkins, Rains |  |  |  |  | X | N/A
2025-E03 | Long Lake (3280) to Long Lake Tap Switch (3279) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Freestone, Leon |  |  | X |  |  | N/A
2025-E04 | Big Brown Mine 2 (3509) to Blackfoot Tap (3499) to Tennessee Colony (3281) 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Anderson, Freestone |  |  | X |  |  | N/A
2025-E05 | Sulphur Springs East Tap (1797) to Martin Springs (ONCOR) (1800) to Sulphur Springs Switch (1698) 138-kV Line Upgrades | P3_ERCOT2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Hopkins |  |  | X | X |  | N/A | This project is an expansion of Project 2024-E05.
2025-ESC01 | TNP One Plant Switchyard (39950) to Hogcreek (3704) to LittlePond (3377) 345-kV Line Upgrades | P1.2, P3_ERCOT2 | ONCOR | Daniel Johnson daniel.johnsonjr@ercot.com | Milam, Robertson |  |  | X | X | X | N/A
2025-FW01 | Faulkner 138-kV Voltage Support | P0, P1.2 | New | Misael Rodriguez misael.rodriguez@ercot.com | Reeves | X | X | X | X | X | N/A
2025-FW02 | New Load Bus (900015) 138-kV Capacitor Bank Addition | P1.2 | New | Misael Rodriguez misael.rodriguez@ercot.com | Reeves |  |  |  | X | X | N/A
2025-FW03 | Ozona (6560) to Midway Lane (6549) 69-kV Line Upgrade | P1.2 | AEPSC | Misael Rodriguez misael.rodriguez@ercot.com | Crockett | X |  | X |  |  | 55470
2025-FW04 | Tune (18728) 138-kV Substation and Capacitor Bank Addition | P1.2 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Midland, Reeves | X |  | X | X | X | N/A
2025-FW05 | Holt Switch (1141) to Yucca Drive Switch (1009) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Ector, Midland, Ward | X | X | X |  |  | N/A
2025-FW06 | Stanton East (1326) to Midland Basin (1228) to Spraberry (1329) 69-kV to 138-kV Line Conversion | P1.3 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Martin, Midland | X |  | X |  |  | N/A | Accelerated Permian Basin local project L18 without any modifications.
2025-FW07 | Carver (60412) to Sonora (6513) to Atlantic Sonora (6511) to Crockett Heighs (6552) to Friend Ranch (6562) 69-kV to 138-kV Line Conversion | P1.2, P7.1_ERCOT1 | AEPSC | Misael Rodriguez misael.rodriguez@ercot.com | Crockett, Sutton | X | X | X |  |  | N/A
2025-FW08 | Wink (1074) to Border (18672) 138-kV Line Additions | P1.2, P1.3, P7.1_ERCOT1 | New | Misael Rodriguez misael.rodriguez@ercot.com | Loving, Winkler | X |  | X |  |  | N/A | Accelerated Permian Basin local project L1 without any modifications.
2025-FW09 | Bakersfield (76002) to Nevill Road (844) to North McCamey (76000) 345-kV Line Upgrade and Line Addition | P7.1_ERCOT1 | GPL, LCRA TSC | Misael Rodriguez misael.rodriguez@ercot.com | Pecos, Upton | X | X | X |  |  | N/A | Accelerated Permian Basin local project L14 without any modifications.
2025-FW10 | Solstice (60385) to Hayter Tap (60444) 138-kV Line Upgrade | P1.2, P3_ERCOT2 | AEPSC, LCRA TSC | Misael Rodriguez misael.rodriguez@ercot.com | Pecos |  |  | X |  |  | N/A | Accelerated Permian Basin local project L11 without any modifications. This project is subset of 2024-FW10.
2025-FW11 | High Plain (1396) to Gunsight Switch (1360) to Howden (11149) to Flower Grove (11362) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Howard |  | X |  |  |  | 99141
2025-FW12 | Wolf (1031) to Monahans (1107) to Pecos Trail (11117) to Dry Wind (10006) to Yarbrough (11111) to New Load Bus (11121) to Reiter (18545) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Crane, Ector, Ward | X | X | X |  |  | 81440
2025-FW13 | Horseshoe Spring (11190) 345/138-kV Substation Expansion | P6.2_ERCOT3 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Culberson, Winkler |  |  |  | X | X | N/A
2025-FW14 | Cattleman (10053) to Longshore (1058) 345-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Glasscock, Howard, Mitchell | X |  |  |  |  | 81236 | Accelerated RPG project 23RPG034 - West Texas 345-kV Infrastructure Rebuild Project.
2025-FW15 | Consavvy (11387) to Longshore (1058) 345-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Glasscock, Howard, Midland, Mitchell | X | X |  |  |  | 81268 | Accelerated RPG project 23RPG034 - West Texas 345-kV Infrastructure Rebuild Project.
2025-FW16 | Oak Spring/Roscoe (10105) 345-kV Area Line Upgrades | P1.2, P7.1_ERCOT1 | LCRA TSC, ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Mitchell, Nolan |  | X |  |  |  | 93088 | Accelerated RPG project 24RPG040 - Roscoe Area Upgrades Project.
2025-FW17 | Midland East (1021) to Rockhound (10062) 345-kV Line Upgrade | P0 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Midland |  | X |  |  |  | 81302 | Accelerated RPG project 23RPG034 - West Texas 345-kV Infrastructure Rebuild Project.
2025-FW18 | Rockhound (10062) to Prong Moss (10057) 345-kV Line Upgrade | P6.2_ERCOT3 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Howard, Midland | X |  |  |  |  | 81296 | Accelerated RPG project 23RPG034 - West Texas 345-kV Infrastructure Rebuild Project.
2025-FW19 | Midland East (1021) to Midland County (1185) 345-kV Line Upgrade | P6.2_ERCOT3 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Midland |  | X |  |  |  | 81277 | Accelerated RPG project 23RPG034 - West Texas 345-kV Infrastructure Rebuild Project.
2025-FW20 | Border (18672) 345/138-kV Substation Expansion | P6.2_ERCOT3 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Andrews, Culberson, Loving | X | X |  |  |  | 99020 and 92734 | Accelerated RPG project 24RPG015 - Delaware Basin State 5 Project.
2025-FW21 | Telephone Road (23873) to Garndale (11157) to Clearfork (23876) 345-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Andrews, Midland |  | X |  |  |  | N/A | Accelerated Permian Basin local project L16 without any modifications. This project is needed after applying 2025-FW20
2025-FW22 | Illinois (6564) to Pandale (6567) to Ozona Rea (6551) to Ozona (6560) to Friend Ranch (6562) 138-kV Line Conversion | P1.2 | AEPSC | Misael Rodriguez misael.rodriguez@ercot.com | Crockett, Sutton | X |  | X |  |  | N/A | Accelerated Permian Basin local project L30 without any modifications and 2023-FW02.
2025-FW23 | New Load Bus (900012) 138-kV Capacitor Bank Addition | P1.2 | New | Misael Rodriguez misael.rodriguez@ercot.com | Reeves | X |  |  |  |  | N/A
2025-FW24 | Reetone (11094) 138-kV Capacitor Bank Addition | P1.2 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Loving |  |  |  |  | X | N/A
2025-FW25 | Prong Moss (10057) 345/138-kV Substation Expansion | P6.2_ERCOT3 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Howard | X |  |  |  |  | N/A | Accelerated Permian Basin local project L20 without any modifications.
2025-N01 | HODL Ranch (60017) to Clear Crossing (60515) 345-kV Line Upgrade | P0 | AEPSC | Jack Thornton jack.thornton@ercot.com | Haskell | X | X | X | X | X | N/A
2025-N02 | Monticello SES (1695) Area 345-kV Line Upgrades | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Lamar, Titus | X |  | X | X | X | N/A | This project is related to MOD 92852 (25RPG0026), Project 2024-E14, and Project 2024-E15.
2025-N03 | Childress West (6030) 138-kV Capacitor Bank Addition | P0, P1.2, P2.2, P7.1_ERCOT1 | AEPSC | Jack Thornton jack.thornton@ercot.com | Childress | X |  | X | X | X | N/A | This project is a subset of Project 2024-N01.
2025-N04 | Paris Switch (1693) to Bonham Lake POI (1593) 138-kV Line Upgrades | P6.2_ERCOT3, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Fannin, Lamar | X |  | X | X | X | N/A | This project is a subset and expansion of Project 2024-N16.
2025-N05 | MacKenzie Substation (59116) to Northeast Substation (59120) to Hydra (59122) 115-kV Line Upgrades | P1.2 | LPL | Jack Thornton jack.thornton@ercot.com | Lubbock |  |  | X |  |  | NA | This project is a subset of Project 2024-N08.
2025-N06 | Valley SES (1691) to Bonham Switch (1762) 138-kV Line Upgrades | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Fannin |  |  |  | X | X | N/A
2025-N07 | Toco (1703) Area 69-kV to 138-kV Line Conversion | P1.1, P1.2, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Fannin, Lamar |  |  |  | X | X | NA | This project is an expansion of 25RPG0030.
2025-NC01 | Watermill (2427) to Alba Rd (3062) to Green Road (3063) 345-kV Line Upgrades | P1.2, P6.2_ERCOT3 | ONCOR | Jack Thornton jack.thornton@ercot.com | Dallas | X |  | X | X | X | N/A | This project is related to Project 2024-NC86.
2025-NC02 | Watermill (2427) to Tricorner (2432) 345-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Dallas |  |  | X | X | X | N/A | This project is a subset of Project 2024-NC11.
2025-NC03 | Trinidad (3123-2124) to Tricorner (2432) 345-kV Line Upgrades | P1.1, P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Dallas, Henderson | X |  | X | X | X | N/A | This project is a subset of Project 2024-NC11 and related of MOD 5479.
2025-NC04 | Notus Switch (3376) to Old Country (2255) to Venus North (1907) 345-kV Line Upgrades | P7.1_ERCOT1 | LST, ONCOR | Amy Chen jiayi.chen@ercot.com | Ellis, Navarro | X |  | X | X | X | N/A
2025-NC05 | Tower Switch (3780) Area 345-kV Reconfiguration and Line Upgrades | P0, P1.1, P1.2, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Bell |  |  | X | X | X | N/A | This Project replaces Project 2024-NC12 and 2024-NC37. Precise violating element line loadings are influenced by the existance of 2024-SC28 and 2024-SC29.
2025-NC06 | Jupiter (806) to College (829) 138-kV Line Upgrade | P1.2, P1.3, P7.1_ERCOT1 | GPL | Jack Thornton jack.thornton@ercot.com | Dallas | X |  | X | X | X | N/A
2025-NC07 | Campbell Switch (838) to Firewheel (821) to Wylie Switch (833) 138-kV Line Upgrades | P1.2 | GPL | Jack Thornton jack.thornton@ercot.com | Collin, Dallas |  |  |  | X | X | N/A | This project is an expansion of Project 2024-NC35.
2025-NC08 | Possum Trot (3791) Area 345-kV Reconfiguration and Line Upgrades | P1.1, P1.2, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Bell, Falls, McLennan | X | X | X | X | X | N/A | This is project is related to 23RPG022 and 2024-NC23.
2025-NC09 | Walnut (823) to Apollo (802) 138-kV Line Upgrades | P1.2, P6.2_ERCOT3 | GPL, ONCOR | Eric Cen eric.cen@ercot.com | Dallas | X |  | X | X | X | N/A | This project is a subset and expansion of Project 2024-NC07.
2025-NC10 | Watermill (2429) to Wilson (3074) to Ten Mile Sub (2126) 138-kV Line Upgrades | P1.2, P6.2_ERCOT3, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Dallas | X |  | X | X | X | N/A | This project is related to 2024-NC14.
2025-NC11 | Waxahachie (2321) to Waxahachie Pump 1 (2319) 138-kV Line Upgrade | P1.2 | ONCOR | Eric Cen eric.cen@ercot.com | Ellis | X | X | X | X | X | N/A | This project is related to Project 2024-NC22 and has subsets of Project 2024-NC15 and 2024-NC51.
2025-NC12 | Peppervine Switch (3446) to Central Park Switch (3474) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | McLennan |  |  |  | X | X | N/A
2025-NC13 | Ash Creek Switch (3473) to Pecan Street (3352) to Chatt (234) 138-kV Line Upgrades | P1.2, P1.3, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Hill |  |  | X | X | X | N/A
2025-NC14 | Kings Creek Switch (2774) to Kaufman South (2728) to Kaufman Northwest (2724) 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Kaufman |  |  |  | X | X | N/A | This project is a subset and expansion of Project 2024-NC53.
2025-NC15 | Sterrett (12317) to Waxahachie Northwest (2309) 138-kV Line Upgrades | P1.2, P1.3, P6.4_ERCOT4, P7.1_ERCOT1 | BREC, ONCOR | Eric Cen eric.cen@ercot.com | Ellis |  |  |  | X | X | N/A | This project is related to Project 2024-NC51.
2025-NC16 | Gibson (3706) to Littlepond (3377) 345-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | Bell, Milam |  |  | X | X | X | N/A | This project is related to Project 2024-NC60 and 2024-NC91.
2025-NC17 | Prairie Creek Switch (2441) to Prairie Creek 2 (2762) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Dallas |  |  | X |  | X | N/A | This project is a subset of Project 2024-NC57.
2025-NC18 | Railport (442) Area 138-kV Line Upgrades | P1.2, P1.3, P6.2_ERCOT3, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Ellis, Hill, Johnson |  |  | X | X | X | N/A | This project is a subset and expansion of Project 2024-NC04.
2025-NC19 | Carmichael Bend Switch (2285) to Benbrook Switch (1873) 345-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Hood, Tarrant | X | X | X |  |  | N/A | This project is a subset of Project 2024-NC71.
2025-NC20 | Batchler Road (3012) to Stainback (2217) to Watermill (2427) 345-kV Line Upgrades | P1.2, P3_ERCOT2 | ONCOR | Jack Thornton jack.thornton@ercot.com | Dallas | X |  | X |  |  | N/A
2025-NC21 | Temple Switch (3415) to Temple Pecan Creek (3420) 138-kV Line Upgrades | P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Bell |  |  |  | X | X | N/A
2025-NC22 | Temple Area 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | BREC, ONCOR | Eric Cen eric.cen@ercot.com | Bell | X |  | X |  |  | N/A | This project is an expansion of Project 2024-NC43.
2025-NC23 | Four Brothers (3388) to Sam Switch (68090) 345-kV Line Upgrade | P1.2, P7.1_ERCOT1 | LST, ONCOR | Jack Thornton jack.thornton@ercot.com | Hill | X |  |  |  |  | N/A | This project was previously identified in the 2024RTP as 2024-NC69.
2025-NC24 | Trinidad SES (3127) to Kemp South (2726) 138-kV Line Upgrades | P6.2_ERCOT3, P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | Henderson, Navarro | X |  | X |  |  | N/A | This project is a subset of Projects 2024-NC34 and 2024-NC44.
2025-NC25 | Ironwood (2287) 138-kV Substation Addition and 345-kV Line Reconfiguration | P1.2, P3_ERCOT2, P6.2_ERCOT3, P7.1_ERCOT1 | BREC, LST, ONCOR | Eric Cen eric.cen@ercot.com | Dallas, Ellis, Navarro | X | X | X | X | X | N/A | This project is related to 2024-NC70 and is related to 25RPG004.
2025-NC26 | Wieland South (6879) to Kirkland (6915) 138-kV Line Addition | P3_ERCOT2 | REC | Eric Cen eric.cen@ercot.com | Hunt |  |  |  | X | X | N/A
2025-NC27 | Randol Mill Tap East (2104) to Randol Mill (2106) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Tarrant | X |  | X |  |  | N/A
2025-NC28 | Midnight (3777) 138-kV Capacitor Bank Addition | P1.2 | ONCOR | Jack Thornton jack.thornton@ercot.com | Williamson | X |  |  |  |  | N/A
2025-NC29 | Putnam (6670/6307) 138/69-kV Transformer Upgrade | P1.2, P7.1_ERCOT1 | AEPSC | Eric Cen eric.cen@ercot.com | Callahan |  | X |  |  |  | N/A
2025-NC30 | Royse Switch (2471) to Nevada (811) to Sabine Creek Tap (991) 138-kV Line Upgrades | P1.2 | GPL, ONCOR, TMPA | Jack Thornton jack.thornton@ercot.com | Hunt, Rockwall |  |  |  |  | X | N/A
2025-NC31 | Holland (3646) to Bartlett (13647) 69-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Bell, Williamson |  |  |  | X | X | N/A
2025-NC32 | Norwood Switch (2406) to Topeka Termination (12398) 345-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | Dallas |  |  |  |  | X | N/A | Note: Might be replaced by Skyview Switch and can be solved by Wilmer to Green Road line.
2025-NC33 | Batchler Road (3012) to Walker Rd (3038) 345-kV Line Upgrades | P7.1_ERCOT1 | ONCOR | Jack Thornton jack.thornton@ercot.com | Dallas | X |  | X |  |  | N/A
2025-NC34 | Highlands TNP (1974) to Argyle (1984) to Corinth (1985) 138-kV Line Upgrades | P6.2_ERCOT3 | ONCOR | Jack Thornton jack.thornton@ercot.com | Denton | X |  | X | X | X | N/A | This project is related to 2024-NC72.
2025-NC35 | Cedar Hill Switch (2422) to Fish Creek Switch (2491) 138-kV Line Upgrade | P6.2_ERCOT3 | ONCOR | Eric Cen eric.cen@ercot.com | Dallas |  |  |  | X | X | N/A
2025-NC36 | Carrollton Northwest (2363) to South TNP (37100) 138-kV Line Upgrade | P6.2_ERCOT3 | ONCOR, TNMP | Jack Thornton jack.thornton@ercot.com | Dallas, Denton | X |  | X | X | X | N/A | This project is a subset of Project 2024-NC21.
2025-NC37 | Skyview (2231/2131) 345/138-kV Substation Addition and 138-kV Line Upgrades | P6.2_ERCOT3 | ONCOR | Eric Cen eric.cen@ercot.com | Dallas, Tarrant | X |  | X |  |  | N/A | This project is an expansion of 2024-NC77 and is related to 25RPG004.
2025-NC38 | Bell East (3687) to Temple Pecan (3412) 345-kV Line Addition | P6.2_ERCOT3 | ONCOR | Jack Thornton jack.thornton@ercot.com | Bell |  |  |  | X | X | N/A
2025-NC39 | Poage (33126) to Nolan Creek (3735) to Temple Taylor Valley (3636) 138-kV Line Upgrades | P6.2_ERCOT3 | ONCOR | Jack Thornton jack.thornton@ercot.com | Bell |  |  |  |  | X | N/A
2025-NC40 | Union Valley Switch (6860) 138-kV Capacitor Bank Addition | P6.2_ERCOT3 | REC | Jack Thornton jack.thornton@ercot.com | Hunt |  |  |  | X |  | N/A
2025-NC41 | Simpson Stuart (2986) to Buntin Drive (2985) 138-kV Line Upgrade | P6.2_ERCOT3 | ONCOR | Jack Thornton jack.thornton@ercot.com | Dallas | X |  |  |  |  | N/A | This project is a subset of Project 2024-NC73.
2025-NC42 | Waco Northeast Tap (3551) to Waco North (3552) 138-kV Line Upgrade | P3_ERCOT2 | ONCOR | Jack Thornton jack.thornton@ercot.com | McLennan |  |  |  | X | X | N/A
2025-NC43 | Tradinghouse SES (20108) to Four Brothers (3388) 345-kV Line Upgrade | P3_ERCOT2 | ONCOR | Jack Thornton jack.thornton@ercot.com | Hill, McLennan | X |  |  |  |  | N/A
2025-NC44 | Possum Trot (3791) to Sam Switch (68090) 345-kV Line Upgrades | P3_ERCOT2 | LST, ONCOR | Jack Thornton jack.thornton@ercot.com | Hill, McLennan | X |  |  |  |  | N/A | This project is a subset and expansion of Project 2024-NC32.
2025-NC45 | Possum Trot (3791) to Tradinghouse SES (3405) 345-kV Line Upgrades | P3_ERCOT2 | ONCOR | Jack Thornton jack.thornton@ercot.com | Hill, McLennan | X |  |  |  |  | N/A | This project is a subset and expansion of Project 2024-NC32.
2025-NC46 | TI TNP (37080) to Lakepointe TNP (37010) 138-kV Line Upgrade | P6.2_ERCOT3 | TNMP | Jack Thornton jack.thornton@ercot.com | Denton | X |  | X |  |  | N/A
2025-NCE01 | Lavon Switch (2256) 345-kV Substation Addition and 345-kV Line Upgrade | P1.2, P1.3, P6.2_ERCOT3, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Collin, Hopkins | X |  | X | X | X | N/A | This project is an expansion of Project 2024-NC59.
2025-NCE02 | Jewett South (3390) to Stranger Switch (3721) 345-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Leon, Limestone |  | X | X |  |  | N/A
2025-NCE03 | Olympus Switch (3723) to Montfort Switch (3454) 138-kV Line Upgrade | P3_ERCOT2 | ONCOR | Eric Cen eric.cen@ercot.com | Navarro |  |  | X | X | X | N/A | This project is a subset of Project 2024-NC28.
2025-NCSC01 | Round Rock (3668) to Star Ranch (3653) 138-kV Line Upgrades | P1.2, P3_ERCOT2, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Williamson |  |  | X | X | X | N/A
2025-NCW01 | Ballinger (6338) to Moro (60019) 69-kV Line Upgrade | P1.2, P2.2 | AEPSC | Jack Thornton jack.thornton@ercot.com | Collin, Runnels |  |  |  | X | X | N/A
2025-NCW02 | Graham SES (1430) to Long Creek (1435) to Mulberry Creek Switch (1459) 345-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Eric Cen eric.cen@ercot.com | Jones, Shackelford, Young |  | X |  |  |  | N/A | Accelerated Permian Basin local project L24 without any modifications.
2025-NNC01 | Gunter Switch (2236) to Collin Switch (2370) 138-kV Line Addition | P1.2 | ONCOR | Amy Chen jiayi.chen@ercot.com | Collin, Grayson |  |  |  |  | X | N/A | This project is a subset of 2024-NC76.
2025-NNC02 | Haggerty Switch (12677) to Sherman South (1750) 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Grayson |  |  |  |  | X | N/A
2025-NNC03 | Graham SES (1431) to Murray (792) to Paint Creek (6169) 138-kV Line Upgrades | P1.1, P1.2, P1.3, P7.1_ERCOT1 | AEPSC, BREC, ONCOR | Eric Cen eric.cen@ercot.com | Haskell, Young |  | X |  |  |  | N/A
2025-NNCE01 | Royse Area (2461) 345-kV Line Upgrades | P1.2, P7.1_ERCOT1 | ONCOR | Amy Chen jiayi.chen@ercot.com | Collin, Fannin, Lamar, Rockwall |  |  | X | X | X | N/A | This project is related to Project 2024-NC31 and 2024-E9.
2025-S01 | Brownsville Area 345-kV and 138-kV Line Additions and Upgrades | P1.2, P1.3, P3_ERCOT2, P7.1_ERCOT1 | AEPSC, BPUB, SHARYLAND, STEC | Daniel Johnson daniel.johnsonjr@ercot.com | Cameron | X | X | X | X | X | N/A | Project 2025-S01 contains parts of the RPG project 24RPG008 which has an ISD of 05/2029; however, the 25RTP saw the need to accelerate parts of the project to summer 2027 and winter 2027/2028.
2025-S02 | Calabaza (84554) to White Point (8956) 345-kV Line Addition | P1.2, P7.1_ERCOT1 | AEPSC, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Nueces, San Patricio |  |  |  | X | X | N/A
2025-S03 | Southside (8483) to Holly (8486) 138-kV Line Upgrade | P3_ERCOT2, P6.2_ERCOT3 | AEPSC | Daniel Johnson daniel.johnsonjr@ercot.com | Nueces | X |  |  | X |  | N/A
2025-S04 | Angstrom (8249) to Whitepoint (8956) 345-kV Line Upgrade | P3_ERCOT2, P6.2_ERCOT3 | AEPSC | Daniel Johnson daniel.johnsonjr@ercot.com | San Patricio |  |  |  |  | X | N/A
2025-S05 | Equistar (8478) to Mckenzie (8858) 138-kV Line Upgrade | P3_ERCOT2 | AEPSC, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Nueces |  |  |  | X | X | N/A
2025-S06 | North Edinburg Area 138-kV Line Upgrades | P5.5_EHV | AEPSC, LCRA TSC, STEC | Daniel Johnson daniel.johnsonjr@ercot.com | Cameron, Hidalgo |  |  |  | X | X | N/A
2025-SC01 | Central Texas 345-kV Voltage Support | P0, P1.1, P1.2, P7.1_ERCOT1 | LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Travis | X | X | X | X | X | N/A
2025-SC02 | Euclid (699999) 765-kV Station and Euclid (699999) to Hillje (644200) 765-kV Line Addition | P0, P1.2, P7.1_ERCOT1 | CNP, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Caldwell, Colorado, Gonzales, Lavaca, Wharton | X | X | X | X | X | N/A | This project addresses reliability and load serving issues seen in the 2025 RTP. Project 2025-SC02 contains the Hillje 765/345-kV substation expansion and the Hillje 765/345-kV transformers and reactors of the BOD approved RPG project 25RPG025.
2025-SC03 | County Line (777024) 138-kV Line Upgrades | P0, P1.1, P1.2, P1.3, P7.1_ERCOT1 | AEN, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Bastrop | X | X | X | X | X | 92602 | Part of project 2025-SC03 sees the need to accelerate MOD Project 92602.
2025-SC04 | Dunlap (9044) Area 345-kV Line Reconfiguration | P0, P1.1, P1.2, P1.3, P7.1_ERCOT1 | AEN, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Travis | X | X | X | X | X | N/A
2025-SC05 | Central Texas 345-kV Line Upgrades | P1.1, P1.2, P1.3, P3_ERCOT2, P6.2_ERCOT3, P7.1_ERCOT1 | LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Bastrop, Caldwell, Guadalupe, Travis | X | X | X | X | X | 91312 | Phase ID 91313 upgrades Austrop to Garfield; Phase ID 91314 upgrades Garfield to Lytton Springs; Phase ID 91315 upgrades Lytton Springs to Zorn.
2025-SC06 | Robertson (32) to Minerva (3683) 138-kV Line Upgrades | P0, P1.1, P3_ERCOT2, P6.2_ERCOT3, P7.1_ERCOT1 | ONCOR | Daniel Johnson daniel.johnsonjr@ercot.com | Milam, Robertson | X | X | X | X | X | N/A | This project is an expansion of Project 2024-SC08.
2025-SC07 | Medina (5305) to 36th St (5427) 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | CPS | Daniel Johnson daniel.johnsonjr@ercot.com | Bexar | X |  | X | X | X | N/A
2025-SC08 | Settlers (7328) 138-kV Capacitor Bank Addition | P7.1_ERCOT1 | LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Bastrop |  |  |  | X | X | N/A
2025-SC09 | Zorn (7180) Area 138-kV Line Upgrades | P1.2, P6.2_ERCOT3, P7.1_ERCOT1 | LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Comal, Guadalupe | X |  | X | X | X | N/A
2025-SC10 | Lyle Wolz (7567) Area 138-kV Line Upgrades | P1.2, P7.1_ERCOT1 | BBEC, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Burleson |  |  |  | X | X | N/A
2025-SC11 | Lytle (5290) Area 138-kV Line Upgrades | P1.2 | AEPSC, CPS, TETRTX | Daniel Johnson daniel.johnsonjr@ercot.com | Medina | X | X | X | X | X | N/A | Project 2025-SC11 contains elements from the RPG project 25RPG020.
2025-SC12 | Cedar Hill (7331) to Manor (7330) 138-kV Line Upgrade | P7.1_ERCOT1 | LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Bastrop, Travis | X |  |  |  |  | N/A
2025-SC13 | Lytton (9074/9075) 345/138-kV Transformer Upgrades | P6.2_ERCOT3 | AEN, LCRA TSC | Daniel Johnson daniel.johnsonjr@ercot.com | Caldwell | X |  | X |  |  | 86240
2025-SC14 | Austrop (7040/9328) 345/138-kV Transformer Upgrades | P6.2_ERCOT3 | AEN | Daniel Johnson daniel.johnsonjr@ercot.com | Travis | X |  | X |  |  | 86273
2025-SC15 | Omicron (5326) Area 138-kV Line Additions and Upgrades | P6.2_ERCOT3 | CPS | Daniel Johnson daniel.johnsonjr@ercot.com | Bexar |  | X |  |  |  | N/A | Project 2025-SC15 contains parts of the RPG project 24RPG004 which has an ISD of 06/2028; however, the 25RTP saw the need to accelerate part of the project to winter 2027/2028.
2025-SC16 | Hamwolf (5187) to Bandera (5020) 138-kV Line Upgrade | P6.2_ERCOT3 | CPS | Daniel Johnson daniel.johnsonjr@ercot.com | Bexar | X |  |  |  |  | N/A
2025-SC17 | Martinez (5295/5294) 345/138-kV Transformer Addition | P6.2_ERCOT3 | CPS | Daniel Johnson daniel.johnsonjr@ercot.com | Bexar |  |  |  | X | X | N/A | Project 2025-SC17 contains part of 25RPG017 but was not accelerated.
2025-SC18 | Hutto Switch (3666) to Teal (3362) 138-kV Line Upgrade | P6.2_ERCOT3 | ONCOR | Daniel Johnson daniel.johnsonjr@ercot.com | Williamson |  |  | X |  |  | N/A
2025-SC19 | Hillje (44200) to Crasco Creek (9067) to Holman (9073) 345-kV Line Upgrades | P1.1, P1.2, P1.3, P2.3_EHV, P6.2_ERCOT3, P7.1_ERCOT1 | AEN, CNP | Daniel Johnson daniel.johnsonjr@ercot.com | Caldwell, Fayette, Wharton | X |  |  |  |  | N/A
2025-SC20 | Cachena (5068) to Elm Creek (5133) and Elm Creek (5133) to Marion (7044) 345-kV Line Upgrades | P1.1, P1.2, P1.3, P2.3_EHV, P6.2_ERCOT3, P7.1_ERCOT1 | BREC, CPS | Daniel Johnson daniel.johnsonjr@ercot.com | Guadalupe, Wilson |  |  | X | X | X | N/A
2025-W01 | San Angelo Area 69-kV to 138-kV Line Conversion | P0, P1.2, P2.2, P7.1_ERCOT1 | AEPSC | Misael Rodriguez misael.rodriguez@ercot.com | Tom Green | X | X | X | X | X | N/A | This project include the same lines as 2024-W4, however a conversion to 138-kV is recommended instead of upgardes.
2025-W02 | Scurry County South Switch (11318) to Galvani (59912) 345-kV Line Upgrades | P1.2 | ONCOR, WETT | Misael Rodriguez misael.rodriguez@ercot.com | Scurry |  | X |  |  |  | N/A
2025-W03 | Carver (60412) to Poblano (8009) 69-kV to 138-kV Line Conversion | P7.1_ERCOT1 | AEPSC | Misael Rodriguez misael.rodriguez@ercot.com | Edwards, Sutton, Uvalde | X |  |  |  |  | 87648
2025-WFW01 | Dermott Area 138-kV Line Upgrade | P1.2, P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Borden, Scurry | X | X | X | X | X | N/A | This project is a combination of 2023-W10, 2023-W19 and 2023-WFW1. Accelerated Permian Basin local project L22 without any modifications.
2025-WFW02 | Chalk (1352) to Kinnebrew POI (11352) to Campeliz (6641) to Sterling City (6435) to Silver Tap (6431) to Cedar Hills (6423) 69-kV to 138-kV Line Conversion | P1.2, P7.1_ERCOT1 | AEPSC, ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Coke, Sterling | X | X | X |  |  | N/A | Accelerated Permian Basin local project L20 and L27 without any modifications and 2023-W06 and 2024-FW17.
2025-WFW03 | China Grove (1318) to Tributary (1394) 138-kV Line Upgrade | P7.1_ERCOT1 | ONCOR | Misael Rodriguez misael.rodriguez@ercot.com | Mitchell | X | X | X |  |  | 81152